## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-11T14:38:15.881-07:00 | [5 empty] | 241.289 | 0 | 0 | 8.211 | 9.237 | 0.11
2026-08-11T14:38:15.967-07:00 |  |  | controller_started | controller | started
2026-08-11T14:38:15.972-07:00 |  |  | serial_open | serial_port | ok
2026-08-11T14:38:15.973-07:00 |  |  | communication_started | cta2045 | started
2026-08-11T14:38:16.332-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:38:16.657-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:38:17.320-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:38:31.380-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:38:31.617-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T14:38:41.027-07:00 | [5 empty] | 241.289 | 0.426 | 73.898 | 88.267 | 115.978 | 0.646
2026-08-11T14:38:42.034-07:00 | [5 empty] | 241.315 | 0 | 10.264 | 16.422 | 20.527 | 0.55
2026-08-11T14:38:47.064-07:00 | [5 empty] | 241.21 | 0.156 | 32.843 | 37.975 | 51.318 | 0.659
2026-08-11T14:38:47.163-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:38:48.071-07:00 | [5 empty] | 240.991 | 0 | 22.58 | 32.843 | 41.054 | 0.574
2026-08-11T14:39:17.821-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:39:47.102-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:40:10.533-07:00 | [5 empty] | 239.625 | 13.311 | 2645.952 | 1826.918 | 3215.581 | 0.822
2026-08-11T14:40:11.536-07:00 | [5 empty] | 240.991 | 0.835 | 199.114 | 79.03 | 215.535 | 0.928
2026-08-11T14:40:14.544-07:00 | [5 empty] | 240.974 | 1.032 | 252.484 | 68.766 | 262.748 | 0.965
2026-08-11T14:40:16.178-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:40:16.421-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:40:17.080-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:40:19.570-07:00 | [5 empty] | 240.702 | 1.145 | 283.275 | 53.371 | 289.433 | 0.981
2026-08-11T14:40:27.617-07:00 | [5 empty] | 241.254 | 1.248 | 309.96 | 61.582 | 316.118 | 0.98
2026-08-11T14:40:31.140-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:40:31.375-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:40:35.664-07:00 | [5 empty] | 240.772 | 1.352 | 336.646 | 36.949 | 335.619 | 0.99
2026-08-11T14:40:46.589-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:40:51.758-07:00 | [5 empty] | 241.096 | 1.452 | 361.278 | 37.975 | 364.357 | 0.994
2026-08-11T14:41:16.666-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:41:16.913-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:41:17.576-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:41:31.635-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:41:31.875-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T14:41:34.023-07:00 | [5 empty] | 240.291 | 1.552 | 385.911 | 39.002 | 387.963 | 0.994
2026-08-11T14:41:47.419-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:42:17.078-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:42:47.364-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:43:16.438-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:43:16.684-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:43:17.344-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:43:31.403-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:43:31.638-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:43:46.854-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:44:17.512-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:44:24.981-07:00 | [5 empty] | 240.676 | 1.651 | 410.543 | 41.054 | 412.596 | 0.994
2026-08-11T14:44:46.796-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:45:16.870-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:45:17.118-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:45:17.778-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:45:31.835-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:45:32.077-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T14:45:46.623-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:46:17.283-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:46:46.567-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:47:16.639-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:47:16.889-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:47:17.550-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:47:23.971-07:00 | [5 empty] | 240.098 | 1.799 | 443.387 | 42.081 | 437.229 | 0.997
2026-08-11T14:47:31.606-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:47:31.846-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:47:47.058-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:48:17.714-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:48:47.000-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:49:16.072-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:49:16.322-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:49:17.984-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:49:31.039-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:49:31.281-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T14:49:46.826-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:50:17.485-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:50:46.768-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:51:16.838-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:51:17.093-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:51:17.755-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:51:31.810-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:51:32.050-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:51:46.066-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:51:46.303-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:51:47.593-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:52:17.249-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:52:47.534-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:53:16.601-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:53:16.856-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:53:17.518-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:53:31.573-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:53:31.816-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T14:53:47.361-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:54:17.018-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:54:47.304-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:55:16.370-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:55:16.627-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:55:17.287-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:55:31.342-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:55:31.584-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:55:46.800-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:56:17.457-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:56:46.740-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:57:16.806-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:57:17.063-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:57:17.724-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T14:57:31.777-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:57:32.024-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T14:57:46.574-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:58:17.232-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:58:47.517-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:59:16.581-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:59:16.837-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:59:17.499-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T14:59:31.551-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:59:31.794-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:59:47.010-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:00:17.665-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:00:46.951-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:01:16.014-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:01:16.273-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:01:17.938-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:01:31.990-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:01:32.237-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T15:01:46.779-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:02:17.433-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:02:46.716-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:03:16.779-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:03:17.038-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:03:17.698-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:03:31.750-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:03:31.994-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:03:47.208-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:04:17.862-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:04:47.145-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:05:16.205-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:05:16.466-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:05:17.129-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:05:31.180-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:05:31.428-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T15:05:46.974-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:06:17.630-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:06:46.912-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:07:16.972-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:07:17.235-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:07:17.895-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:07:31.945-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:07:32.187-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:07:47.400-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:08:17.059-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:08:47.345-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:09:16.403-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:09:16.667-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:09:17.329-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:09:31.379-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:09:31.629-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T15:09:47.175-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:10:17.832-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:10:47.117-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:11:16.174-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:11:16.436-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:11:17.102-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:11:31.151-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:11:31.398-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:11:46.613-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:12:17.270-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:12:47.555-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:13:16.611-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:13:16.875-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:13:17.537-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:13:31.586-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:13:31.837-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T15:13:47.380-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:14:17.035-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:14:47.319-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:15:16.374-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:15:16.640-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:15:17.302-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:15:31.350-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:15:31.597-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:15:46.813-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-11T15:16:17.475-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:16:38.693-07:00 | [5 empty] | 239.678 | 0 | 14.369 | 25.659 | 30.791 | 0.5
2026-08-11T15:16:46.758-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:17:16.811-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:17:17.078-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:17:17.737-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:17:31.784-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:17:32.036-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T15:17:46.579-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:18:17.236-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:18:46.290-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:18:46.561-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:18:46.847-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:19:16.899-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:19:17.170-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:19:17.829-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:19:31.875-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:19:32.124-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:19:47.339-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:20:16.998-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:20:47.284-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:21:16.334-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:21:16.604-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:21:17.270-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:21:31.315-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:21:31.569-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T15:21:47.117-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:22:17.778-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:22:47.061-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:23:17.717-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:23:31.063-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:23:31.310-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:23:33.499-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:23:33.640-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-11 14:38:16 | 1 | 129 | 0 | success | 53 | 4200 | B | true | 0x0150 | 0x0003 | Water Heater - Heat Pump | 0000 | 000001C0 |  | false |  | false | 21 | 11 | 18 | 2021-12-18 | 5 | 14

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | 60 | 100 | 100_wh | 3¦6 |  |  |  | 0
TRUE | run_normal_1 | 00:02:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_2 | 00:03:00 | event | cta | advanced_load_up | 100 | 100 | 100_wh | 3¦6 |  |  |  | 1
TRUE | run_normal_2 | 00:05:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_3 | 00:07:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 2
TRUE | run_normal_3 | 00:09:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_4 | 00:11:00 | event | cta | advanced_load_up | 20 | 100 | 100_wh | 3¦6 |  |  |  | 3
TRUE | run_normal_4 | 00:13:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_5 | 00:15:00 | event | cta | advanced_load_up | unknown | 100 | 1000_wh | 3¦6 |  |  |  | 4
TRUE | run_normal_5 | 00:17:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_6 | 00:19:00 | event | cta | advanced_load_up | 100 | 100 | 10_wh | 3¦6 |  |  |  | 5
TRUE | run_normal_6 | 00:21:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_7 | 00:23:00 | event | cta | advanced_load_up | unknown | 500 | 1_wh | 3¦6 |  |  |  | 6
TRUE | run_normal_7 | 00:25:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_8 | 00:27:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 7
TRUE | run_normal_8 | 00:29:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_9 | 00:31:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 8
TRUE | run_normal_9 | 00:33:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_10 | 00:35:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 9
TRUE | run_normal_10 | 00:37:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_11 | 00:39:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 10
TRUE | run_normal_11 | 00:41:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_12 | 00:43:00 | event | cta | advanced_load_up | unknown | 60 | 100_wh | 3¦6
TRUE | test_end | 0:45:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 127000
cumulative_electricity_end_Wh | 128000
cumulative_electricity_change_Wh | 1000
total_energy_storage_Wh | 9190
present_energy_storage_start_Wh | 596
present_energy_storage_end_Wh | 0
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 684
advanced_total_energy_storage_Wh | 12371
advanced_present_energy_storage_start_Wh | 3777
advanced_present_energy_storage_end_Wh | 3092
advanced_present_energy_storage_minimum_Wh | 3092
advanced_present_energy_storage_maximum_Wh | 3866