## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-09T13:10:08.491-07:00 | [5 empty] | 120.214 | 0 | 2.314 | 8.099 | 9.256 | 0.25
2026-08-09T13:10:08.574-07:00 |  |  | controller_started | controller | started
2026-08-09T13:10:08.579-07:00 |  |  | serial_open | serial_port | ok
2026-08-09T13:10:08.580-07:00 |  |  | communication_started | cta2045 | started
2026-08-09T13:10:09.720-07:00 | 5 | SGD Error Condition | operational_state | query_operational_state | received
2026-08-09T13:10:10.760-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:10:10.960-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:10:24.971-07:00 |  |  | command_sent | load_up | pending
2026-08-09T13:10:25.182-07:00 |  |  | command_completed | load_up | ok
2026-08-09T13:10:46.687-07:00 | [5 empty] | 120.244 | 0.149 | 18.512 | 23.14 | 28.925 | 0.64
2026-08-09T13:10:47.693-07:00 | [5 empty] | 120.136 | 0 | 13.884 | 18.512 | 23.14 | 0.6
2026-08-09T13:10:48.700-07:00 | [5 empty] | 120.156 | 0.185 | 20.826 | 26.611 | 34.709 | 0.633
2026-08-09T13:10:54.736-07:00 | [5 empty] | 120.136 | 0.308 | 32.396 | 38.18 | 50.907 | 0.658
2026-08-09T13:11:09.774-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:11:10.830-07:00 | [5 empty] | 120.097 | 0.196 | 20.826 | 28.925 | 35.866 | 0.58
2026-08-09T13:11:15.854-07:00 | [5 empty] | 120.185 | 0.308 | 32.396 | 38.18 | 50.907 | 0.636
2026-08-09T13:11:26.908-07:00 | [5 empty] | 119.922 | 1.567 | 205.943 | 76.361 | 219.827 | 0.937
2026-08-09T13:11:27.915-07:00 | [5 empty] | 119.99 | 1.964 | 261.478 | 77.518 | 275.362 | 0.962
2026-08-09T13:11:28.921-07:00 | [5 empty] | 120.01 | 2.212 | 296.188 | 74.047 | 305.443 | 0.969
2026-08-09T13:11:29.928-07:00 | [5 empty] | 119.873 | 2.362 | 312.385 | 89.088 | 326.269 | 0.961
2026-08-09T13:11:31.940-07:00 | [5 empty] | 120.029 | 2.478 | 328.583 | 87.931 | 341.31 | 0.966
2026-08-09T13:11:34.959-07:00 | [5 empty] | 120.019 | 2.612 | 349.409 | 85.617 | 359.822 | 0.971
2026-08-09T13:11:36.972-07:00 | [5 empty] | 120.01 | 2.732 | 365.607 | 82.146 | 376.019 | 0.975
2026-08-09T13:11:38.985-07:00 | [5 empty] | 119.854 | 2.962 | 393.374 | 96.03 | 407.258 | 0.971
2026-08-09T13:11:53.068-07:00 | [5 empty] | 119.864 | 2.853 | 381.804 | 84.46 | 391.06 | 0.976
2026-08-09T13:12:06.144-07:00 | [5 empty] | 119.825 | 2.976 | 395.688 | 96.03 | 403.787 | 0.971
2026-08-09T13:12:10.419-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:12:26.245-07:00 | [5 empty] | 119.893 | 3.111 | 414.2 | 98.344 | 425.77 | 0.973
2026-08-09T13:12:45.357-07:00 | [5 empty] | 119.864 | 3.234 | 430.398 | 99.501 | 441.967 | 0.974
2026-08-09T13:12:56.422-07:00 | [5 empty] | 119.961 | 3.348 | 446.595 | 101.814 | 454.694 | 0.977
2026-08-09T13:12:59.440-07:00 | [5 empty] | 119.786 | 3.243 | 432.712 | 94.873 | 446.595 | 0.977
2026-08-09T13:13:09.499-07:00 | [5 empty] | 119.912 | 3.344 | 446.595 | 96.03 | 457.008 | 0.977
2026-08-09T13:13:10.057-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:13:19.541-07:00 | [5 empty] | 119.981 | 3.447 | 460.479 | 98.344 | 470.892 | 0.978
2026-08-09T13:13:35.636-07:00 | [5 empty] | 119.903 | 3.56 | 472.049 | 109.913 | 485.933 | 0.974
2026-08-09T13:13:47.707-07:00 | [5 empty] | 119.912 | 3.674 | 488.247 | 111.07 | 500.974 | 0.974
2026-08-09T13:14:01.789-07:00 | [5 empty] | 119.786 | 3.794 | 502.131 | 118.012 | 517.171 | 0.973
2026-08-09T13:14:09.710-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:14:22.896-07:00 | [5 empty] | 119.912 | 3.924 | 520.642 | 120.326 | 534.526 | 0.974
2026-08-09T13:14:48.044-07:00 | [5 empty] | 119.659 | 4.054 | 536.84 | 116.855 | 550.724 | 0.977
2026-08-09T13:15:06.149-07:00 | [5 empty] | 119.795 | 4.176 | 555.352 | 119.169 | 568.079 | 0.978
2026-08-09T13:15:08.161-07:00 | [5 empty] | 119.776 | 4.292 | 566.922 | 130.739 | 579.648 | 0.974
2026-08-09T13:15:10.356-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:15:45.362-07:00 | [5 empty] | 119.698 | 4.397 | 580.805 | 133.053 | 597.003 | 0.975
2026-08-09T13:16:09.993-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:16:27.592-07:00 | [5 empty] | 119.581 | 4.522 | 599.317 | 129.582 | 613.201 | 0.977
2026-08-09T13:16:28.599-07:00 | [5 empty] | 119.747 | 4.42 | 585.433 | 127.268 | 600.474 | 0.977
2026-08-09T13:17:06.821-07:00 | [5 empty] | 119.766 | 4.531 | 601.631 | 129.582 | 615.515 | 0.977
2026-08-09T13:17:09.631-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:18:10.277-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:19:09.914-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:20:01.784-07:00 | [5 empty] | 119.63 | 4.62 | 610.887 | 135.367 | 627.085 | 0.976
2026-08-09T13:20:09.552-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:21:10.197-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:22:09.835-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:23:09.488-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:23:39.555-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:23:39.780-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:24:10.326-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:24:26.236-07:00 | [5 empty] | 120.536 | 4.842 | 643.282 | 144.623 | 660.637 | 0.975
2026-08-09T13:24:28.248-07:00 | [5 empty] | 120.546 | 4.732 | 631.713 | 133.053 | 645.596 | 0.978
2026-08-09T13:25:09.963-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:26:09.601-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:27:10.247-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:28:00.429-07:00 | [5 empty] | 120.244 | 4.882 | 647.91 | 150.408 | 665.265 | 0.974
2026-08-09T13:28:09.884-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:28:17.515-07:00 | [5 empty] | 120.38 | 4.777 | 636.34 | 133.053 | 651.381 | 0.979
2026-08-09T13:29:07.803-07:00 | [5 empty] | 120.448 | 4.893 | 650.224 | 150.408 | 666.422 | 0.976
2026-08-09T13:29:09.522-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:29:37.979-07:00 | [5 empty] | 120.409 | 4.79 | 636.34 | 143.466 | 653.695 | 0.975
2026-08-09T13:30:10.167-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:31:09.805-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:32:09.458-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:33:10.103-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:33:26.236-07:00 | [5 empty] | 120.283 | 4.919 | 652.538 | 145.78 | 669.893 | 0.976
2026-08-09T13:34:09.741-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:35:10.386-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:36:10.040-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:37:09.133-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:37:09.382-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:37:09.981-07:00 | 5 | SGD Error Condition | operational_state | query_operational_state | received
2026-08-09T13:38:09.618-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:39:10.264-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:40:09.901-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:41:09.539-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:42:10.184-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:43:09.822-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:44:09.475-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:45:10.104-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:46:09.742-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:46:20.555-07:00 | [5 empty] | 120.214 | 5.049 | 671.05 | 148.094 | 687.248 | 0.976
2026-08-09T13:46:33.632-07:00 | [5 empty] | 120.185 | 4.942 | 657.166 | 135.367 | 672.207 | 0.979
2026-08-09T13:47:10.387-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:48:10.041-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:49:09.679-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:50:10.324-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:50:39.389-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:50:39.607-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:51:10.153-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:52:09.807-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:53:09.445-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:54:10.090-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:55:09.728-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:56:10.373-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:57:10.010-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:58:09.648-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:59:10.293-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:00:09.931-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:01:09.569-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:02:10.214-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:03:09.851-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:04:09.489-07:00 | 5 | SGD Error Condition | operational_state | query_operational_state | received
2026-08-09T14:04:10.530-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:04:10.730-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:05:10.343-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:06:09.981-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:07:09.618-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:08:10.264-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:09:09.901-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:10:09.539-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:11:10.184-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:12:09.822-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:13:09.460-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:14:10.105-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:14:57.095-07:00 | [5 empty] | 120.244 | 0.23 | 23.14 | 32.396 | 39.337 | 0.588
2026-08-09T14:15:09.743-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:16:10.389-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:16:12.515-07:00 | [5 empty] | 120.312 | 0 | 0 | 8.099 | 9.256 | 0.125
2026-08-09T14:17:10.026-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:17:39.090-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:17:39.326-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:18:09.872-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:19:09.509-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:20:10.155-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:21:09.793-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:22:10.438-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:23:10.076-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:24:09.713-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:25:10.359-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:26:10.012-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:27:09.650-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:28:10.279-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:29:09.901-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:30:09.538-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:31:09.628-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:31:09.888-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:31:10.488-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:32:10.141-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:33:09.779-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:34:10.409-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:35:10.062-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:36:09.700-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:37:10.345-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:38:09.983-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:39:09.620-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:40:09.709-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:40:09.970-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:40:10.570-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-09T14:40:24.620-07:00 |  |  | command_sent | grid_emergency | pending
2026-08-09T14:40:24.832-07:00 |  |  | command_completed | grid_emergency | ok
2026-08-09T14:41:10.416-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:42:10.069-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:43:09.707-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:44:10.352-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:44:39.414-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:44:39.636-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:45:10.182-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:46:09.835-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:47:09.473-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:48:10.119-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:49:09.756-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:50:10.402-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:51:10.039-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:52:09.677-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:53:10.322-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:54:09.960-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:55:09.598-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:56:10.243-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:57:09.881-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:58:09.518-07:00 | 5 | SGD Error Condition | operational_state | query_operational_state | received
2026-08-09T14:58:10.560-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:58:10.759-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:59:10.356-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:00:09.993-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:01:09.631-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:02:10.276-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:03:09.914-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:04:09.568-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:05:10.213-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:06:09.851-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:07:09.488-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:08:10.134-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:09:09.771-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:10:10.417-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:10:24.199-07:00 |  |  | water_draw_started | water_draw_1 | started
2026-08-09T15:10:26.283-07:00 | [11 empty] | 0.004397 | 0.1949 | 21.25 | 70.25 | 22.29 | 72.12 | 22.2 | 71.96
2026-08-09T15:10:28.292-07:00 | [11 empty] | 0.14656 | 3.4667 | 21.25 | 70.25 | 21.98 | 71.56 | 22.4 | 72.32
2026-08-09T15:10:30.308-07:00 | [11 empty] | 0.25953 | 3.2778 | 22.5 | 72.5 | 22.4 | 72.31 | 22.2 | 71.96
2026-08-09T15:10:32.327-07:00 | [11 empty] | 0.36585 | 3.0992 | 25.94 | 78.69 | 22.4 | 72.31 | 22.1 | 71.78
2026-08-09T15:10:34.349-07:00 | [11 empty] | 0.46758 | 2.992 | 29.17 | 84.5 | 22.5 | 72.5 | 22.3 | 72.14
2026-08-09T15:10:36.372-07:00 | [11 empty] | 0.56817 | 2.9869 | 31.88 | 89.38 | 22.08 | 71.75 | 22.1 | 71.78
2026-08-09T15:10:38.395-07:00 | [11 empty] | 0.66741 | 2.9409 | 34.38 | 93.88 | 22.6 | 72.69 | 21.9 | 71.42
2026-08-09T15:10:40.419-07:00 | [11 empty] | 0.76681 | 2.946 | 36.04 | 96.88 | 22.4 | 72.31 | 22 | 71.6
2026-08-09T15:10:42.526-07:00 | [11 empty] | 0.86943 | 2.9511 | 38.02 | 100.44 | 21.98 | 71.56 | 21.9 | 71.42
2026-08-09T15:10:44.584-07:00 | [11 empty] | 0.97064 | 2.9307 | 39.48 | 103.06 | 21.88 | 71.38 | 22 | 71.6
2026-08-09T15:10:46.603-07:00 | [11 empty] | 1.069 | 2.9358 | 40.52 | 104.94 | 22.29 | 72.12 | 21.9 | 71.42
2026-08-09T15:10:48.622-07:00 | [11 empty] | 1.1682 | 2.9511 | 41.77 | 107.19 | 22.4 | 72.31 | 22.1 | 71.78
2026-08-09T15:10:50.641-07:00 | [11 empty] | 1.2677 | 2.9665 | 42.29 | 108.13 | 21.67 | 71 | 22.2 | 71.96
2026-08-09T15:10:52.660-07:00 | [11 empty] | 1.3669 | 2.9665 | 42.71 | 108.88 | 22.08 | 71.75 | 22 | 71.6
2026-08-09T15:10:54.679-07:00 | [11 empty] | 1.467 | 2.9869 | 43.12 | 109.62 | 21.67 | 71 | 22 | 71.6
2026-08-09T15:10:56.698-07:00 | [11 empty] | 1.5679 | 3.0073 | 43.44 | 110.19 | 21.88 | 71.38 | 21.8 | 71.24
2026-08-09T15:10:58.717-07:00 | [11 empty] | 1.669 | 3.0022 | 43.75 | 110.75 | 21.88 | 71.38 | 22 | 71.6
2026-08-09T15:11:00.736-07:00 | [11 empty] | 1.7702 | 3.0124 | 44.17 | 111.5 | 21.88 | 71.38 | 22.2 | 71.96
2026-08-09T15:11:02.755-07:00 | [11 empty] | 1.8719 | 3.0226 | 44.69 | 112.44 | 21.35 | 70.44 | 22.2 | 71.96
2026-08-09T15:11:04.777-07:00 | [11 empty] | 1.9733 | 3.0124 | 44.9 | 112.81 | 21.46 | 70.62 | 22.2 | 71.96
2026-08-09T15:11:06.797-07:00 | [11 empty] | 2.0755 | 3.0481 | 45 | 113 | 21.46 | 70.62 | 22.2 | 71.96
2026-08-09T15:11:08.816-07:00 | [11 empty] | 2.1773 | 3.0124 | 45.31 | 113.56 | 21.77 | 71.19 | 22.1 | 71.78
2026-08-09T15:11:10.054-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:11:10.835-07:00 | [11 empty] | 2.2795 | 3.0532 | 45.62 | 114.12 | 21.35 | 70.44 | 21.7 | 71.06
2026-08-09T15:11:12.854-07:00 | [11 empty] | 2.3813 | 3.0277 | 45.73 | 114.31 | 21.56 | 70.81 | 22 | 71.6
2026-08-09T15:11:14.868-07:00 | [11 empty] | 2.483 | 3.0532 | 45.83 | 114.5 | 21.67 | 71 | 22.3 | 72.14
2026-08-09T15:11:16.876-07:00 | [11 empty] | 2.5844 | 3.0277 | 46.04 | 114.88 | 21.88 | 71.38 | 22.3 | 72.14
2026-08-09T15:11:18.884-07:00 | [11 empty] | 2.6862 | 3.0583 | 46.15 | 115.06 | 21.98 | 71.56 | 22 | 71.6
2026-08-09T15:11:20.903-07:00 | [11 empty] | 2.7884 | 3.0532 | 46.46 | 115.63 | 21.98 | 71.56 | 21.8 | 71.24
2026-08-09T15:11:22.922-07:00 | [11 empty] | 2.8909 | 3.0583 | 46.35 | 115.44 | 21.46 | 70.62 | 22 | 71.6
2026-08-09T15:11:24.941-07:00 | [11 empty] | 2.9939 | 3.0685 | 46.46 | 115.63 | 21.77 | 71.19 | 22 | 71.6
2026-08-09T15:11:26.960-07:00 | [11 empty] | 3.0968 | 3.0685 | 46.88 | 116.38 | 21.98 | 71.56 | 22.2 | 71.96
2026-08-09T15:11:28.979-07:00 | [11 empty] | 3.1994 | 3.0736 | 46.77 | 116.19 | 21.67 | 71 | 22.1 | 71.78
2026-08-09T15:11:30.998-07:00 | [11 empty] | 3.3026 | 3.0634 | 46.98 | 116.56 | 22.19 | 71.94 | 22 | 71.6
2026-08-09T15:11:33.017-07:00 | [11 empty] | 3.4055 | 3.0532 | 47.08 | 116.75 | 21.88 | 71.38 | 22.1 | 71.78
2026-08-09T15:11:35.036-07:00 | [11 empty] | 3.5083 | 3.0532 | 47.19 | 116.94 | 21.88 | 71.38 | 22 | 71.6
2026-08-09T15:11:37.055-07:00 | [11 empty] | 3.6111 | 3.0481 | 47.19 | 116.94 | 22.6 | 72.69 | 22.2 | 71.96
2026-08-09T15:11:39.074-07:00 | [11 empty] | 3.7139 | 3.0481 | 47.6 | 117.69 | 21.98 | 71.56 | 21.7 | 71.06
2026-08-09T15:11:39.115-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:11:39.338-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:11:41.093-07:00 | [11 empty] | 3.8169 | 3.0634 | 47.29 | 117.12 | 22.6 | 72.69 | 22.2 | 71.96
2026-08-09T15:11:43.112-07:00 | [11 empty] | 3.92 | 3.0736 | 47.5 | 117.5 | 22.08 | 71.75 | 21.8 | 71.24
2026-08-09T15:11:45.131-07:00 | [11 empty] | 4.0228 | 3.0532 | 47.6 | 117.69 | 22.5 | 72.5 | 22.1 | 71.78
2026-08-09T15:11:47.150-07:00 | [11 empty] | 4.1257 | 3.0481 | 47.5 | 117.5 | 22.19 | 71.94 | 22.2 | 71.96
2026-08-09T15:11:49.170-07:00 | [11 empty] | 4.2289 | 3.0634 | 47.92 | 118.25 | 22.4 | 72.31 | 21.9 | 71.42
2026-08-09T15:11:51.188-07:00 | [11 empty] | 4.3319 | 3.0685 | 47.81 | 118.06 | 22.92 | 73.25 | 22.2 | 71.96
2026-08-09T15:11:53.207-07:00 | [11 empty] | 4.4349 | 3.0839 | 47.92 | 118.25 | 22.81 | 73.06 | 22.2 | 71.96
2026-08-09T15:11:55.227-07:00 | [11 empty] | 4.538 | 3.0634 | 47.71 | 117.88 | 22.4 | 72.31 | 22.1 | 71.78
2026-08-09T15:11:57.246-07:00 | [11 empty] | 4.6409 | 3.0532 | 48.12 | 118.62 | 22.71 | 72.88 | 22 | 71.6
2026-08-09T15:11:59.265-07:00 | [11 empty] | 4.7442 | 3.0583 | 47.6 | 117.69 | 23.12 | 73.62 | 22.1 | 71.78
2026-08-09T15:12:01.284-07:00 | [11 empty] | 4.8469 | 3.0634 | 48.02 | 118.44 | 23.12 | 73.62 | 21.9 | 71.42
2026-08-09T15:12:03.303-07:00 | [11 empty] | 4.9495 | 3.0583 | 48.23 | 118.81 | 23.02 | 73.44 | 22.2 | 71.96
2026-08-09T15:12:05.322-07:00 | [11 empty] | 5.0515 | 3.0175 | 48.23 | 118.81 | 23.33 | 74 | 22.1 | 71.78
2026-08-09T15:12:07.341-07:00 | [11 empty] | 5.1541 | 3.0532 | 47.92 | 118.25 | 23.33 | 74 | 22.1 | 71.78
2026-08-09T15:12:09.359-07:00 | [11 empty] | 5.2565 | 3.043 | 48.33 | 119 | 23.44 | 74.19 | 22.1 | 71.78
2026-08-09T15:12:09.884-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:12:11.399-07:00 | [11 empty] | 5.3594 | 3.0481 | 48.33 | 119 | 23.44 | 74.19 | 21.8 | 71.24
2026-08-09T15:12:13.418-07:00 | [11 empty] | 5.4629 | 3.043 | 48.12 | 118.62 | 23.65 | 74.56 | 22.2 | 71.96
2026-08-09T15:12:15.429-07:00 | [11 empty] | 5.5654 | 3.0583 | 48.33 | 119 | 23.75 | 74.75 | 22.2 | 71.96
2026-08-09T15:12:17.437-07:00 | [11 empty] | 5.6672 | 3.0583 | 48.33 | 119 | 24.27 | 75.69 | 21.9 | 71.42
2026-08-09T15:12:19.447-07:00 | [11 empty] | 5.7695 | 3.043 | 48.65 | 119.56 | 24.69 | 76.44 | 21.9 | 71.42
2026-08-09T15:12:21.466-07:00 | [11 empty] | 5.8727 | 3.0787 | 48.75 | 119.75 | 24.48 | 76.06 | 21.9 | 71.42
2026-08-09T15:12:23.485-07:00 | [11 empty] | 5.9752 | 3.043 | 48.54 | 119.38 | 24.79 | 76.63 | 22.3 | 72.14
2026-08-09T15:12:25.504-07:00 | [11 empty] | 6.0772 | 3.043 | 48.33 | 119 | 25.1 | 77.19 | 21.9 | 71.42
2026-08-09T15:12:27.523-07:00 | [11 empty] | 6.1797 | 3.0532 | 48.54 | 119.38 | 24.9 | 76.81 | 21.9 | 71.42
2026-08-09T15:12:29.543-07:00 | [11 empty] | 6.2826 | 3.0583 | 48.54 | 119.38 | 25.42 | 77.75 | 22.1 | 71.78
2026-08-09T15:12:31.563-07:00 | [11 empty] | 6.3858 | 3.0583 | 48.54 | 119.38 | 25.42 | 77.75 | 21.9 | 71.42
2026-08-09T15:12:33.586-07:00 | [11 empty] | 6.4887 | 3.089 | 48.44 | 119.19 | 25.73 | 78.31 | 21.8 | 71.24
2026-08-09T15:12:35.607-07:00 | [11 empty] | 6.5916 | 3.0583 | 48.44 | 119.19 | 26.04 | 78.87 | 22 | 71.6
2026-08-09T15:12:37.629-07:00 | [11 empty] | 6.695 | 3.0634 | 48.65 | 119.56 | 26.35 | 79.44 | 22.3 | 72.14
2026-08-09T15:12:39.651-07:00 | [11 empty] | 6.7984 | 3.0532 | 48.44 | 119.19 | 26.35 | 79.44 | 22.2 | 71.96
2026-08-09T15:12:41.676-07:00 | [11 empty] | 6.9017 | 3.0634 | 48.23 | 118.81 | 26.46 | 79.62 | 22.3 | 72.14
2026-08-09T15:12:43.743-07:00 | [11 empty] | 7.0064 | 3.0532 | 48.54 | 119.38 | 26.98 | 80.56 | 22.3 | 72.14
2026-08-09T15:12:45.779-07:00 | [11 empty] | 7.1108 | 3.0379 | 48.96 | 120.12 | 26.98 | 80.56 | 21.9 | 71.42
2026-08-09T15:12:47.798-07:00 | [11 empty] | 7.2135 | 3.043 | 48.96 | 120.12 | 27.81 | 82.06 | 22.1 | 71.78
2026-08-09T15:12:49.817-07:00 | [11 empty] | 7.3167 | 3.0481 | 48.54 | 119.38 | 28.02 | 82.44 | 21.7 | 71.06
2026-08-09T15:12:51.836-07:00 | [11 empty] | 7.4197 | 3.0379 | 48.96 | 120.12 | 28.44 | 83.19 | 22 | 71.6
2026-08-09T15:12:53.856-07:00 | [11 empty] | 7.5232 | 3.0481 | 48.96 | 120.12 | 28.75 | 83.75 | 21.9 | 71.42
2026-08-09T15:12:55.875-07:00 | [11 empty] | 7.6259 | 3.0532 | 48.96 | 120.12 | 28.85 | 83.94 | 22.2 | 71.96
2026-08-09T15:12:57.894-07:00 | [11 empty] | 7.7282 | 3.0532 | 48.75 | 119.75 | 29.9 | 85.81 | 22.1 | 71.78
2026-08-09T15:12:59.917-07:00 | [11 empty] | 7.831 | 3.0685 | 49.06 | 120.31 | 30.31 | 86.56 | 22.1 | 71.78
2026-08-09T15:13:01.938-07:00 | [11 empty] | 7.9342 | 3.0787 | 48.96 | 120.12 | 30.52 | 86.94 | 21.8 | 71.24
2026-08-09T15:13:03.957-07:00 | [11 empty] | 8.0374 | 3.0736 | 48.85 | 119.94 | 30.52 | 86.94 | 22.2 | 71.96
2026-08-09T15:13:05.976-07:00 | [11 empty] | 8.1402 | 3.043 | 48.85 | 119.94 | 31.15 | 88.06 | 22 | 71.6
2026-08-09T15:13:07.995-07:00 | [11 empty] | 8.2428 | 3.0481 | 49.06 | 120.31 | 31.56 | 88.81 | 22.4 | 72.32
2026-08-09T15:13:09.538-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:13:10.014-07:00 | [11 empty] | 8.3456 | 3.0583 | 49.06 | 120.31 | 32.08 | 89.75 | 22.3 | 72.14
2026-08-09T15:13:12.033-07:00 | [11 empty] | 8.4484 | 3.0532 | 48.85 | 119.94 | 32.29 | 90.12 | 22.4 | 72.32
2026-08-09T15:13:14.053-07:00 | [11 empty] | 8.5512 | 3.0532 | 49.06 | 120.31 | 32.19 | 89.94 | 22.1 | 71.78
2026-08-09T15:13:16.061-07:00 | [11 empty] | 8.6531 | 3.043 | 49.17 | 120.5 | 33.12 | 91.62 | 22.1 | 71.78
2026-08-09T15:13:18.069-07:00 | [11 empty] | 8.7549 | 3.0532 | 49.17 | 120.5 | 32.92 | 91.25 | 21.9 | 71.42
2026-08-09T15:13:20.082-07:00 | [11 empty] | 8.8572 | 3.0736 | 48.96 | 120.12 | 33.44 | 92.19 | 22.1 | 71.78
2026-08-09T15:13:22.100-07:00 | [11 empty] | 8.9596 | 3.0277 | 49.27 | 120.69 | 33.02 | 91.44 | 21.8 | 71.24
2026-08-09T15:13:24.119-07:00 | [11 empty] | 9.062 | 3.043 | 49.17 | 120.5 | 33.44 | 92.19 | 22.3 | 72.14
2026-08-09T15:13:26.139-07:00 | [11 empty] | 9.1653 | 3.0634 | 48.96 | 120.12 | 33.02 | 91.44 | 22.2 | 71.96
2026-08-09T15:13:28.158-07:00 | [11 empty] | 9.2685 | 3.0685 | 48.96 | 120.12 | 33.33 | 92 | 22.2 | 71.96
2026-08-09T15:13:30.177-07:00 | [11 empty] | 9.3717 | 3.0634 | 49.37 | 120.87 | 33.33 | 92 | 22.3 | 72.14
2026-08-09T15:13:32.196-07:00 | [11 empty] | 9.475 | 3.0736 | 49.17 | 120.5 | 32.81 | 91.06 | 22 | 71.6
2026-08-09T15:13:34.216-07:00 | [11 empty] | 9.5785 | 3.0787 | 49.17 | 120.5 | 33.02 | 91.44 | 22 | 71.6
2026-08-09T15:13:36.238-07:00 | [11 empty] | 9.6815 | 3.043 | 49.06 | 120.31 | 32.81 | 91.06 | 22.1 | 71.78
2026-08-09T15:13:38.263-07:00 | [11 empty] | 9.7853 | 3.0736 | 49.17 | 120.5 | 32.5 | 90.5 | 22.3 | 72.14
2026-08-09T15:13:40.284-07:00 | [11 empty] | 9.8886 | 3.0532 | 49.06 | 120.31 | 31.88 | 89.38 | 22.2 | 71.96
2026-08-09T15:13:42.364-07:00 | [11 empty] | 9.9943 | 3.0685 | 48.96 | 120.12 | 31.67 | 89 | 21.9 | 71.42
2026-08-09T15:13:44.434-07:00 | [11 empty] | 10.0998 | 3.0583 | 49.06 | 120.31 | 31.04 | 87.88 | 22 | 71.6
2026-08-09T15:13:46.454-07:00 | [11 empty] | 10.2038 | 3.0481 | 49.06 | 120.31 | 30.83 | 87.5 | 22.1 | 71.78
2026-08-09T15:13:48.473-07:00 | [11 empty] | 10.3071 | 3.0787 | 48.65 | 119.56 | 30.52 | 86.94 | 22.4 | 72.32
2026-08-09T15:13:50.492-07:00 | [11 empty] | 10.4107 | 3.0787 | 48.44 | 119.19 | 30.21 | 86.38 | 22.3 | 72.14
2026-08-09T15:13:52.511-07:00 | [11 empty] | 10.5145 | 3.0839 | 48.65 | 119.56 | 29.79 | 85.62 | 22.2 | 71.96
2026-08-09T15:13:54.530-07:00 | [11 empty] | 10.6186 | 3.1043 | 48.33 | 119 | 29.38 | 84.88 | 22.1 | 71.78
2026-08-09T15:13:56.549-07:00 | [11 empty] | 10.7228 | 3.0941 | 48.12 | 118.62 | 28.44 | 83.19 | 21.9 | 71.42
2026-08-09T15:13:58.568-07:00 | [11 empty] | 10.8275 | 3.0992 | 48.12 | 118.62 | 28.44 | 83.19 | 22.1 | 71.78
2026-08-09T15:14:00.591-07:00 | [11 empty] | 10.932 | 3.0839 | 48.23 | 118.81 | 28.02 | 82.44 | 22.3 | 72.14
2026-08-09T15:14:02.610-07:00 | [11 empty] | 11.036 | 3.0787 | 47.81 | 118.06 | 27.6 | 81.69 | 22.4 | 72.32
2026-08-09T15:14:04.629-07:00 | [11 empty] | 11.1394 | 3.0736 | 48.23 | 118.81 | 27.4 | 81.31 | 22 | 71.6
2026-08-09T15:14:06.648-07:00 | [11 empty] | 11.2432 | 3.1043 | 47.92 | 118.25 | 26.87 | 80.37 | 22.1 | 71.78
2026-08-09T15:14:08.667-07:00 | [11 empty] | 11.3469 | 3.0992 | 48.02 | 118.44 | 26.25 | 79.25 | 21.8 | 71.24
2026-08-09T15:14:10.183-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:14:10.686-07:00 | [11 empty] | 11.4509 | 3.0787 | 48.02 | 118.44 | 26.04 | 78.87 | 22.3 | 72.14
2026-08-09T15:14:12.705-07:00 | [11 empty] | 11.5547 | 3.0941 | 47.81 | 118.06 | 26.15 | 79.06 | 22.2 | 71.96
2026-08-09T15:14:14.723-07:00 | [11 empty] | 11.6588 | 3.089 | 47.81 | 118.06 | 25.83 | 78.5 | 22.3 | 72.14
2026-08-09T15:14:16.731-07:00 | [11 empty] | 11.7618 | 3.0736 | 47.92 | 118.25 | 25.63 | 78.13 | 22 | 71.6
2026-08-09T15:14:18.739-07:00 | [11 empty] | 11.8676 | 3.1655 | 47.81 | 118.06 | 24.9 | 76.81 | 22.3 | 72.14
2026-08-09T15:14:20.755-07:00 | [11 empty] | 11.973 | 3.1706 | 47.6 | 117.69 | 24.48 | 76.06 | 22.2 | 71.96
2026-08-09T15:14:22.775-07:00 | [11 empty] | 12.0784 | 3.1145 | 47.71 | 117.88 | 24.79 | 76.63 | 22.2 | 71.96
2026-08-09T15:14:24.794-07:00 | [11 empty] | 12.1838 | 3.1196 | 47.81 | 118.06 | 24.58 | 76.25 | 22.3 | 72.14
2026-08-09T15:14:26.814-07:00 | [11 empty] | 12.2889 | 3.1247 | 47.81 | 118.06 | 24.17 | 75.5 | 22.1 | 71.78
2026-08-09T15:14:28.833-07:00 | [11 empty] | 12.3944 | 3.14 | 47.81 | 118.06 | 23.96 | 75.12 | 22.2 | 71.96
2026-08-09T15:14:30.852-07:00 | [11 empty] | 12.4999 | 3.1451 | 47.5 | 117.5 | 23.75 | 74.75 | 22 | 71.6
2026-08-09T15:14:32.871-07:00 | [11 empty] | 12.6053 | 3.1298 | 47.71 | 117.88 | 23.85 | 74.94 | 21.9 | 71.42
2026-08-09T15:14:34.890-07:00 | [11 empty] | 12.7102 | 3.0941 | 47.81 | 118.06 | 23.33 | 74 | 22.4 | 72.32
2026-08-09T15:14:36.910-07:00 | [11 empty] | 12.8148 | 3.0481 | 48.02 | 118.44 | 23.12 | 73.62 | 22 | 71.6
2026-08-09T15:14:38.929-07:00 | [11 empty] | 12.9192 | 3.1043 | 47.71 | 117.88 | 22.92 | 73.25 | 22.4 | 72.32
2026-08-09T15:14:40.948-07:00 | [11 empty] | 13.0233 | 3.0941 | 48.02 | 118.44 | 23.12 | 73.62 | 21.9 | 71.42
2026-08-09T15:14:42.967-07:00 | [11 empty] | 13.1278 | 3.1094 | 47.92 | 118.25 | 22.81 | 73.06 | 22.1 | 71.78
2026-08-09T15:14:44.986-07:00 | [11 empty] | 13.232 | 3.089 | 47.81 | 118.06 | 23.02 | 73.44 | 22.4 | 72.32
2026-08-09T15:14:47.007-07:00 | [11 empty] | 13.3366 | 3.1145 | 47.71 | 117.88 | 22.6 | 72.69 | 22.4 | 72.32
2026-08-09T15:14:49.029-07:00 | [11 empty] | 13.4409 | 3.0992 | 47.71 | 117.88 | 22.4 | 72.31 | 21.8 | 71.24
2026-08-09T15:14:51.048-07:00 | [11 empty] | 13.5458 | 3.1145 | 47.92 | 118.25 | 22.4 | 72.31 | 22.2 | 71.96
2026-08-09T15:14:53.067-07:00 | [11 empty] | 13.6504 | 3.1145 | 47.92 | 118.25 | 22.4 | 72.31 | 21.8 | 71.24
2026-08-09T15:14:55.086-07:00 | [11 empty] | 13.7549 | 3.1145 | 47.81 | 118.06 | 22.29 | 72.12 | 22.2 | 71.96
2026-08-09T15:14:57.105-07:00 | [11 empty] | 13.8595 | 3.1043 | 47.6 | 117.69 | 22.08 | 71.75 | 22.3 | 72.14
2026-08-09T15:14:59.124-07:00 | [11 empty] | 13.9637 | 3.0992 | 47.6 | 117.69 | 22.29 | 72.12 | 22.2 | 71.96
2026-08-09T15:15:01.143-07:00 | [11 empty] | 14.0679 | 3.1094 | 47.71 | 117.88 | 22.19 | 71.94 | 22.1 | 71.78
2026-08-09T15:15:03.162-07:00 | [11 empty] | 14.1723 | 3.0992 | 48.02 | 118.44 | 22.08 | 71.75 | 21.9 | 71.42
2026-08-09T15:15:05.180-07:00 | [11 empty] | 14.2767 | 3.1145 | 47.92 | 118.25 | 22.29 | 72.12 | 21.9 | 71.42
2026-08-09T15:15:07.199-07:00 | [11 empty] | 14.3813 | 3.089 | 47.6 | 117.69 | 22.08 | 71.75 | 22.1 | 71.78
2026-08-09T15:15:09.218-07:00 | [11 empty] | 14.485 | 3.0941 | 47.81 | 118.06 | 21.56 | 70.81 | 21.8 | 71.24
2026-08-09T15:15:09.820-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:15:11.237-07:00 | [11 empty] | 14.5891 | 3.1145 | 47.92 | 118.25 | 22.08 | 71.75 | 22.2 | 71.96
2026-08-09T15:15:13.255-07:00 | [11 empty] | 14.6932 | 3.0839 | 47.71 | 117.88 | 21.46 | 70.62 | 22.3 | 72.14
2026-08-09T15:15:15.275-07:00 | [11 empty] | 14.7979 | 3.1145 | 47.71 | 117.88 | 21.98 | 71.56 | 22.2 | 71.96
2026-08-09T15:15:17.294-07:00 | [11 empty] | 14.9024 | 3.0787 | 47.81 | 118.06 | 21.98 | 71.56 | 21.5 | 70.7
2026-08-09T15:15:19.313-07:00 | [11 empty] | 15.0065 | 3.0941 | 47.71 | 117.88 | 22.19 | 71.94 | 22.1 | 71.78
2026-08-09T15:15:19.318-07:00 | [11 empty] | 15.0065 | 3.0941 | 47.71 | 117.88 | 22.19 | 71.94 | 22.1 | 71.78
2026-08-09T15:15:19.504-07:00 |  |  | water_draw_completed | water_draw_1 | ok
2026-08-09T15:16:09.458-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:17:10.103-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:18:09.741-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:19:10.370-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:20:10.008-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:21:09.661-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:22:10.307-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:23:09.945-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:24:09.582-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:25:09.665-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:25:09.932-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:25:10.531-07:00 | 5 | SGD Error Condition | operational_state | query_operational_state | received
2026-08-09T15:26:10.169-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:27:09.823-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:28:09.460-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:29:10.106-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:30:09.743-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:31:10.389-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:32:10.026-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:33:09.664-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:34:10.309-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:35:09.947-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:36:09.585-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:37:10.230-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:38:09.868-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:38:39.927-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:38:40.159-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:39:09.713-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:40:10.359-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:40:24.154-07:00 |  |  | water_draw_started | water_draw_2 | started
2026-08-09T15:40:26.076-07:00 | [11 empty] | 0.003603 | 0.17958 | 34.17 | 93.5 | 24.79 | 76.63 | 23.7 | 74.66
2026-08-09T15:40:28.084-07:00 | [11 empty] | 0.14522 | 3.4309 | 33.96 | 93.13 | 25.52 | 77.94 | 23.2 | 73.76
2026-08-09T15:40:30.099-07:00 | [11 empty] | 0.25646 | 3.2625 | 35 | 95 | 25.1 | 77.19 | 23.4 | 74.12
2026-08-09T15:40:32.119-07:00 | [11 empty] | 0.36331 | 3.1094 | 37.08 | 98.75 | 24.79 | 76.63 | 23.4 | 74.12
2026-08-09T15:40:34.138-07:00 | [11 empty] | 0.46624 | 3.0226 | 39.27 | 102.69 | 25 | 77 | 23.5 | 74.3
2026-08-09T15:40:36.157-07:00 | [11 empty] | 0.56788 | 3.0073 | 41.04 | 105.88 | 25.21 | 77.38 | 23.3 | 73.94
2026-08-09T15:40:38.177-07:00 | [11 empty] | 0.66876 | 2.9665 | 42.6 | 108.69 | 24.58 | 76.25 | 23.4 | 74.12
2026-08-09T15:40:40.197-07:00 | [11 empty] | 0.76876 | 2.9869 | 43.85 | 110.94 | 25.1 | 77.19 | 23.7 | 74.66
2026-08-09T15:40:42.216-07:00 | [11 empty] | 0.86831 | 2.9409 | 44.58 | 112.25 | 24.9 | 76.81 | 23.3 | 73.94
2026-08-09T15:40:44.244-07:00 | [11 empty] | 0.96837 | 2.9665 | 45.52 | 113.94 | 24.69 | 76.44 | 23.3 | 73.94
2026-08-09T15:40:46.263-07:00 | [11 empty] | 1.0691 | 2.9614 | 46.15 | 115.06 | 24.69 | 76.44 | 23.2 | 73.76
2026-08-09T15:40:48.282-07:00 | [11 empty] | 1.1698 | 3.0022 | 46.67 | 116 | 24.48 | 76.06 | 23.3 | 73.94
2026-08-09T15:40:50.301-07:00 | [11 empty] | 1.2703 | 3.0073 | 46.98 | 116.56 | 24.17 | 75.5 | 23.3 | 73.94
2026-08-09T15:40:52.320-07:00 | [11 empty] | 1.3714 | 3.0124 | 46.98 | 116.56 | 24.58 | 76.25 | 23.4 | 74.12
2026-08-09T15:40:54.339-07:00 | [11 empty] | 1.4729 | 3.0277 | 47.4 | 117.31 | 24.37 | 75.87 | 23.6 | 74.48
2026-08-09T15:40:56.358-07:00 | [11 empty] | 1.5745 | 3.0226 | 47.6 | 117.69 | 24.06 | 75.31 | 23.5 | 74.3
2026-08-09T15:40:58.377-07:00 | [11 empty] | 1.6765 | 3.0328 | 47.4 | 117.31 | 24.06 | 75.31 | 23.7 | 74.66
2026-08-09T15:41:00.396-07:00 | [11 empty] | 1.779 | 3.0583 | 47.5 | 117.5 | 24.06 | 75.31 | 23.5 | 74.3
2026-08-09T15:41:02.415-07:00 | [11 empty] | 1.8818 | 3.043 | 47.6 | 117.69 | 23.75 | 74.75 | 23.2 | 73.76
2026-08-09T15:41:04.434-07:00 | [11 empty] | 1.9849 | 3.0532 | 47.4 | 117.31 | 23.96 | 75.12 | 23.5 | 74.3
2026-08-09T15:41:04.944-07:00 | [11 empty] | 2.0108 | 3.0736 | 47.6 | 117.69 | 23.75 | 74.75 | 23.4 | 74.12
2026-08-09T15:41:05.049-07:00 |  |  | water_draw_completed | water_draw_2 | ok
2026-08-09T15:41:09.980-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:42:09.602-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:43:10.231-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:44:09.869-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:45:09.507-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:46:10.152-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:47:09.806-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:48:10.451-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:49:10.089-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:50:09.726-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:51:10.356-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:52:09.436-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:52:09.698-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:52:10.281-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:53:09.919-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:54:09.556-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:55:10.202-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:56:09.840-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:57:09.477-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:58:10.123-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:59:09.760-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:00:10.406-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:01:10.043-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:02:09.681-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:03:10.326-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:04:09.964-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:05:09.601-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:05:39.660-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:05:39.893-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:06:09.447-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:07:10.092-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:08:09.746-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:09:10.375-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:10:10.013-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:11:09.651-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:12:10.296-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:13:09.934-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:14:09.571-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:15:10.217-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:16:09.854-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:17:09.492-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:18:10.137-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:19:09.214-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:19:09.495-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:19:10.095-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:20:09.748-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:21:10.394-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:22:10.031-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:23:09.669-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:24:10.331-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:25:09.984-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:26:09.638-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:27:10.268-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:28:09.905-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:29:09.559-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:30:10.204-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:31:09.842-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:32:09.479-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:32:39.539-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:32:39.771-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:33:10.317-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:34:09.954-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:35:09.592-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:36:10.238-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:37:09.875-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:38:09.513-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:39:10.158-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:40:09.796-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:41:10.442-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:42:10.079-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:43:09.733-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:44:10.362-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:45:10.000-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:46:09.074-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:46:09.342-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:46:09.925-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:47:09.563-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:48:10.208-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:49:09.846-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:50:09.484-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:50:24.064-07:00 |  |  | water_draw_started | water_draw_3 | started
2026-08-09T16:50:25.812-07:00 | [11 empty] | 0.002971 | 0.17448 | 26.56 | 79.81 | 22.4 | 72.31 | 24.1 | 75.38
2026-08-09T16:50:27.820-07:00 | [11 empty] | 0.15021 | 3.5943 | 26.67 | 80 | 22.29 | 72.12 | 24.4 | 75.92
2026-08-09T16:50:29.838-07:00 | [11 empty] | 0.26568 | 3.3442 | 28.12 | 82.62 | 22.08 | 71.75 | 24 | 75.2
2026-08-09T16:50:31.857-07:00 | [11 empty] | 0.37409 | 3.14 | 30.83 | 87.5 | 22.19 | 71.94 | 23.9 | 75.02
2026-08-09T16:50:33.880-07:00 | [11 empty] | 0.47803 | 3.0634 | 33.44 | 92.19 | 22.19 | 71.94 | 24.2 | 75.56
2026-08-09T16:50:35.902-07:00 | [11 empty] | 0.57966 | 3.0124 | 36.04 | 96.88 | 21.98 | 71.56 | 24.4 | 75.92
2026-08-09T16:50:37.923-07:00 | [11 empty] | 0.67968 | 2.9307 | 37.71 | 99.88 | 21.98 | 71.56 | 24.2 | 75.56
2026-08-09T16:50:39.943-07:00 | [11 empty] | 0.77914 | 2.9409 | 39.27 | 102.69 | 22.29 | 72.12 | 24.3 | 75.74
2026-08-09T16:50:42.056-07:00 | [11 empty] | 0.88215 | 2.9409 | 40.83 | 105.5 | 21.88 | 71.38 | 24.2 | 75.56
2026-08-09T16:50:44.102-07:00 | [11 empty] | 0.98359 | 2.9409 | 41.98 | 107.56 | 22.29 | 72.12 | 24.4 | 75.92
2026-08-09T16:50:46.121-07:00 | [11 empty] | 1.0835 | 2.9665 | 42.5 | 108.5 | 21.88 | 71.38 | 24.4 | 75.92
2026-08-09T16:50:48.140-07:00 | [11 empty] | 1.1834 | 2.9818 | 43.44 | 110.19 | 22.4 | 72.31 | 23.9 | 75.02
2026-08-09T16:50:50.159-07:00 | [11 empty] | 1.2834 | 2.9818 | 43.85 | 110.94 | 21.77 | 71.19 | 24.2 | 75.56
2026-08-09T16:50:52.182-07:00 | [11 empty] | 1.3839 | 3.0124 | 44.38 | 111.88 | 21.88 | 71.38 | 24 | 75.2
2026-08-09T16:50:54.201-07:00 | [11 empty] | 1.485 | 3.0226 | 44.69 | 112.44 | 22.29 | 72.12 | 24 | 75.2
2026-08-09T16:50:56.220-07:00 | [11 empty] | 1.5861 | 2.992 | 45.21 | 113.38 | 22.08 | 71.75 | 24 | 75.2
2026-08-09T16:50:58.239-07:00 | [11 empty] | 1.6871 | 3.0226 | 45.21 | 113.38 | 21.77 | 71.19 | 24.3 | 75.74
2026-08-09T16:51:00.258-07:00 | [11 empty] | 1.7886 | 3.0073 | 45.42 | 113.75 | 22.5 | 72.5 | 24.1 | 75.38
2026-08-09T16:51:02.277-07:00 | [11 empty] | 1.8902 | 3.0379 | 45.73 | 114.31 | 22.29 | 72.12 | 23.9 | 75.02
2026-08-09T16:51:04.296-07:00 | [11 empty] | 1.9915 | 3.0175 | 45.94 | 114.69 | 21.98 | 71.56 | 24 | 75.2
2026-08-09T16:51:06.315-07:00 | [11 empty] | 2.0935 | 3.043 | 45.94 | 114.69 | 22.6 | 72.69 | 24.5 | 76.1
2026-08-09T16:51:08.334-07:00 | [11 empty] | 2.1954 | 3.0328 | 46.46 | 115.63 | 22.29 | 72.12 | 24.4 | 75.92
2026-08-09T16:51:10.129-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:51:10.354-07:00 | [11 empty] | 2.2977 | 3.0277 | 46.46 | 115.63 | 22.71 | 72.88 | 24.4 | 75.92
2026-08-09T16:51:12.372-07:00 | [11 empty] | 2.3996 | 3.0328 | 46.56 | 115.81 | 22.81 | 73.06 | 24.3 | 75.74
2026-08-09T16:51:14.389-07:00 | [11 empty] | 2.5021 | 3.0277 | 46.88 | 116.38 | 22.71 | 72.88 | 24.2 | 75.56
2026-08-09T16:51:16.397-07:00 | [11 empty] | 2.604 | 3.0532 | 47.08 | 116.75 | 22.81 | 73.06 | 24.2 | 75.56
2026-08-09T16:51:18.405-07:00 | [11 empty] | 2.7055 | 3.043 | 47.08 | 116.75 | 22.92 | 73.25 | 24.3 | 75.74
2026-08-09T16:51:20.425-07:00 | [11 empty] | 2.8079 | 3.0481 | 47.4 | 117.31 | 23.23 | 73.81 | 24.3 | 75.74
2026-08-09T16:51:22.444-07:00 | [11 empty] | 2.9107 | 3.0481 | 47.4 | 117.31 | 23.33 | 74 | 24.4 | 75.92
2026-08-09T16:51:24.463-07:00 | [11 empty] | 3.0136 | 3.0532 | 47.5 | 117.5 | 23.12 | 73.62 | 24.1 | 75.38
2026-08-09T16:51:26.482-07:00 | [11 empty] | 3.1163 | 3.043 | 47.29 | 117.12 | 23.65 | 74.56 | 24.4 | 75.92
2026-08-09T16:51:28.501-07:00 | [11 empty] | 3.2186 | 3.0277 | 47.81 | 118.06 | 23.54 | 74.38 | 24.3 | 75.74
2026-08-09T16:51:30.520-07:00 | [11 empty] | 3.3206 | 3.0175 | 47.81 | 118.06 | 23.85 | 74.94 | 24.1 | 75.38
2026-08-09T16:51:32.539-07:00 | [11 empty] | 3.4233 | 3.0532 | 47.71 | 117.88 | 23.96 | 75.12 | 24 | 75.2
2026-08-09T16:51:34.558-07:00 | [11 empty] | 3.5261 | 3.0583 | 47.92 | 118.25 | 23.85 | 74.94 | 24.5 | 76.1
2026-08-09T16:51:36.577-07:00 | [11 empty] | 3.629 | 3.0328 | 47.92 | 118.25 | 24.27 | 75.69 | 24.1 | 75.38
2026-08-09T16:51:38.596-07:00 | [11 empty] | 3.7323 | 3.0634 | 48.23 | 118.81 | 24.58 | 76.25 | 24.4 | 75.92
2026-08-09T16:51:40.615-07:00 | [11 empty] | 3.8354 | 3.0634 | 48.02 | 118.44 | 25 | 77 | 24.1 | 75.38
2026-08-09T16:51:42.634-07:00 | [11 empty] | 3.9381 | 3.0328 | 48.33 | 119 | 25.21 | 77.38 | 24.2 | 75.56
2026-08-09T16:51:44.653-07:00 | [11 empty] | 4.0409 | 3.0634 | 48.44 | 119.19 | 25.21 | 77.38 | 24.3 | 75.74
2026-08-09T16:51:46.672-07:00 | [11 empty] | 4.1439 | 3.0634 | 48.33 | 119 | 25.31 | 77.56 | 24.3 | 75.74
2026-08-09T16:51:48.691-07:00 | [11 empty] | 4.2463 | 3.0379 | 48.33 | 119 | 25.73 | 78.31 | 24 | 75.2
2026-08-09T16:51:50.710-07:00 | [11 empty] | 4.3486 | 3.0379 | 48.44 | 119.19 | 26.25 | 79.25 | 24.3 | 75.74
2026-08-09T16:51:52.729-07:00 | [11 empty] | 4.451 | 3.043 | 48.65 | 119.56 | 26.35 | 79.44 | 24.3 | 75.74
2026-08-09T16:51:54.748-07:00 | [11 empty] | 4.5536 | 3.0634 | 48.75 | 119.75 | 26.77 | 80.19 | 24.2 | 75.56
2026-08-09T16:51:56.767-07:00 | [11 empty] | 4.6562 | 3.0634 | 48.44 | 119.19 | 27.08 | 80.75 | 24.1 | 75.38
2026-08-09T16:51:58.789-07:00 | [11 empty] | 4.7595 | 3.0787 | 48.54 | 119.38 | 27.6 | 81.69 | 24.1 | 75.38
2026-08-09T16:52:00.809-07:00 | [11 empty] | 4.863 | 3.0839 | 48.44 | 119.19 | 27.6 | 81.69 | 24.2 | 75.56
2026-08-09T16:52:02.828-07:00 | [11 empty] | 4.9661 | 3.0685 | 48.44 | 119.19 | 27.6 | 81.69 | 24.4 | 75.92
2026-08-09T16:52:04.847-07:00 | [11 empty] | 5.0691 | 3.089 | 48.54 | 119.38 | 28.12 | 82.62 | 24.2 | 75.56
2026-08-09T16:52:06.866-07:00 | [11 empty] | 5.1724 | 3.0583 | 48.85 | 119.94 | 28.33 | 83 | 24.3 | 75.74
2026-08-09T16:52:08.885-07:00 | [11 empty] | 5.2778 | 3.0941 | 48.54 | 119.38 | 28.44 | 83.19 | 24 | 75.2
2026-08-09T16:52:09.783-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:52:10.904-07:00 | [11 empty] | 5.3825 | 3.14 | 48.75 | 119.75 | 28.96 | 84.12 | 24.3 | 75.74
2026-08-09T16:52:12.931-07:00 | [11 empty] | 5.4874 | 3.0839 | 48.85 | 119.94 | 29.17 | 84.5 | 24.3 | 75.74
2026-08-09T16:52:14.952-07:00 | [11 empty] | 5.5923 | 3.0992 | 48.96 | 120.12 | 29.38 | 84.88 | 24.1 | 75.38
2026-08-09T16:52:16.960-07:00 | [11 empty] | 5.6965 | 3.1145 | 48.85 | 119.94 | 29.27 | 84.69 | 24.5 | 76.1
2026-08-09T16:52:18.968-07:00 | [11 empty] | 5.8007 | 3.1043 | 48.75 | 119.75 | 29.58 | 85.25 | 24.1 | 75.38
2026-08-09T16:52:20.987-07:00 | [11 empty] | 5.9057 | 3.1094 | 48.85 | 119.94 | 29.79 | 85.62 | 24.1 | 75.38
2026-08-09T16:52:23.006-07:00 | [11 empty] | 6.0105 | 3.1196 | 49.06 | 120.31 | 29.79 | 85.62 | 24 | 75.2
2026-08-09T16:52:25.024-07:00 | [11 empty] | 6.1152 | 3.0941 | 49.17 | 120.5 | 30.31 | 86.56 | 24.3 | 75.74
2026-08-09T16:52:27.043-07:00 | [11 empty] | 6.2195 | 3.1043 | 49.06 | 120.31 | 29.79 | 85.62 | 23.8 | 74.84
2026-08-09T16:52:29.062-07:00 | [11 empty] | 6.3237 | 3.089 | 49.06 | 120.31 | 30.1 | 86.19 | 24.3 | 75.74
2026-08-09T16:52:31.081-07:00 | [11 empty] | 6.4282 | 3.1094 | 49.17 | 120.5 | 30.42 | 86.75 | 24.3 | 75.74
2026-08-09T16:52:33.100-07:00 | [11 empty] | 6.5331 | 3.1145 | 49.27 | 120.69 | 30.94 | 87.69 | 24.4 | 75.92
2026-08-09T16:52:35.119-07:00 | [11 empty] | 6.6379 | 3.1145 | 49.17 | 120.5 | 30.83 | 87.5 | 24.3 | 75.74
2026-08-09T16:52:37.138-07:00 | [11 empty] | 6.7429 | 3.1196 | 48.96 | 120.12 | 31.25 | 88.25 | 24.4 | 75.92
2026-08-09T16:52:39.157-07:00 | [11 empty] | 6.8479 | 3.1094 | 49.37 | 120.87 | 31.04 | 87.88 | 24.3 | 75.74
2026-08-09T16:52:41.176-07:00 | [11 empty] | 6.953 | 3.1349 | 49.27 | 120.69 | 31.15 | 88.06 | 24 | 75.2
2026-08-09T16:52:43.195-07:00 | [11 empty] | 7.0582 | 3.1298 | 49.27 | 120.69 | 31.46 | 88.63 | 24.2 | 75.56
2026-08-09T16:52:45.214-07:00 | [11 empty] | 7.1639 | 3.1604 | 49.37 | 120.87 | 31.25 | 88.25 | 24.1 | 75.38
2026-08-09T16:52:47.232-07:00 | [11 empty] | 7.2697 | 3.1604 | 49.17 | 120.5 | 31.67 | 89 | 24.1 | 75.38
2026-08-09T16:52:49.251-07:00 | [11 empty] | 7.3757 | 3.1553 | 48.96 | 120.12 | 31.35 | 88.44 | 24.5 | 76.1
2026-08-09T16:52:51.270-07:00 | [11 empty] | 7.4814 | 3.14 | 49.17 | 120.5 | 31.56 | 88.81 | 24.4 | 75.92
2026-08-09T16:52:53.289-07:00 | [11 empty] | 7.5863 | 3.1043 | 49.17 | 120.5 | 32.19 | 89.94 | 24.3 | 75.74
2026-08-09T16:52:55.308-07:00 | [11 empty] | 7.6916 | 3.1145 | 49.17 | 120.5 | 31.98 | 89.56 | 24.5 | 76.1
2026-08-09T16:52:57.326-07:00 | [11 empty] | 7.7964 | 3.1196 | 49.27 | 120.69 | 32.08 | 89.75 | 24.3 | 75.74
2026-08-09T16:52:59.346-07:00 | [11 empty] | 7.9014 | 3.14 | 49.27 | 120.69 | 32.19 | 89.94 | 24.3 | 75.74
2026-08-09T16:53:01.364-07:00 | [11 empty] | 8.0064 | 3.1298 | 49.37 | 120.87 | 32.5 | 90.5 | 24.2 | 75.56
2026-08-09T16:53:03.383-07:00 | [11 empty] | 8.1116 | 3.1247 | 49.06 | 120.31 | 32.29 | 90.12 | 24.1 | 75.38
2026-08-09T16:53:05.402-07:00 | [11 empty] | 8.2168 | 3.1349 | 49.37 | 120.87 | 32.29 | 90.12 | 24.4 | 75.92
2026-08-09T16:53:07.421-07:00 | [11 empty] | 8.3219 | 3.1145 | 49.48 | 121.06 | 32.92 | 91.25 | 24.1 | 75.38
2026-08-09T16:53:09.440-07:00 | [11 empty] | 8.4268 | 3.0992 | 49.27 | 120.69 | 33.23 | 91.81 | 24.3 | 75.74
2026-08-09T16:53:10.444-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:53:11.459-07:00 | [11 empty] | 8.5318 | 3.1196 | 49.17 | 120.5 | 32.81 | 91.06 | 24.2 | 75.56
2026-08-09T16:53:13.478-07:00 | [11 empty] | 8.6372 | 3.1247 | 49.37 | 120.87 | 33.33 | 92 | 24.2 | 75.56
2026-08-09T16:53:15.489-07:00 | [11 empty] | 8.7418 | 3.1145 | 49.48 | 121.06 | 33.33 | 92 | 24.4 | 75.92
2026-08-09T16:53:17.497-07:00 | [11 empty] | 8.846 | 3.1043 | 49.58 | 121.25 | 33.54 | 92.38 | 24.3 | 75.74
2026-08-09T16:53:19.507-07:00 | [11 empty] | 8.9508 | 3.14 | 49.27 | 120.69 | 33.96 | 93.13 | 24.2 | 75.56
2026-08-09T16:53:20.522-07:00 | [11 empty] | 9.0034 | 3.1247 | 49.27 | 120.69 | 33.65 | 92.56 | 24.3 | 75.74
2026-08-09T16:53:20.681-07:00 |  |  | water_draw_completed | water_draw_3 | ok
2026-08-09T16:54:10.098-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:55:09.735-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:56:10.381-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:57:10.019-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:58:09.656-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:59:10.302-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:59:39.358-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:59:39.586-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:00:10.131-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:01:09.754-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:02:10.383-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:03:10.021-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:04:09.674-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:05:10.304-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:06:09.957-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:07:09.595-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:08:10.224-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:09:09.878-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:10:09.516-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:11:10.161-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:12:09.799-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:13:05.303-07:00 | [5 empty] | 120.302 | 0.176 | 20.826 | 25.454 | 33.552 | 0.62
2026-08-09T17:13:09.873-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:13:10.149-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:13:10.333-07:00 | [5 empty] | 120.322 | 0.29 | 30.082 | 37.023 | 48.593 | 0.643
2026-08-09T17:13:10.748-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:13:28.424-07:00 | [5 empty] | 120.292 | 0.188 | 20.826 | 28.925 | 35.866 | 0.58
2026-08-09T17:14:10.386-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:15:10.008-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:16:09.645-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:17:10.291-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:17:23.723-07:00 | [5 empty] | 120.283 | 0 | 0 | 8.099 | 9.256 | 0.125
2026-08-09T17:18:09.929-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:19:09.566-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:20:10.212-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:21:09.849-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:22:09.487-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:23:10.133-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:24:09.770-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:25:10.416-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:26:10.053-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:26:39.109-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:26:39.337-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:27:09.883-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:28:09.537-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:29:10.182-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:30:09.820-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:31:10.466-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:32:10.103-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:33:09.741-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:34:10.387-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:35:10.024-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:36:09.662-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:37:10.308-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:38:09.961-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:39:09.599-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:40:05.263-07:00 | [5 empty] | 119.854 | 0.203 | 23.14 | 27.768 | 37.023 | 0.625
2026-08-09T17:40:09.670-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:40:09.949-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:40:10.293-07:00 | [5 empty] | 119.864 | 0.31 | 32.396 | 38.18 | 50.907 | 0.658
2026-08-09T17:40:10.549-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:40:42.481-07:00 | [5 empty] | 120 | 0.205 | 23.14 | 27.768 | 37.023 | 0.625
2026-08-09T17:41:10.202-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:42:09.840-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:43:09.478-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:43:32.417-07:00 | [5 empty] | 120.029 | 0.303 | 30.082 | 38.18 | 49.75 | 0.627
2026-08-09T17:43:47.505-07:00 | [5 empty] | 120.01 | 0.197 | 20.826 | 27.768 | 35.866 | 0.612
2026-08-09T17:44:10.123-07:00 | 2 | Running Curtailed | operational_state | query_operational_state | received
2026-08-09T17:44:23.698-07:00 | [5 empty] | 120.039 | 0 | 2.314 | 8.099 | 9.256 | 0.25
2026-08-09T17:45:09.761-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:46:10.406-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:47:10.044-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:48:09.682-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:49:10.327-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:50:09.397-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:50:09.670-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:50:10.253-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:50:24.301-07:00 |  |  | command_sent | load_up | pending
2026-08-09T17:50:24.515-07:00 |  |  | command_completed | load_up | ok
2026-08-09T17:50:48.859-07:00 | [5 empty] | 120.117 | 0.181 | 20.826 | 24.297 | 33.552 | 0.654
2026-08-09T17:50:51.878-07:00 | [5 empty] | 120.068 | 0.299 | 32.396 | 35.866 | 49.75 | 0.674
2026-08-09T17:51:10.099-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:51:27.064-07:00 | [5 empty] | 119.825 | 1.975 | 263.792 | 70.576 | 274.205 | 0.966
2026-08-09T17:51:28.071-07:00 | [5 empty] | 119.834 | 2.116 | 282.304 | 76.361 | 292.717 | 0.964
2026-08-09T17:51:29.078-07:00 | [5 empty] | 119.854 | 2.319 | 307.757 | 79.832 | 319.327 | 0.967
2026-08-09T17:51:30.084-07:00 | [5 empty] | 119.815 | 2.449 | 328.583 | 72.89 | 336.682 | 0.976
2026-08-09T17:51:32.096-07:00 | [5 empty] | 119.815 | 2.567 | 342.467 | 84.46 | 352.88 | 0.97
2026-08-09T17:51:39.139-07:00 | [5 empty] | 119.951 | 2.678 | 358.665 | 80.989 | 367.921 | 0.975
2026-08-09T17:51:45.175-07:00 | [5 empty] | 119.864 | 2.803 | 374.862 | 77.518 | 382.961 | 0.976
2026-08-09T17:51:52.216-07:00 | [5 empty] | 119.903 | 2.915 | 386.432 | 99.501 | 400.316 | 0.968
2026-08-09T17:52:09.736-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:52:57.578-07:00 | [5 empty] | 119.795 | 3.109 | 411.886 | 102.971 | 425.77 | 0.97
2026-08-09T17:53:10.382-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:53:39.435-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:53:39.665-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:54:10.212-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:54:27.065-07:00 | [5 empty] | 119.688 | 3.257 | 432.712 | 100.657 | 445.438 | 0.974
2026-08-09T17:55:09.849-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:55:26.393-07:00 | [5 empty] | 119.912 | 3.366 | 446.595 | 106.442 | 460.479 | 0.972
2026-08-09T17:55:28.405-07:00 | [5 empty] | 119.961 | 3.259 | 435.026 | 94.873 | 446.595 | 0.977
2026-08-09T17:56:09.503-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:56:23.711-07:00 | [5 empty] | 119.678 | 3.366 | 446.595 | 101.814 | 459.322 | 0.975
2026-08-09T17:57:10.149-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:57:41.145-07:00 | [5 empty] | 119.727 | 3.301 | 439.653 | 96.03 | 451.223 | 0.977
2026-08-09T17:58:04.280-07:00 | [5 empty] | 119.727 | 3.411 | 453.537 | 97.187 | 461.636 | 0.979
2026-08-09T17:58:09.786-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:59:10.416-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:00:10.054-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:01:09.675-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:02:10.337-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:03:09.990-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:04:09.628-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:05:10.274-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:06:09.911-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:07:09.549-07:00 | 5 | SGD Error Condition | operational_state | query_operational_state | received
2026-08-09T18:07:10.591-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:07:10.789-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:08:10.371-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:09:10.009-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:10:09.646-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:11:10.292-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:12:09.929-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:13:09.567-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:14:10.213-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:15:09.850-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:16:09.488-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:17:10.133-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:18:09.771-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:19:10.417-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:20:10.054-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:20:39.107-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:20:39.337-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:21:09.900-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:22:09.554-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:23:10.199-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:24:09.837-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:25:09.475-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:26:10.120-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:27:09.758-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:28:10.403-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:29:10.041-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:30:09.679-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:31:10.324-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:32:09.962-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:33:09.616-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:34:09.680-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:34:09.966-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:34:10.565-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:35:10.203-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:36:09.856-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:37:09.494-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:38:10.139-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:39:09.777-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:40:10.422-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:41:10.060-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:42:09.698-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:43:10.343-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:44:09.981-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:45:09.618-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:46:10.264-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:47:09.902-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:47:39.954-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:47:40.193-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:48:09.747-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:49:10.393-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:50:09.454-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:50:09.735-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:50:10.318-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:50:24.363-07:00 |  |  | command_sent | run_normal | pending
2026-08-09T18:50:24.580-07:00 |  |  | command_completed | run_normal | ok
2026-08-09T18:51:10.164-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:52:09.802-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:53:10.447-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:54:10.085-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:55:09.722-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:56:10.368-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:57:10.006-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:58:09.643-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:59:10.289-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:00:09.926-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:01:09.564-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:01:10.605-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T19:01:10.804-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T19:02:10.418-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:03:10.055-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:04:09.709-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:05:10.258-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:06:09.896-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:07:09.550-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:08:10.195-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:09:09.833-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:10:10.478-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:10:24.193-07:00 |  |  | command_sent | run_normal | pending
2026-08-09T19:10:24.437-07:00 |  |  | command_completed | run_normal | ok
2026-08-09T19:10:26.587-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:10:26.728-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-09 13:10:08 | 1 | 129 | 0 | success | 48 | 4200 | B | true | 0x0118 | 0x0003 | Water Heater - Heat Pump | 0506 | 000001C0 | HPTV-50 | true | 136865*** | true

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes
TRUE | load_up_1 | 00:00:00 | pre_event | cta | load_up | unknown |  |  | 3¦6
TRUE | grid_emergency_1 | 01:30:00 | event | cta | grid_emergency | unknown |  |  | 2¦4
TRUE | water_draw_1 | 02:00:00 | recovery | water_draw | water_draw |  |  |  |  | 15 | 3
TRUE | water_draw_2 | 02:30:00 | event | water_draw | water_draw |  |  |  |  | 2 | 3
TRUE | water_draw_3 | 03:40:00 | event | water_draw | water_draw |  |  |  |  | 9 | 3
TRUE | load_up_2 | 04:40:00 | recovery | cta | load_up | unknown |  |  | 3¦6
TRUE | run_normal_1 | 05:40:00 | recovery | cta | run_normal | unknown |  |  | 0¦1
TRUE | test_end | 06:00:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 365547
cumulative_electricity_end_Wh | 366405
cumulative_electricity_change_Wh | 858
total_energy_storage_Wh | 2202
present_energy_storage_start_Wh | 270
present_energy_storage_end_Wh | 210
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 1566
advanced_total_energy_storage_Wh | 2412
advanced_present_energy_storage_start_Wh | 480
advanced_present_energy_storage_end_Wh | 420
advanced_present_energy_storage_minimum_Wh | 0
advanced_present_energy_storage_maximum_Wh | 1782