## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-11T00:12:29.868-07:00 | [5 empty] | 241.858 | 0 | 2.053 | 9.237 | 10.264 | -0.1
2026-08-11T00:12:29.957-07:00 |  |  | controller_started | controller | started
2026-08-11T00:12:29.962-07:00 |  |  | serial_open | serial_port | ok
2026-08-11T00:12:29.963-07:00 |  |  | communication_started | cta2045 | started
2026-08-11T00:12:30.319-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:12:30.644-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:12:31.301-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:12:45.358-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:12:45.598-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:13:00.029-07:00 | [5 empty] | 241.727 | 0.147 | 26.685 | 40.028 | 49.265 | 0.562
2026-08-11T00:13:00.813-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:13:02.040-07:00 | [5 empty] | 241.884 | 0 | 24.633 | 30.791 | 40.028 | 0.615
2026-08-11T00:13:08.076-07:00 | [5 empty] | 241.709 | 0.148 | 28.738 | 39.002 | 49.265 | 0.583
2026-08-11T00:13:09.083-07:00 | [5 empty] | 241.727 | 0 | 16.422 | 25.659 | 31.817 | 0.548
2026-08-11T00:13:31.468-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:14:00.751-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:14:24.507-07:00 | [5 empty] | 241.683 | 0.832 | 195.008 | 86.214 | 213.483 | 0.913
2026-08-11T00:14:25.514-07:00 | [5 empty] | 241.631 | 1.048 | 254.537 | 83.135 | 267.88 | 0.949
2026-08-11T00:14:26.520-07:00 | [5 empty] | 241.858 | 1.2 | 295.591 | 73.898 | 304.828 | 0.969
2026-08-11T00:14:27.527-07:00 | [5 empty] | 241.893 | 1.309 | 326.382 | 63.634 | 333.566 | 0.981
2026-08-11T00:14:29.539-07:00 | [5 empty] | 241.604 | 1.592 | 396.174 | 49.265 | 399.253 | 0.992
2026-08-11T00:14:30.546-07:00 | [5 empty] | 241.788 | 1.83 | 470.072 | 43.107 | 472.125 | 0.995
2026-08-11T00:14:30.832-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:14:31.076-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:14:31.553-07:00 | [5 empty] | 241.578 | 1.695 | 422.86 | 41.054 | 424.912 | 0.995
2026-08-11T00:14:31.738-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:14:45.797-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:14:46.033-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:14:48.653-07:00 | [5 empty] | 241.736 | 0 | 8.211 | 20.527 | 22.58 | 0.363
2026-08-11T00:15:01.247-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:15:30.327-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:15:30.576-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:15:31.238-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:15:45.296-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:15:45.539-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:16:00.754-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:16:31.414-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:16:55.391-07:00 | [5 empty] | 241.858 | 0.181 | 18.474 | 34.896 | 40.028 | 0.461
2026-08-11T00:16:56.397-07:00 | [5 empty] | 241.814 | 0 | 18.474 | 32.843 | 37.975 | 0.486
2026-08-11T00:16:57.404-07:00 | [5 empty] | 241.858 | 0.152 | 26.685 | 41.054 | 50.292 | 0.551
2026-08-11T00:16:58.411-07:00 | [5 empty] | 242.086 | 0 | 22.58 | 39.002 | 45.16 | 0.5
2026-08-11T00:17:00.699-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:17:30.773-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:17:31.024-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:17:31.684-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:17:45.742-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:17:45.980-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:18:01.196-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:18:31.853-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:19:01.137-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:19:30.208-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:19:30.460-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:19:31.120-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:19:45.176-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:19:45.419-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:20:00.634-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:20:31.291-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:21:00.573-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:21:30.644-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:21:30.896-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:21:31.556-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:21:45.612-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:21:45.853-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:22:01.068-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:22:31.730-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:23:01.014-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:23:30.083-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:23:30.334-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:23:30.996-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:23:45.052-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:23:45.295-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:24:00.767-07:00 | [5 empty] | 241.832 | 0.154 | 24.633 | 43.107 | 50.292 | 0.51
2026-08-11T00:24:01.514-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:24:01.773-07:00 | [5 empty] | 242.016 | 0 | 16.422 | 28.738 | 33.87 | 0.484
2026-08-11T00:24:31.165-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:25:01.448-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:25:30.517-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:25:30.770-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:25:31.430-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:25:45.485-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:25:45.724-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:26:00.741-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:26:00.980-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:26:01.266-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:26:30.926-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:27:01.212-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:27:30.280-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:27:30.533-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:27:31.195-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:27:45.249-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:27:45.494-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:28:00.709-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:28:31.367-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:29:00.650-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:29:30.717-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:29:30.974-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:29:31.636-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:29:45.691-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:29:45.933-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:30:01.147-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:30:31.803-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:31:01.090-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:31:30.154-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:31:30.412-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:31:31.073-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:31:45.126-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:31:45.373-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:31:59.435-07:00 | [5 empty] | 242.182 | 0.172 | 32.843 | 43.107 | 45.16 | 0.545
2026-08-11T00:32:00.590-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:32:01.447-07:00 | [5 empty] | 242.173 | 0 | 20.527 | 29.764 | 36.949 | 0.555
2026-08-11T00:32:02.454-07:00 | [5 empty] | 242.217 | 0.157 | 26.685 | 41.054 | 49.265 | 0.541
2026-08-11T00:32:03.460-07:00 | [5 empty] | 242.296 | 0 | 24.633 | 29.764 | 39.002 | 0.631
2026-08-11T00:32:31.253-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:33:00.535-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:33:24.917-07:00 | [5 empty] | 242.454 | 1.22 | 299.697 | 74.924 | 309.96 | 0.97
2026-08-11T00:33:27.935-07:00 | [5 empty] | 242.375 | 1.332 | 330.487 | 63.634 | 337.672 | 0.981
2026-08-11T00:33:28.941-07:00 | [5 empty] | 242.287 | 1.429 | 375.647 | 47.212 | 378.726 | 0.991
2026-08-11T00:33:29.948-07:00 | [5 empty] | 242.208 | 1.579 | 394.122 | 40.028 | 397.201 | 0.994
2026-08-11T00:33:30.600-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:33:30.859-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:33:31.521-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-11T00:33:31.961-07:00 | [5 empty] | 242.235 | 1.47 | 367.436 | 47.212 | 370.515 | 0.991
2026-08-11T00:33:40.009-07:00 | [5 empty] | 242.165 | 1.577 | 394.122 | 49.265 | 397.201 | 0.992
2026-08-11T00:33:45.574-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:33:45.817-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:33:49.062-07:00 | [5 empty] | 242.27 | 0 | 18.474 | 32.843 | 39.002 | 0.5
2026-08-11T00:34:01.033-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:34:31.693-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:35:00.975-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:35:30.040-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:35:30.296-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:35:31.960-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:35:45.012-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:35:45.258-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:36:01.476-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:36:31.136-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:37:01.423-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:37:30.484-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:37:30.745-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:37:31.407-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:37:45.459-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:37:45.703-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:38:00.919-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:38:31.577-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:39:00.863-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:39:30.925-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:39:31.190-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:39:31.853-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:39:45.903-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:39:46.152-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:40:01.366-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:40:31.021-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:41:01.304-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:41:30.363-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:41:30.625-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:41:31.285-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:41:45.335-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:41:45.580-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:42:00.797-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:42:31.458-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:43:00.740-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:43:30.799-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:43:31.061-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:43:31.723-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:43:45.772-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:43:46.020-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:44:01.234-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:44:31.891-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:45:01.170-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:45:30.227-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:45:30.492-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:45:31.155-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:45:45.204-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:45:45.450-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:46:00.668-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:46:31.326-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:47:00.610-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:47:30.666-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:47:30.933-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:47:31.596-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:47:45.644-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:47:45.895-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:48:01.111-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:48:31.767-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:49:01.051-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:49:30.105-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:49:30.371-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:49:31.031-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:49:45.079-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:49:45.326-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:50:00.542-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:50:31.199-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:51:01.484-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:51:30.539-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:51:30.810-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:51:31.472-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:51:45.519-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:51:45.772-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:52:00.987-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:52:31.646-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:53:00.699-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:53:00.968-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:53:01.255-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:53:30.306-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:53:30.576-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:53:31.238-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:53:45.284-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:53:45.534-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:54:00.748-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:54:31.405-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:55:00.689-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:55:30.740-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T00:55:31.012-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T00:55:31.674-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:55:45.720-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T00:55:45.975-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T00:56:01.191-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:56:31.854-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:57:01.139-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:57:31.796-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:57:45.118-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T00:57:45.390-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T00:57:47.580-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T00:57:47.721-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-11 00:12:30 | 1 | 129 | 0 | success | 53 | 4200 | B | true | 0x0150 | 0x0003 | Water Heater - Heat Pump | 0000 | 000001C0 |  | false |  | false | 21 | 11 | 18 | 2021-12-18 | 5 | 14

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | 60 | 100 | 100_wh | 3¦6 |  |  |  | 0
TRUE | run_normal_1 | 00:02:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_2 | 00:03:00 | event | cta | advanced_load_up | 100 | 100 | 100_wh | 3¦6 |  |  |  | 1
TRUE | run_normal_2 | 00:05:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_3 | 00:07:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 2
TRUE | run_normal_3 | 00:09:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_4 | 00:11:00 | event | cta | advanced_load_up | 20 | 100 | 100_wh | 3¦6 |  |  |  | 3
TRUE | run_normal_4 | 00:13:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_5 | 00:15:00 | event | cta | advanced_load_up | unknown | 100 | 1000_wh | 3¦6 |  |  |  | 4
TRUE | run_normal_5 | 00:17:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_6 | 00:19:00 | event | cta | advanced_load_up | 100 | 100 | 10_wh | 3¦6 |  |  |  | 5
TRUE | run_normal_6 | 00:21:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_7 | 00:23:00 | event | cta | advanced_load_up | unknown | 500 | 1_wh | 3¦6 |  |  |  | 6
TRUE | run_normal_7 | 00:25:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_8 | 00:27:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 7
TRUE | run_normal_8 | 00:29:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_9 | 00:31:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 8
TRUE | run_normal_9 | 00:33:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_10 | 00:35:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 9
TRUE | run_normal_10 | 00:37:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_11 | 00:39:00 | event | cta | advanced_load_up | unknown | 100 | 100_wh | 3¦6 |  |  |  | 10
TRUE | run_normal_11 | 00:41:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_12 | 00:43:00 | event | cta | advanced_load_up | unknown | 60 | 100_wh | 3¦6
TRUE | test_end | 0:45:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 127000
cumulative_electricity_end_Wh | 127000
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 9190
present_energy_storage_start_Wh | 0
present_energy_storage_end_Wh | 0
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 0
advanced_total_energy_storage_Wh | 12371
advanced_present_energy_storage_start_Wh | 3115
advanced_present_energy_storage_end_Wh | 3159
advanced_present_energy_storage_minimum_Wh | 3115
advanced_present_energy_storage_maximum_Wh | 3181