## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-09T19:58:07.234-07:00 | [5 empty] | 241.398 | 0 | 0.669 | 12.72 | 13.055 | 0.051
2026-08-09T19:58:07.321-07:00 |  |  | controller_started | controller | started
2026-08-09T19:58:07.325-07:00 |  |  | serial_open | serial_port | ok
2026-08-09T19:58:07.326-07:00 |  |  | communication_started | cta2045 | started
2026-08-09T19:58:08.212-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-09T19:58:09.252-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T19:58:09.452-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T19:58:23.458-07:00 |  |  | command_sent | load_up | pending
2026-08-09T19:58:23.674-07:00 |  |  | command_completed | load_up | ok
2026-08-09T19:58:37.855-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T19:59:08.425-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T19:59:38.676-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:00:08.239-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:00:38.490-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:01:09.076-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:01:38.319-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:02:08.874-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:02:38.117-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:03:08.671-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:03:23.198-07:00 |  |  | water_draw_started | water_draw_1 | started
2026-08-09T20:03:24.173-07:00 | [11 empty] | 0.014782 | 3.5534 | 22.92 | 73.25 | 21.04 | 69.87 | 24.6 | 76.28
2026-08-09T20:03:26.181-07:00 | [11 empty] | 0.16138 | 3.4411 | 24.37 | 75.87 | 21.67 | 71 | 24.9 | 76.82
2026-08-09T20:03:28.189-07:00 | [11 empty] | 0.2713 | 3.2115 | 27.29 | 81.12 | 21.46 | 70.62 | 24.9 | 76.82
2026-08-09T20:03:30.210-07:00 | [11 empty] | 0.37872 | 3.14 | 29.79 | 85.62 | 21.67 | 71 | 24.5 | 76.1
2026-08-09T20:03:32.231-07:00 | [11 empty] | 0.48357 | 3.089 | 32.6 | 90.69 | 21.88 | 71.38 | 24.4 | 75.92
2026-08-09T20:03:34.251-07:00 | [11 empty] | 0.58677 | 3.0379 | 34.48 | 94.06 | 21.77 | 71.19 | 24.5 | 76.1
2026-08-09T20:03:36.272-07:00 | [11 empty] | 0.68916 | 3.0175 | 36.67 | 98 | 22.19 | 71.94 | 24.2 | 75.56
2026-08-09T20:03:37.914-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:03:38.292-07:00 | [11 empty] | 0.79117 | 3.0379 | 38.13 | 100.63 | 21.98 | 71.56 | 24.3 | 75.74
2026-08-09T20:03:40.313-07:00 | [11 empty] | 0.89296 | 2.9971 | 39.27 | 102.69 | 22.08 | 71.75 | 24.6 | 76.28
2026-08-09T20:03:42.333-07:00 | [11 empty] | 0.99423 | 3.0175 | 40.52 | 104.94 | 22.08 | 71.75 | 24.4 | 75.92
2026-08-09T20:03:44.354-07:00 | [11 empty] | 1.0955 | 3.0022 | 42.19 | 107.94 | 22.4 | 72.31 | 24.8 | 76.64
2026-08-09T20:03:46.362-07:00 | [11 empty] | 1.1963 | 3.0175 | 42.71 | 108.88 | 22.92 | 73.25 | 24.3 | 75.74
2026-08-09T20:03:48.370-07:00 | [11 empty] | 1.2971 | 2.992 | 43.65 | 110.56 | 22.71 | 72.88 | 24.3 | 75.74
2026-08-09T20:03:50.389-07:00 | [11 empty] | 1.3975 | 2.9971 | 44.27 | 111.69 | 22.81 | 73.06 | 24.7 | 76.46
2026-08-09T20:03:52.410-07:00 | [11 empty] | 1.4994 | 3.0022 | 45.21 | 113.38 | 22.71 | 72.88 | 24.9 | 76.82
2026-08-09T20:03:54.431-07:00 | [11 empty] | 1.6003 | 2.9665 | 45.73 | 114.31 | 23.02 | 73.44 | 24.5 | 76.1
2026-08-09T20:03:56.451-07:00 | [11 empty] | 1.7004 | 2.946 | 46.46 | 115.63 | 23.12 | 73.62 | 25 | 77
2026-08-09T20:03:58.472-07:00 | [11 empty] | 1.8001 | 2.9767 | 47.08 | 116.75 | 22.81 | 73.06 | 24.5 | 76.1
2026-08-09T20:04:00.492-07:00 | [11 empty] | 1.9006 | 3.0124 | 47.5 | 117.5 | 22.92 | 73.25 | 24.7 | 76.46
2026-08-09T20:04:02.513-07:00 | [11 empty] | 2.0024 | 3.0481 | 48.12 | 118.62 | 22.6 | 72.69 | 24.6 | 76.28
2026-08-09T20:04:04.533-07:00 | [11 empty] | 2.104 | 3.0124 | 48.33 | 119 | 23.12 | 73.62 | 24.5 | 76.1
2026-08-09T20:04:06.554-07:00 | [11 empty] | 2.2057 | 3.0022 | 48.33 | 119 | 23.23 | 73.81 | 24.4 | 75.92
2026-08-09T20:04:08.469-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:04:08.574-07:00 | [11 empty] | 2.308 | 3.0481 | 48.85 | 119.94 | 23.12 | 73.62 | 24 | 75.2
2026-08-09T20:04:10.595-07:00 | [11 empty] | 2.4106 | 3.0328 | 48.96 | 120.12 | 23.33 | 74 | 24.5 | 76.1
2026-08-09T20:04:12.615-07:00 | [11 empty] | 2.5133 | 3.0379 | 48.96 | 120.12 | 23.33 | 74 | 24.3 | 75.74
2026-08-09T20:04:14.636-07:00 | [11 empty] | 2.6165 | 3.0532 | 49.48 | 121.06 | 23.44 | 74.19 | 24.5 | 76.1
2026-08-09T20:04:16.657-07:00 | [11 empty] | 2.719 | 3.043 | 50 | 122 | 23.33 | 74 | 24.4 | 75.92
2026-08-09T20:04:18.677-07:00 | [11 empty] | 2.8216 | 3.0532 | 50.1 | 122.19 | 22.81 | 73.06 | 24.5 | 76.1
2026-08-09T20:04:20.697-07:00 | [11 empty] | 2.925 | 3.0736 | 50.1 | 122.19 | 23.33 | 74 | 24.2 | 75.56
2026-08-09T20:04:22.718-07:00 | [11 empty] | 3.028 | 3.0685 | 50.31 | 122.56 | 23.65 | 74.56 | 24.3 | 75.74
2026-08-09T20:04:24.738-07:00 | [11 empty] | 3.1311 | 3.0839 | 50.1 | 122.19 | 23.33 | 74 | 24.4 | 75.92
2026-08-09T20:04:26.759-07:00 | [11 empty] | 3.2346 | 3.0685 | 50.63 | 123.13 | 23.33 | 74 | 24.2 | 75.56
2026-08-09T20:04:28.779-07:00 | [11 empty] | 3.3376 | 3.0532 | 50.52 | 122.94 | 23.65 | 74.56 | 24.6 | 76.28
2026-08-09T20:04:30.800-07:00 | [11 empty] | 3.4411 | 3.0787 | 50.94 | 123.69 | 23.44 | 74.19 | 24.1 | 75.38
2026-08-09T20:04:32.820-07:00 | [11 empty] | 3.5442 | 3.0583 | 50.94 | 123.69 | 23.44 | 74.19 | 24.8 | 76.64
2026-08-09T20:04:34.840-07:00 | [11 empty] | 3.6473 | 3.0787 | 50.73 | 123.31 | 23.75 | 74.75 | 24.8 | 76.64
2026-08-09T20:04:36.861-07:00 | [11 empty] | 3.7512 | 3.0787 | 51.04 | 123.88 | 23.65 | 74.56 | 24 | 75.2
2026-08-09T20:04:38.720-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:04:38.882-07:00 | [11 empty] | 3.8554 | 3.0992 | 50.94 | 123.69 | 23.75 | 74.75 | 24.7 | 76.46
2026-08-09T20:04:40.903-07:00 | [11 empty] | 3.9593 | 3.0787 | 51.04 | 123.88 | 23.54 | 74.38 | 24 | 75.2
2026-08-09T20:04:42.925-07:00 | [11 empty] | 4.0632 | 3.0685 | 51.04 | 123.88 | 24.06 | 75.31 | 24.7 | 76.46
2026-08-09T20:04:44.943-07:00 | [11 empty] | 4.1673 | 3.0839 | 51.15 | 124.06 | 24.27 | 75.69 | 24.7 | 76.46
2026-08-09T20:04:46.950-07:00 | [11 empty] | 4.2701 | 3.0583 | 51.15 | 124.06 | 24.27 | 75.69 | 24.7 | 76.46
2026-08-09T20:04:48.959-07:00 | [11 empty] | 4.3733 | 3.0736 | 51.35 | 124.44 | 23.75 | 74.75 | 24.5 | 76.1
2026-08-09T20:04:50.976-07:00 | [11 empty] | 4.4766 | 3.0685 | 51.77 | 125.19 | 23.65 | 74.56 | 24.3 | 75.74
2026-08-09T20:04:52.997-07:00 | [11 empty] | 4.5804 | 3.089 | 51.46 | 124.62 | 24.37 | 75.87 | 24.5 | 76.1
2026-08-09T20:04:55.018-07:00 | [11 empty] | 4.6846 | 3.0992 | 51.46 | 124.62 | 24.27 | 75.69 | 24.7 | 76.46
2026-08-09T20:04:57.038-07:00 | [11 empty] | 4.7881 | 3.0941 | 51.46 | 124.62 | 24.27 | 75.69 | 24.3 | 75.74
2026-08-09T20:04:59.059-07:00 | [11 empty] | 4.8916 | 3.0736 | 51.67 | 125 | 24.27 | 75.69 | 24.3 | 75.74
2026-08-09T20:05:01.078-07:00 | [11 empty] | 4.9954 | 3.089 | 51.46 | 124.62 | 24.37 | 75.87 | 24.3 | 75.74
2026-08-09T20:05:03.099-07:00 | [11 empty] | 5.0997 | 3.1094 | 51.46 | 124.62 | 24.48 | 76.06 | 24.2 | 75.56
2026-08-09T20:05:05.119-07:00 | [11 empty] | 5.2042 | 3.0941 | 51.87 | 125.37 | 24.58 | 76.25 | 24.3 | 75.74
2026-08-09T20:05:07.140-07:00 | [11 empty] | 5.3089 | 3.1043 | 51.25 | 124.25 | 24.37 | 75.87 | 24.8 | 76.64
2026-08-09T20:05:08.283-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:05:09.161-07:00 | [11 empty] | 5.4134 | 3.089 | 51.77 | 125.19 | 25.21 | 77.38 | 24.1 | 75.38
2026-08-09T20:05:11.181-07:00 | [11 empty] | 5.5173 | 3.0941 | 51.87 | 125.37 | 24.79 | 76.63 | 24.3 | 75.74
2026-08-09T20:05:13.201-07:00 | [11 empty] | 5.6212 | 3.0839 | 51.77 | 125.19 | 25.1 | 77.19 | 24.8 | 76.64
2026-08-09T20:05:15.222-07:00 | [11 empty] | 5.7255 | 3.1247 | 51.87 | 125.37 | 25 | 77 | 24.1 | 75.38
2026-08-09T20:05:17.242-07:00 | [11 empty] | 5.8303 | 3.1094 | 51.87 | 125.37 | 25 | 77 | 24.5 | 76.1
2026-08-09T20:05:19.263-07:00 | [11 empty] | 5.9348 | 3.0992 | 51.77 | 125.19 | 25.1 | 77.19 | 24.3 | 75.74
2026-08-09T20:05:21.283-07:00 | [11 empty] | 6.0395 | 3.1196 | 51.87 | 125.37 | 25.21 | 77.38 | 24.4 | 75.92
2026-08-09T20:05:23.304-07:00 | [11 empty] | 6.1444 | 3.1145 | 51.87 | 125.37 | 25.52 | 77.94 | 24.5 | 76.1
2026-08-09T20:05:25.324-07:00 | [11 empty] | 6.2487 | 3.089 | 51.46 | 124.62 | 25.42 | 77.75 | 24.1 | 75.38
2026-08-09T20:05:27.345-07:00 | [11 empty] | 6.3532 | 3.1094 | 51.98 | 125.56 | 24.9 | 76.81 | 24.4 | 75.92
2026-08-09T20:05:29.365-07:00 | [11 empty] | 6.4573 | 3.089 | 51.67 | 125 | 25.42 | 77.75 | 24.8 | 76.64
2026-08-09T20:05:31.386-07:00 | [11 empty] | 6.5619 | 3.1145 | 51.87 | 125.37 | 25.21 | 77.38 | 24.8 | 76.64
2026-08-09T20:05:33.406-07:00 | [11 empty] | 6.6666 | 3.1247 | 51.56 | 124.81 | 25.63 | 78.13 | 24.3 | 75.74
2026-08-09T20:05:35.427-07:00 | [11 empty] | 6.7711 | 3.0992 | 51.77 | 125.19 | 25.42 | 77.75 | 24.4 | 75.92
2026-08-09T20:05:37.447-07:00 | [11 empty] | 6.8763 | 3.1196 | 51.77 | 125.19 | 25.63 | 78.13 | 24.2 | 75.56
2026-08-09T20:05:38.533-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:05:39.468-07:00 | [11 empty] | 6.9819 | 3.1145 | 52.19 | 125.94 | 25.52 | 77.94 | 24.7 | 76.46
2026-08-09T20:05:41.489-07:00 | [11 empty] | 7.0866 | 3.1043 | 51.87 | 125.37 | 25.94 | 78.69 | 24.7 | 76.46
2026-08-09T20:05:43.509-07:00 | [11 empty] | 7.1911 | 3.0992 | 51.46 | 124.62 | 25.83 | 78.5 | 24.8 | 76.64
2026-08-09T20:05:45.524-07:00 | [11 empty] | 7.2953 | 3.0941 | 51.87 | 125.37 | 25.42 | 77.75 | 25 | 77
2026-08-09T20:05:47.532-07:00 | [11 empty] | 7.399 | 3.1043 | 51.87 | 125.37 | 25.94 | 78.69 | 24.5 | 76.1
2026-08-09T20:05:49.541-07:00 | [11 empty] | 7.503 | 3.1145 | 52.19 | 125.94 | 26.15 | 79.06 | 24.9 | 76.82
2026-08-09T20:05:51.562-07:00 | [11 empty] | 7.6071 | 3.0736 | 51.87 | 125.37 | 25.63 | 78.13 | 24.6 | 76.28
2026-08-09T20:05:53.582-07:00 | [11 empty] | 7.7119 | 3.1145 | 52.08 | 125.75 | 25.73 | 78.31 | 24.3 | 75.74
2026-08-09T20:05:55.603-07:00 | [11 empty] | 7.8163 | 3.089 | 52.6 | 126.69 | 25.63 | 78.13 | 24.1 | 75.38
2026-08-09T20:05:57.623-07:00 | [11 empty] | 7.9208 | 3.0941 | 51.87 | 125.37 | 26.04 | 78.87 | 24.6 | 76.28
2026-08-09T20:05:59.644-07:00 | [11 empty] | 8.0256 | 3.1247 | 51.67 | 125 | 25.73 | 78.31 | 24.6 | 76.28
2026-08-09T20:06:01.665-07:00 | [11 empty] | 8.1307 | 3.1451 | 52.29 | 126.12 | 25.83 | 78.5 | 24.5 | 76.1
2026-08-09T20:06:03.685-07:00 | [11 empty] | 8.2357 | 3.1094 | 51.87 | 125.37 | 26.15 | 79.06 | 24.3 | 75.74
2026-08-09T20:06:05.706-07:00 | [11 empty] | 8.3407 | 3.1043 | 52.4 | 126.31 | 25.83 | 78.5 | 24.3 | 75.74
2026-08-09T20:06:07.726-07:00 | [11 empty] | 8.4457 | 3.1247 | 51.77 | 125.19 | 25.73 | 78.31 | 24.8 | 76.64
2026-08-09T20:06:09.088-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:06:09.747-07:00 | [11 empty] | 8.5501 | 3.1094 | 52.19 | 125.94 | 26.46 | 79.62 | 24.8 | 76.64
2026-08-09T20:06:11.768-07:00 | [11 empty] | 8.6545 | 3.1043 | 51.87 | 125.37 | 25.83 | 78.5 | 24.8 | 76.64
2026-08-09T20:06:11.899-07:00 | [5 empty] | 242.215 | 0.223 | 49.54 | 43.515 | 65.942 | 0.751
2026-08-09T20:06:13.788-07:00 | [11 empty] | 8.759 | 3.089 | 51.98 | 125.56 | 25.73 | 78.31 | 24.6 | 76.28
2026-08-09T20:06:15.809-07:00 | [11 empty] | 8.8638 | 3.1094 | 52.29 | 126.12 | 25.94 | 78.69 | 24.6 | 76.28
2026-08-09T20:06:17.830-07:00 | [11 empty] | 8.9685 | 3.1145 | 51.87 | 125.37 | 26.25 | 79.25 | 24.4 | 75.92
2026-08-09T20:06:19.850-07:00 | [11 empty] | 9.0731 | 3.1094 | 52.08 | 125.75 | 26.15 | 79.06 | 24.8 | 76.64
2026-08-09T20:06:21.871-07:00 | [11 empty] | 9.1778 | 3.1145 | 51.98 | 125.56 | 26.35 | 79.44 | 24.3 | 75.74
2026-08-09T20:06:23.891-07:00 | [11 empty] | 9.2823 | 3.0839 | 51.87 | 125.37 | 26.67 | 80 | 24.7 | 76.46
2026-08-09T20:06:25.912-07:00 | [11 empty] | 9.3872 | 3.1247 | 52.19 | 125.94 | 26.67 | 80 | 25.1 | 77.18
2026-08-09T20:06:27.932-07:00 | [11 empty] | 9.492 | 3.1145 | 52.08 | 125.75 | 26.56 | 79.81 | 24.5 | 76.1
2026-08-09T20:06:29.953-07:00 | [11 empty] | 9.5969 | 3.1247 | 52.08 | 125.75 | 26.04 | 78.87 | 24.2 | 75.56
2026-08-09T20:06:31.973-07:00 | [11 empty] | 9.7014 | 3.0992 | 51.98 | 125.56 | 26.25 | 79.25 | 24.7 | 76.46
2026-08-09T20:06:33.994-07:00 | [11 empty] | 9.8061 | 3.1145 | 51.77 | 125.19 | 26.56 | 79.81 | 24.8 | 76.64
2026-08-09T20:06:36.014-07:00 | [11 empty] | 9.9111 | 3.1298 | 51.98 | 125.56 | 26.87 | 80.37 | 24.5 | 76.1
2026-08-09T20:06:38.035-07:00 | [11 empty] | 10.0162 | 3.14 | 52.29 | 126.12 | 26.46 | 79.62 | 24.8 | 76.64
2026-08-09T20:06:38.347-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:06:40.056-07:00 | [11 empty] | 10.1211 | 3.1094 | 51.98 | 125.56 | 26.46 | 79.62 | 24.4 | 75.92
2026-08-09T20:06:42.077-07:00 | [11 empty] | 10.2261 | 3.1196 | 51.87 | 125.37 | 26.46 | 79.62 | 24.4 | 75.92
2026-08-09T20:06:44.099-07:00 | [11 empty] | 10.3306 | 3.1247 | 52.4 | 126.31 | 26.77 | 80.19 | 24.2 | 75.56
2026-08-09T20:06:46.117-07:00 | [11 empty] | 10.4352 | 3.1298 | 51.98 | 125.56 | 26.46 | 79.62 | 24.6 | 76.28
2026-08-09T20:06:48.140-07:00 | [11 empty] | 10.5402 | 3.0992 | 52.29 | 126.12 | 26.77 | 80.19 | 24.3 | 75.74
2026-08-09T20:06:50.160-07:00 | [11 empty] | 10.6452 | 3.1451 | 52.08 | 125.75 | 26.77 | 80.19 | 24.7 | 76.46
2026-08-09T20:06:52.181-07:00 | [11 empty] | 10.7503 | 3.1145 | 51.87 | 125.37 | 26.56 | 79.81 | 24.4 | 75.92
2026-08-09T20:06:54.201-07:00 | [11 empty] | 10.8553 | 3.1043 | 51.98 | 125.56 | 26.87 | 80.37 | 24.8 | 76.64
2026-08-09T20:06:56.222-07:00 | [11 empty] | 10.9595 | 3.0992 | 52.29 | 126.12 | 26.67 | 80 | 24.5 | 76.1
2026-08-09T20:06:58.243-07:00 | [11 empty] | 11.0636 | 3.1247 | 52.29 | 126.12 | 26.98 | 80.56 | 24.8 | 76.64
2026-08-09T20:07:00.263-07:00 | [11 empty] | 11.1681 | 3.1145 | 51.77 | 125.19 | 26.77 | 80.19 | 24.7 | 76.46
2026-08-09T20:07:02.284-07:00 | [11 empty] | 11.2734 | 3.1247 | 52.19 | 125.94 | 26.77 | 80.19 | 24.6 | 76.28
2026-08-09T20:07:04.304-07:00 | [11 empty] | 11.3784 | 3.14 | 52.71 | 126.87 | 26.15 | 79.06 | 24.1 | 75.38
2026-08-09T20:07:06.325-07:00 | [11 empty] | 11.4832 | 3.1247 | 52.29 | 126.12 | 26.25 | 79.25 | 24.2 | 75.56
2026-08-09T20:07:08.345-07:00 | [11 empty] | 11.5883 | 3.1247 | 52.08 | 125.75 | 26.56 | 79.81 | 24.4 | 75.92
2026-08-09T20:07:08.934-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:07:10.365-07:00 | [11 empty] | 11.6937 | 3.1247 | 52.4 | 126.31 | 26.35 | 79.44 | 24.6 | 76.28
2026-08-09T20:07:12.384-07:00 | [11 empty] | 11.7983 | 3.1094 | 52.08 | 125.75 | 26.67 | 80 | 24.4 | 75.92
2026-08-09T20:07:14.402-07:00 | [11 empty] | 11.9028 | 3.0941 | 52.19 | 125.94 | 26.56 | 79.81 | 24.3 | 75.74
2026-08-09T20:07:15.276-07:00 | [5 empty] | 242.171 | 1.117 | 235.651 | 154.646 | 285.526 | 0.843
2026-08-09T20:07:16.282-07:00 | [5 empty] | 242.44 | 1.373 | 305.275 | 158.663 | 344.439 | 0.887
2026-08-09T20:07:16.422-07:00 | [11 empty] | 12.0074 | 3.1094 | 52.4 | 126.31 | 26.25 | 79.25 | 24.7 | 76.46
2026-08-09T20:07:17.289-07:00 | [5 empty] | 242.319 | 1.493 | 336.07 | 163.014 | 373.56 | 0.899
2026-08-09T20:07:18.295-07:00 | [5 empty] | 242.05 | 1.617 | 370.882 | 168.37 | 407.368 | 0.91
2026-08-09T20:07:18.442-07:00 | [11 empty] | 12.112 | 3.1349 | 52.08 | 125.75 | 26.46 | 79.62 | 24.5 | 76.1
2026-08-09T20:07:19.302-07:00 | [5 empty] | 242.058 | 1.751 | 400.339 | 171.382 | 435.485 | 0.919
2026-08-09T20:07:20.462-07:00 | [11 empty] | 12.2167 | 3.1145 | 52.29 | 126.12 | 26.15 | 79.06 | 24.8 | 76.64
2026-08-09T20:07:22.483-07:00 | [11 empty] | 12.3211 | 3.0992 | 51.87 | 125.37 | 26.15 | 79.06 | 24.8 | 76.64
2026-08-09T20:07:24.503-07:00 | [11 empty] | 12.426 | 3.1094 | 51.98 | 125.56 | 26.15 | 79.06 | 24.5 | 76.1
2026-08-09T20:07:26.524-07:00 | [11 empty] | 12.5308 | 3.1043 | 51.98 | 125.56 | 26.46 | 79.62 | 24.7 | 76.46
2026-08-09T20:07:28.544-07:00 | [11 empty] | 12.6352 | 3.0736 | 52.08 | 125.75 | 26.15 | 79.06 | 24.8 | 76.64
2026-08-09T20:07:30.564-07:00 | [11 empty] | 12.7396 | 3.1145 | 52.29 | 126.12 | 25.94 | 78.69 | 24.5 | 76.1
2026-08-09T20:07:31.372-07:00 | [5 empty] | 242.267 | 1.892 | 435.82 | 175.734 | 469.963 | 0.927
2026-08-09T20:07:32.584-07:00 | [11 empty] | 12.8443 | 3.1349 | 52.08 | 125.75 | 26.04 | 78.87 | 24.3 | 75.74
2026-08-09T20:07:34.605-07:00 | [11 empty] | 12.9496 | 3.14 | 52.4 | 126.31 | 26.04 | 78.87 | 24.9 | 76.82
2026-08-09T20:07:36.625-07:00 | [11 empty] | 13.0551 | 3.1451 | 52.5 | 126.5 | 25.63 | 78.13 | 24.5 | 76.1
2026-08-09T20:07:37.408-07:00 | [5 empty] | 242.249 | 1.785 | 409.042 | 173.056 | 444.188 | 0.92
2026-08-09T20:07:38.192-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:07:38.646-07:00 | [11 empty] | 13.1606 | 3.1247 | 52.29 | 126.12 | 26.35 | 79.44 | 24.9 | 76.82
2026-08-09T20:07:40.666-07:00 | [11 empty] | 13.2655 | 3.1043 | 52.6 | 126.69 | 26.04 | 78.87 | 24.8 | 76.64
2026-08-09T20:07:42.686-07:00 | [11 empty] | 13.3701 | 3.1094 | 52.4 | 126.31 | 25.63 | 78.13 | 24.8 | 76.64
2026-08-09T20:07:44.707-07:00 | [11 empty] | 13.475 | 3.1145 | 52.19 | 125.94 | 25.83 | 78.5 | 24.8 | 76.64
2026-08-09T20:07:46.715-07:00 | [11 empty] | 13.5793 | 3.1196 | 52.71 | 126.87 | 25.94 | 78.69 | 24.4 | 75.92
2026-08-09T20:07:48.724-07:00 | [11 empty] | 13.6839 | 3.1349 | 52.29 | 126.12 | 25.73 | 78.31 | 24.3 | 75.74
2026-08-09T20:07:50.738-07:00 | [11 empty] | 13.7881 | 3.1043 | 52.08 | 125.75 | 25.52 | 77.94 | 24.4 | 75.92
2026-08-09T20:07:52.759-07:00 | [11 empty] | 13.8926 | 3.0992 | 52.08 | 125.75 | 25.42 | 77.75 | 24.4 | 75.92
2026-08-09T20:07:54.779-07:00 | [11 empty] | 13.9971 | 3.089 | 52.08 | 125.75 | 25.73 | 78.31 | 24.6 | 76.28
2026-08-09T20:07:56.800-07:00 | [11 empty] | 14.1017 | 3.0941 | 52.29 | 126.12 | 25.31 | 77.56 | 24.8 | 76.64
2026-08-09T20:07:58.820-07:00 | [11 empty] | 14.2063 | 3.1094 | 52.5 | 126.5 | 25.73 | 78.31 | 24.5 | 76.1
2026-08-09T20:08:00.840-07:00 | [11 empty] | 14.3112 | 3.1094 | 52.29 | 126.12 | 25.63 | 78.13 | 24.5 | 76.1
2026-08-09T20:08:02.861-07:00 | [11 empty] | 14.4162 | 3.1145 | 52.08 | 125.75 | 25.63 | 78.13 | 24.7 | 76.46
2026-08-09T20:08:04.881-07:00 | [11 empty] | 14.521 | 3.1043 | 52.4 | 126.31 | 25.42 | 77.75 | 24.7 | 76.46
2026-08-09T20:08:06.901-07:00 | [11 empty] | 14.6258 | 3.0941 | 51.98 | 125.56 | 25.63 | 78.13 | 24.8 | 76.64
2026-08-09T20:08:08.243-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T20:08:08.484-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T20:08:08.921-07:00 | [11 empty] | 14.7307 | 3.1043 | 52.19 | 125.94 | 25 | 77 | 24.8 | 76.64
2026-08-09T20:08:09.051-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T20:08:10.942-07:00 | [11 empty] | 14.8357 | 3.1145 | 52.08 | 125.75 | 25.52 | 77.94 | 24.5 | 76.1
2026-08-09T20:08:12.962-07:00 | [11 empty] | 14.9401 | 3.1043 | 52.29 | 126.12 | 25.52 | 77.94 | 24.2 | 75.56
2026-08-09T20:08:14.478-07:00 | [11 empty] | 15.0188 | 3.1196 | 52.5 | 126.5 | 24.9 | 76.81 | 24.7 | 76.46
2026-08-09T20:08:14.686-07:00 |  |  | water_draw_completed | water_draw_1 | ok
2026-08-09T20:08:23.096-07:00 |  |  | command_sent | run_normal | pending
2026-08-09T20:08:23.312-07:00 |  |  | command_completed | run_normal | ok
2026-08-09T20:08:38.502-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-09T20:09:09.072-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T20:09:23.033-07:00 |  |  | command_sent | run_normal | pending
2026-08-09T20:09:23.238-07:00 |  |  | command_completed | run_normal | ok
2026-08-09T20:09:25.405-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T20:09:25.546-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-09 19:58:07 | 1 | 129 | 0 | success | 48 | 3030 | 00 | false | 0x1234 | 0x0003 | Water Heater - Heat Pump | 0109 | 00000001 | 0203,0000,50gal | true |  | false

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes
TRUE | load_up_1 | 00:00:00 | pre_event | cta | load_up | unknown |  |  | 3¦6
TRUE | run_normal_1 | 0:10:00 | recovery | cta | run_normal | unknown |  |  | 0¦1
TRUE | water_draw_1 | 0:05:00 | event | water_draw | water_draw |  |  |  |  | 15 | 3
TRUE | test_end | 0:11:00 |  | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 10537
cumulative_electricity_end_Wh | 10537
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 4026
present_energy_storage_start_Wh | 0
present_energy_storage_end_Wh | 1275
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 1275
advanced_total_energy_storage_Wh
advanced_present_energy_storage_Wh