## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-10T18:22:37.030-07:00 | [5 empty] | 121.218 | 0 | 0 | 5.785 | 6.942 | 0.166
2026-08-10T18:22:37.115-07:00 |  |  | controller_started | controller | started
2026-08-10T18:22:37.119-07:00 |  |  | serial_open | serial_port | ok
2026-08-10T18:22:37.119-07:00 |  |  | communication_started | cta2045 | started
2026-08-10T18:22:37.551-07:00 |  |  | query_completed | get_commodity | no_ack_received
2026-08-10T18:22:38.128-07:00 |  |  | incomplete_message | unknown | error
2026-08-10T18:22:38.415-07:00 | 5 | SGD Error Condition | operational_state | query_operational_state | received
2026-08-10T18:22:39.456-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T18:22:39.655-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T18:22:53.660-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T18:22:53.837-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T18:22:53.877-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T18:23:08.058-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:23:38.645-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:24:07.904-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:24:38.490-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:24:53.008-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T18:24:53.248-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T18:24:55.399-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:24:55.540-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-10 18:22:37 | 1 | 129 | 0 | success | 48 | 4200 | B | true | 0x0118 | 0x0003 | Water Heater - Heat Pump | 0506 | 000001C0 | HPTV-50 | true | 136865*** | true

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | unknown | 500 | 1_wh | 3¦6 |  |  |  | 3
TRUE | test_end | 00:02:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 367251
cumulative_electricity_end_Wh | 367251
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 2202
present_energy_storage_start_Wh | 90
present_energy_storage_end_Wh | 90
present_energy_storage_minimum_Wh | 90
present_energy_storage_maximum_Wh | 90
advanced_total_energy_storage_Wh | 2412
advanced_present_energy_storage_start_Wh | 300
advanced_present_energy_storage_end_Wh | 300
advanced_present_energy_storage_minimum_Wh | 300
advanced_present_energy_storage_maximum_Wh | 300