## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-10T19:16:59.100-07:00 | [5 empty] | 120.672 | 4.754 | 634.027 | 133.053 | 649.067 | 0.979
2026-08-10T19:16:59.184-07:00 |  |  | controller_started | controller | started
2026-08-10T19:16:59.190-07:00 |  |  | serial_open | serial_port | ok
2026-08-10T19:16:59.190-07:00 |  |  | communication_started | cta2045 | started
2026-08-10T19:17:00.095-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-10T19:17:01.136-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T19:17:01.335-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T19:17:15.340-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T19:17:15.517-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T19:17:15.558-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T19:17:29.738-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-10T19:18:00.325-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-10T19:18:30.576-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-10T19:19:00.171-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-10T19:19:15.078-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T19:19:15.329-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T19:19:17.479-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-10T19:19:17.520-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-10 19:16:59 | 1 | 129 | 0 | success | 48 | 4200 | B | true | 0x0118 | 0x0003 | Water Heater - Heat Pump | 0506 | 000001C0 | HPTV-50 | true | 136865*** | true

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | unknown | 5 | 100_wh | 3¦6 |  |  |  | 9
TRUE | test_end | 00:02:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 367281
cumulative_electricity_end_Wh | 367293
cumulative_electricity_change_Wh | 12
total_energy_storage_Wh | 2202
present_energy_storage_start_Wh | 150
present_energy_storage_end_Wh | 0
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 150
advanced_total_energy_storage_Wh | 2412
advanced_present_energy_storage_start_Wh | 360
advanced_present_energy_storage_end_Wh | 240
advanced_present_energy_storage_minimum_Wh | 240
advanced_present_energy_storage_maximum_Wh | 360