## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-10T20:05:07.448-07:00 | [5 empty] | 121.413 | 0 | 0 | 8.099 | 9.256 | 0.125
2026-08-10T20:05:07.546-07:00 |  |  | controller_started | controller | started
2026-08-10T20:05:07.550-07:00 |  |  | serial_open | serial_port | ok
2026-08-10T20:05:07.550-07:00 |  |  | communication_started | cta2045 | started
2026-08-10T20:05:08.467-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:05:09.507-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:05:09.707-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:05:23.716-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T20:05:23.929-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-10T20:05:38.110-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-10T20:06:08.712-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-10T20:06:38.963-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-10T20:07:08.030-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:07:08.247-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:07:08.846-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-10T20:07:23.897-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T20:07:24.100-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T20:07:38.281-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:08:08.347-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:08:08.572-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:08:09.155-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:08:23.208-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T20:08:23.377-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T20:08:23.418-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T20:08:38.590-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:09:08.655-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:09:08.882-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:09:09.481-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:09:23.530-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T20:09:23.743-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T20:09:38.931-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:10:08.526-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:10:09.568-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:10:09.767-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:10:23.776-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T20:10:23.948-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T20:10:23.988-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T20:10:38.169-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:11:08.231-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:11:08.461-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:11:09.044-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:11:23.092-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T20:11:23.306-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T20:11:38.495-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:12:08.555-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:12:08.786-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:12:09.369-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:12:23.417-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T20:12:23.591-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T20:12:23.632-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T20:12:38.820-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:13:08.399-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:13:09.440-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:13:09.639-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:13:23.647-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T20:13:23.861-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T20:13:38.042-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:14:08.099-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:14:08.333-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:14:08.932-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:14:23.980-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T20:14:24.162-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T20:14:24.202-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T20:14:38.383-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:15:08.440-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:15:08.675-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:15:09.258-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:15:23.304-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T20:15:23.520-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T20:15:38.709-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:16:08.764-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:16:09.000-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:16:09.599-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:16:23.646-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T20:16:23.821-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T20:16:23.862-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T20:16:38.042-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:17:08.096-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:17:08.334-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:17:08.933-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:17:23.979-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T20:17:24.187-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T20:17:38.368-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:18:08.420-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:18:08.659-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:18:09.243-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:18:23.287-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T20:18:23.464-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-10T20:18:23.505-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-10T20:18:38.511-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T20:18:38.718-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T20:18:38.981-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:19:08.576-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:19:23.010-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T20:19:23.238-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T20:19:25.389-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T20:19:25.530-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-10 20:05:07 | 1 | 129 | 0 | success | 48 | 4200 | B | true | 0x0118 | 0x0003 | Water Heater - Heat Pump | 0506 | 000001C0 | HPTV-50 | true | 136865*** | true

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | 60 | 10 | 1000_wh | 3¦6 |  |  |  | 1
TRUE | run_normal_1 | 00:02:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_2 | 00:03:00 | event | cta | advanced_load_up | unknown | 100 | 10_wh | 3¦6 |  |  |  | 2
TRUE | run_normal_2 | 00:04:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_3 | 00:05:00 | pre_event | cta | advanced_load_up | unknown | 1000 | 1_wh | 3¦6 |  |  |  | 4
TRUE | run_normal_3 | 00:06:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_4 | 00:07:00 | pre_event | cta | advanced_load_up | unknown | 500 | 10_wh | 3¦6 |  |  |  | 5
TRUE | run_normal_4 | 00:08:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_5 | 00:09:00 | event | cta | advanced_load_up | 100 | 70 | 100_wh | 3¦6 |  |  |  | 6
TRUE | run_normal_5 | 00:10:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_6 | 00:11:00 | event | cta | advanced_load_up | 60 | 10 | 1000_wh | 3¦6 |  |  |  | 7
TRUE | run_normal_6 | 00:12:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_7 | 00:13:00 | event | cta | advanced_load_up | 60 | 10 | 1000_wh | 3¦6 |  |  |  | 8
TRUE | test_end | 00:14:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 367407
cumulative_electricity_end_Wh | 367407
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 2202
present_energy_storage_start_Wh | 0
present_energy_storage_end_Wh | 0
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 0
advanced_total_energy_storage_Wh | 2412
advanced_present_energy_storage_start_Wh | 240
advanced_present_energy_storage_end_Wh | 240
advanced_present_energy_storage_minimum_Wh | 240
advanced_present_energy_storage_maximum_Wh | 240