## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-09T13:08:58.290-07:00 | [5 empty] | 239.887 | 0 | 1.339 | 12.05 | 12.385 | 0.107
2026-08-09T13:08:58.401-07:00 |  |  | controller_started | controller | started
2026-08-09T13:08:58.406-07:00 |  |  | serial_open | serial_port | ok
2026-08-09T13:08:58.407-07:00 |  |  | communication_started | cta2045 | started
2026-08-09T13:08:59.312-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-09T13:09:00.352-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:09:00.552-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:09:14.565-07:00 |  |  | command_sent | load_up | pending
2026-08-09T13:09:14.774-07:00 |  |  | command_completed | load_up | ok
2026-08-09T13:09:29.457-07:00 | [5 empty] | 240.061 | 0.235 | 50.879 | 44.854 | 67.95 | 0.748
2026-08-09T13:09:59.333-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T13:10:32.775-07:00 | [5 empty] | 239.574 | 1.057 | 214.897 | 153.976 | 264.772 | 0.812
2026-08-09T13:10:34.787-07:00 | [5 empty] | 239.739 | 1.214 | 261.76 | 151.633 | 302.597 | 0.864
2026-08-09T13:10:37.808-07:00 | [5 empty] | 239.462 | 1.321 | 287.199 | 157.658 | 328.037 | 0.876
2026-08-09T13:10:43.844-07:00 | [5 empty] | 239.54 | 1.439 | 317.995 | 159.667 | 356.154 | 0.894
2026-08-09T13:10:46.851-07:00 | [5 empty] | 239.583 | 1.594 | 358.832 | 160.002 | 393.309 | 0.913
2026-08-09T13:10:59.963-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T13:11:03.944-07:00 | [5 empty] | 239.618 | 1.484 | 328.037 | 164.018 | 367.2 | 0.894
2026-08-09T13:11:19.033-07:00 | [5 empty] | 239.792 | 1.374 | 303.267 | 155.315 | 341.091 | 0.89
2026-08-09T13:11:59.600-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T13:13:00.229-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:13:02.600-07:00 | [5 empty] | 239.158 | 1.513 | 335.401 | 163.684 | 373.56 | 0.898
2026-08-09T13:13:59.867-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:14:31.063-07:00 | [5 empty] | 239.349 | 1.69 | 381.594 | 165.023 | 418.414 | 0.919
2026-08-09T13:14:59.504-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:16:00.117-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:16:59.739-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:17:59.376-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:18:59.989-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:19:59.595-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:21:00.224-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:21:59.846-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:22:29.916-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:22:30.137-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:22:59.675-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:23:59.312-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:24:59.942-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:25:59.579-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:27:00.209-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:27:59.814-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:28:59.452-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:30:00.081-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:30:59.718-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:31:59.356-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:32:59.985-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:33:59.623-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:35:00.252-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:35:59.346-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:35:59.594-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:36:00.178-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:36:59.815-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:37:59.453-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:39:00.082-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:39:59.720-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:40:59.357-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:41:59.970-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:42:59.608-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:44:00.237-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:44:59.875-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:45:59.512-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:47:00.126-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:47:59.763-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:48:59.385-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:49:29.452-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T13:49:29.676-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T13:50:00.206-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:50:59.828-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:51:59.449-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:53:00.062-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:53:59.700-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:54:59.337-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:55:59.951-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:56:59.572-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:58:00.202-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:58:59.823-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T13:59:59.445-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:00:41.394-07:00 | [5 empty] | 240.208 | 0.176 | 41.507 | 33.808 | 53.892 | 0.776
2026-08-09T14:01:00.058-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:01:59.696-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:02:59.333-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:03:00.374-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:03:00.573-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:04:00.154-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:04:10.538-07:00 | [5 empty] | 240.035 | 0 | 1.339 | 11.046 | 11.381 | 0.146
2026-08-09T14:04:16.573-07:00 | [5 empty] | 239.931 | 0.206 | 47.532 | 37.825 | 60.921 | 0.779
2026-08-09T14:04:59.792-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:05:19.925-07:00 | [5 empty] | 239.783 | 1.209 | 263.099 | 146.612 | 301.258 | 0.873
2026-08-09T14:05:20.931-07:00 | [5 empty] | 239.297 | 1.438 | 319.334 | 155.985 | 355.819 | 0.897
2026-08-09T14:05:21.938-07:00 | [5 empty] | 239.34 | 1.563 | 353.476 | 153.307 | 385.61 | 0.917
2026-08-09T14:05:22.946-07:00 | [5 empty] | 239.722 | 1.753 | 400.339 | 167.7 | 434.481 | 0.922
2026-08-09T14:05:24.958-07:00 | [5 empty] | 239.687 | 1.865 | 425.109 | 171.048 | 458.582 | 0.928
2026-08-09T14:05:27.977-07:00 | [5 empty] | 239.722 | 1.979 | 453.896 | 173.726 | 486.03 | 0.934
2026-08-09T14:05:36.024-07:00 | [5 empty] | 239.783 | 2.111 | 484.021 | 183.767 | 517.829 | 0.935
2026-08-09T14:05:39.042-07:00 | [5 empty] | 239.592 | 2.245 | 514.147 | 194.144 | 549.629 | 0.935
2026-08-09T14:05:43.066-07:00 | [5 empty] | 239.696 | 2.124 | 484.021 | 191.466 | 521.846 | 0.932
2026-08-09T14:05:46.077-07:00 | [5 empty] | 239.713 | 1.994 | 455.235 | 179.416 | 489.712 | 0.93
2026-08-09T14:05:59.429-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:07:00.059-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:07:59.696-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:08:59.318-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T14:09:36.349-07:00 | [5 empty] | 239.922 | 0.175 | 41.507 | 33.808 | 53.557 | 0.774
2026-08-09T14:09:59.947-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:10:59.585-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:12:00.214-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:12:59.819-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:13:05.493-07:00 | [5 empty] | 240.009 | 0 | 1.339 | 11.046 | 11.381 | 0.146
2026-08-09T14:13:59.425-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:15:00.054-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:15:59.692-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:16:29.758-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:16:29.983-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:16:59.521-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:18:00.151-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:18:59.788-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:19:59.410-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:21:00.023-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:21:59.661-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:22:59.282-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:23:59.911-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:24:59.549-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:26:00.178-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:26:59.816-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:27:59.453-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:29:00.083-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:29:59.175-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:29:59.441-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:30:00.024-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:30:59.646-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:31:59.267-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:32:59.880-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:33:59.502-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:35:00.131-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:35:59.769-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:36:59.406-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:38:00.020-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:38:59.108-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:38:59.362-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:38:59.945-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:39:14.998-07:00 |  |  | command_sent | grid_emergency | pending
2026-08-09T14:39:15.215-07:00 |  |  | command_completed | grid_emergency | ok
2026-08-09T14:39:59.775-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:40:59.412-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:42:00.041-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:42:59.663-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:43:29.727-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:43:29.954-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:43:59.492-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:45:00.105-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:45:59.743-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:46:59.364-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:47:59.977-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:48:59.615-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:50:00.228-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:50:59.850-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:51:59.487-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:53:00.100-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:53:59.738-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:54:59.375-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:56:00.021-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:56:59.105-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T14:56:59.363-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T14:56:59.946-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:57:59.584-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:59:00.213-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T14:59:59.850-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:00:59.472-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:02:00.101-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:02:59.723-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:03:59.344-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:04:59.973-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:05:59.611-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:07:00.240-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:07:59.878-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:08:59.515-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:09:14.125-07:00 |  |  | water_draw_started | water_draw_1 | started
2026-08-09T15:09:15.086-07:00 | [11 empty] | 0.013769 | 3.2472 | 23.96 | 75.12 | 21.35 | 70.44 | 22.1 | 71.78
2026-08-09T15:09:17.094-07:00 | [11 empty] | 0.14992 | 3.2166 | 26.35 | 79.44 | 21.77 | 71.19 | 21.3 | 70.34
2026-08-09T15:09:19.102-07:00 | [11 empty] | 0.25311 | 3.0175 | 28.85 | 83.94 | 22.29 | 72.12 | 21.5 | 70.7
2026-08-09T15:09:21.123-07:00 | [11 empty] | 0.35284 | 2.9205 | 30.94 | 87.69 | 21.77 | 71.19 | 21.5 | 70.7
2026-08-09T15:09:23.143-07:00 | [11 empty] | 0.44999 | 2.8644 | 33.75 | 92.75 | 21.88 | 71.38 | 21.6 | 70.88
2026-08-09T15:09:25.164-07:00 | [11 empty] | 0.54581 | 2.844 | 35.73 | 96.31 | 22.19 | 71.94 | 21.4 | 70.52
2026-08-09T15:09:27.185-07:00 | [11 empty] | 0.64107 | 2.8235 | 37.4 | 99.31 | 22.29 | 72.12 | 21.5 | 70.7
2026-08-09T15:09:29.205-07:00 | [11 empty] | 0.73616 | 2.8235 | 38.44 | 101.19 | 22.5 | 72.5 | 21.5 | 70.7
2026-08-09T15:09:31.226-07:00 | [11 empty] | 0.83034 | 2.798 | 39.9 | 103.81 | 22.5 | 72.5 | 21.4 | 70.52
2026-08-09T15:09:33.247-07:00 | [11 empty] | 0.92324 | 2.7572 | 41.56 | 106.81 | 22.81 | 73.06 | 21.5 | 70.7
2026-08-09T15:09:35.267-07:00 | [11 empty] | 1.0172 | 2.8133 | 42.5 | 108.5 | 22.29 | 72.12 | 22 | 71.6
2026-08-09T15:09:37.288-07:00 | [11 empty] | 1.1111 | 2.7929 | 43.33 | 110 | 22.5 | 72.5 | 21.3 | 70.34
2026-08-09T15:09:39.311-07:00 | [11 empty] | 1.2051 | 2.7776 | 44.17 | 111.5 | 22.71 | 72.88 | 21.6 | 70.88
2026-08-09T15:09:41.336-07:00 | [11 empty] | 1.2994 | 2.7878 | 45 | 113 | 22.29 | 72.12 | 21.9 | 71.42
2026-08-09T15:09:43.354-07:00 | [11 empty] | 1.3932 | 2.7827 | 45.62 | 114.12 | 22.81 | 73.06 | 21.9 | 71.42
2026-08-09T15:09:45.375-07:00 | [11 empty] | 1.4877 | 2.8082 | 46.77 | 116.19 | 23.02 | 73.44 | 21.4 | 70.52
2026-08-09T15:09:47.395-07:00 | [11 empty] | 1.5823 | 2.8031 | 47.19 | 116.94 | 22.92 | 73.25 | 21.9 | 71.42
2026-08-09T15:09:49.415-07:00 | [11 empty] | 1.6765 | 2.798 | 47.4 | 117.31 | 22.71 | 72.88 | 21.7 | 71.06
2026-08-09T15:09:51.434-07:00 | [11 empty] | 1.771 | 2.798 | 47.92 | 118.25 | 22.71 | 72.88 | 21.6 | 70.88
2026-08-09T15:09:53.455-07:00 | [11 empty] | 1.8656 | 2.8184 | 48.23 | 118.81 | 23.23 | 73.81 | 21.4 | 70.52
2026-08-09T15:09:55.476-07:00 | [11 empty] | 1.9608 | 2.8286 | 48.85 | 119.94 | 22.5 | 72.5 | 21.4 | 70.52
2026-08-09T15:09:57.496-07:00 | [11 empty] | 2.0558 | 2.8286 | 48.96 | 120.12 | 22.81 | 73.06 | 21.3 | 70.34
2026-08-09T15:09:59.517-07:00 | [11 empty] | 2.1508 | 2.8184 | 49.06 | 120.31 | 23.02 | 73.44 | 21.9 | 71.42
2026-08-09T15:10:00.145-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:10:01.537-07:00 | [11 empty] | 2.2459 | 2.8082 | 49.69 | 121.44 | 22.5 | 72.5 | 21.7 | 71.06
2026-08-09T15:10:03.558-07:00 | [11 empty] | 2.3414 | 2.8235 | 49.58 | 121.25 | 22.6 | 72.69 | 21.4 | 70.52
2026-08-09T15:10:05.579-07:00 | [11 empty] | 2.437 | 2.8338 | 50 | 122 | 22.6 | 72.69 | 22.2 | 71.96
2026-08-09T15:10:07.600-07:00 | [11 empty] | 2.5324 | 2.8286 | 50.21 | 122.38 | 23.02 | 73.44 | 21.9 | 71.42
2026-08-09T15:10:09.620-07:00 | [11 empty] | 2.6284 | 2.8542 | 50 | 122 | 22.6 | 72.69 | 21.2 | 70.16
2026-08-09T15:10:11.641-07:00 | [11 empty] | 2.7248 | 2.8899 | 50.63 | 123.13 | 22.81 | 73.06 | 21.8 | 71.24
2026-08-09T15:10:13.662-07:00 | [11 empty] | 2.8216 | 2.895 | 50.21 | 122.38 | 22.92 | 73.25 | 21.1 | 69.98
2026-08-09T15:10:15.682-07:00 | [11 empty] | 2.9188 | 2.8848 | 50.94 | 123.69 | 22.71 | 72.88 | 21.7 | 71.06
2026-08-09T15:10:17.703-07:00 | [11 empty] | 3.0151 | 2.8542 | 50.94 | 123.69 | 22.92 | 73.25 | 22 | 71.6
2026-08-09T15:10:19.723-07:00 | [11 empty] | 3.112 | 2.8695 | 51.15 | 124.06 | 22.29 | 72.12 | 21.5 | 70.7
2026-08-09T15:10:21.744-07:00 | [11 empty] | 3.2089 | 2.8695 | 51.15 | 124.06 | 22.5 | 72.5 | 22 | 71.6
2026-08-09T15:10:23.764-07:00 | [11 empty] | 3.3063 | 2.8899 | 51.46 | 124.62 | 22.19 | 71.94 | 22 | 71.6
2026-08-09T15:10:25.776-07:00 | [11 empty] | 3.4036 | 2.9001 | 51.25 | 124.25 | 22.71 | 72.88 | 22 | 71.6
2026-08-09T15:10:27.784-07:00 | [11 empty] | 3.4974 | 2.8695 | 51.15 | 124.06 | 22.5 | 72.5 | 22 | 71.6
2026-08-09T15:10:29.206-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:10:29.427-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:10:29.795-07:00 | [11 empty] | 3.5925 | 2.8542 | 51.04 | 123.88 | 22.4 | 72.31 | 21.7 | 71.06
2026-08-09T15:10:31.817-07:00 | [11 empty] | 3.689 | 2.8797 | 51.25 | 124.25 | 22.4 | 72.31 | 21.7 | 71.06
2026-08-09T15:10:33.840-07:00 | [11 empty] | 3.7861 | 2.9256 | 51.56 | 124.81 | 22.71 | 72.88 | 21.7 | 71.06
2026-08-09T15:10:35.863-07:00 | [11 empty] | 3.8858 | 2.9818 | 51.35 | 124.44 | 22.6 | 72.69 | 21.5 | 70.7
2026-08-09T15:10:37.887-07:00 | [11 empty] | 3.9865 | 2.9869 | 51.56 | 124.81 | 22.19 | 71.94 | 22 | 71.6
2026-08-09T15:10:39.910-07:00 | [11 empty] | 4.088 | 3.0073 | 51.56 | 124.81 | 22.4 | 72.31 | 22 | 71.6
2026-08-09T15:10:41.934-07:00 | [11 empty] | 4.1891 | 3.0022 | 51.35 | 124.44 | 22.08 | 71.75 | 21.6 | 70.88
2026-08-09T15:10:43.954-07:00 | [11 empty] | 4.2903 | 2.9818 | 51.67 | 125 | 22.08 | 71.75 | 21.4 | 70.52
2026-08-09T15:10:45.967-07:00 | [11 empty] | 4.391 | 2.9971 | 51.77 | 125.19 | 22.29 | 72.12 | 21.4 | 70.52
2026-08-09T15:10:47.976-07:00 | [11 empty] | 4.4915 | 3.0073 | 52.08 | 125.75 | 21.88 | 71.38 | 21.9 | 71.42
2026-08-09T15:10:49.988-07:00 | [11 empty] | 4.5922 | 2.9971 | 51.67 | 125 | 22.29 | 72.12 | 21.3 | 70.34
2026-08-09T15:10:52.010-07:00 | [11 empty] | 4.6933 | 3.0175 | 51.67 | 125 | 21.67 | 71 | 21.6 | 70.88
2026-08-09T15:10:54.031-07:00 | [11 empty] | 4.7943 | 2.992 | 52.08 | 125.75 | 21.56 | 70.81 | 21.7 | 71.06
2026-08-09T15:10:56.053-07:00 | [11 empty] | 4.895 | 2.9971 | 51.77 | 125.19 | 22.08 | 71.75 | 21.5 | 70.7
2026-08-09T15:10:58.073-07:00 | [11 empty] | 4.9963 | 2.992 | 52.08 | 125.75 | 21.46 | 70.62 | 22 | 71.6
2026-08-09T15:10:59.974-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:11:00.095-07:00 | [11 empty] | 5.0976 | 3.0124 | 51.67 | 125 | 22.19 | 71.94 | 21.6 | 70.88
2026-08-09T15:11:02.116-07:00 | [11 empty] | 5.1988 | 3.0175 | 51.56 | 124.81 | 21.46 | 70.62 | 21.6 | 70.88
2026-08-09T15:11:04.137-07:00 | [11 empty] | 5.2997 | 3.0022 | 51.77 | 125.19 | 21.88 | 71.38 | 21.6 | 70.88
2026-08-09T15:11:06.159-07:00 | [11 empty] | 5.401 | 3.0073 | 51.87 | 125.37 | 21.88 | 71.38 | 21.8 | 71.24
2026-08-09T15:11:08.181-07:00 | [11 empty] | 5.5024 | 3.0073 | 51.98 | 125.56 | 21.77 | 71.19 | 21.2 | 70.16
2026-08-09T15:11:10.202-07:00 | [11 empty] | 5.6039 | 3.0226 | 51.98 | 125.56 | 21.35 | 70.44 | 21.3 | 70.34
2026-08-09T15:11:12.223-07:00 | [11 empty] | 5.7057 | 3.0379 | 51.98 | 125.56 | 21.88 | 71.38 | 21.6 | 70.88
2026-08-09T15:11:14.243-07:00 | [11 empty] | 5.8072 | 3.0175 | 51.67 | 125 | 21.67 | 71 | 21.7 | 71.06
2026-08-09T15:11:16.264-07:00 | [11 empty] | 5.9083 | 3.0277 | 52.29 | 126.12 | 21.98 | 71.56 | 22.1 | 71.78
2026-08-09T15:11:18.285-07:00 | [11 empty] | 6.01 | 3.0277 | 51.98 | 125.56 | 21.88 | 71.38 | 21.1 | 69.98
2026-08-09T15:11:20.307-07:00 | [11 empty] | 6.1116 | 3.0073 | 52.19 | 125.94 | 21.67 | 71 | 21.5 | 70.7
2026-08-09T15:11:22.329-07:00 | [11 empty] | 6.2137 | 3.0175 | 52.19 | 125.94 | 22.08 | 71.75 | 21.5 | 70.7
2026-08-09T15:11:24.351-07:00 | [11 empty] | 6.3157 | 3.0277 | 51.98 | 125.56 | 21.67 | 71 | 22.1 | 71.78
2026-08-09T15:11:26.373-07:00 | [11 empty] | 6.4175 | 3.0175 | 52.08 | 125.75 | 22.19 | 71.94 | 21.5 | 70.7
2026-08-09T15:11:28.394-07:00 | [11 empty] | 6.5191 | 3.0277 | 52.08 | 125.75 | 21.88 | 71.38 | 21.2 | 70.16
2026-08-09T15:11:30.416-07:00 | [11 empty] | 6.6208 | 3.0073 | 52.19 | 125.94 | 21.88 | 71.38 | 21.5 | 70.7
2026-08-09T15:11:32.438-07:00 | [11 empty] | 6.7227 | 3.0175 | 52.19 | 125.94 | 21.98 | 71.56 | 21.8 | 71.24
2026-08-09T15:11:34.461-07:00 | [11 empty] | 6.8249 | 3.0379 | 51.77 | 125.19 | 22.08 | 71.75 | 21.5 | 70.7
2026-08-09T15:11:36.483-07:00 | [11 empty] | 6.9268 | 3.0328 | 52.4 | 126.31 | 22.19 | 71.94 | 22 | 71.6
2026-08-09T15:11:38.504-07:00 | [11 empty] | 7.0288 | 3.0226 | 51.77 | 125.19 | 22.29 | 72.12 | 21.6 | 70.88
2026-08-09T15:11:40.526-07:00 | [11 empty] | 7.1306 | 3.0175 | 51.77 | 125.19 | 22.71 | 72.88 | 21.4 | 70.52
2026-08-09T15:11:42.547-07:00 | [11 empty] | 7.2324 | 3.0226 | 52.19 | 125.94 | 22.5 | 72.5 | 21.3 | 70.34
2026-08-09T15:11:44.566-07:00 | [11 empty] | 7.3346 | 3.0379 | 51.98 | 125.56 | 22.4 | 72.31 | 21.7 | 71.06
2026-08-09T15:11:46.574-07:00 | [11 empty] | 7.4355 | 3.0124 | 51.98 | 125.56 | 22.29 | 72.12 | 21.5 | 70.7
2026-08-09T15:11:48.584-07:00 | [11 empty] | 7.5365 | 3.0022 | 51.67 | 125 | 21.98 | 71.56 | 21.6 | 70.88
2026-08-09T15:11:50.604-07:00 | [11 empty] | 7.6377 | 3.0175 | 52.19 | 125.94 | 22.4 | 72.31 | 22 | 71.6
2026-08-09T15:11:52.627-07:00 | [11 empty] | 7.7399 | 3.0532 | 52.29 | 126.12 | 22.92 | 73.25 | 21.9 | 71.42
2026-08-09T15:11:54.651-07:00 | [11 empty] | 7.8422 | 3.0481 | 52.29 | 126.12 | 22.5 | 72.5 | 21.8 | 71.24
2026-08-09T15:11:56.674-07:00 | [11 empty] | 7.9441 | 3.0073 | 51.98 | 125.56 | 23.12 | 73.62 | 21.5 | 70.7
2026-08-09T15:11:58.697-07:00 | [11 empty] | 8.0465 | 3.0583 | 52.6 | 126.69 | 23.02 | 73.44 | 21.8 | 71.24
2026-08-09T15:11:59.611-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:12:00.721-07:00 | [11 empty] | 8.1484 | 3.0175 | 52.71 | 126.87 | 22.71 | 72.88 | 21.9 | 71.42
2026-08-09T15:12:02.744-07:00 | [11 empty] | 8.2503 | 3.0073 | 52.29 | 126.12 | 23.12 | 73.62 | 21.7 | 71.06
2026-08-09T15:12:04.767-07:00 | [11 empty] | 8.3518 | 3.0226 | 52.5 | 126.5 | 23.12 | 73.62 | 22 | 71.6
2026-08-09T15:12:06.790-07:00 | [11 empty] | 8.4532 | 3.0073 | 52.29 | 126.12 | 23.23 | 73.81 | 21.6 | 70.88
2026-08-09T15:12:08.813-07:00 | [11 empty] | 8.5549 | 3.0379 | 52.4 | 126.31 | 23.54 | 74.38 | 21.7 | 71.06
2026-08-09T15:12:10.837-07:00 | [11 empty] | 8.6565 | 2.9971 | 52.71 | 126.87 | 23.54 | 74.38 | 21.9 | 71.42
2026-08-09T15:12:12.859-07:00 | [11 empty] | 8.7584 | 3.0277 | 52.19 | 125.94 | 24.17 | 75.5 | 21.9 | 71.42
2026-08-09T15:12:14.882-07:00 | [11 empty] | 8.8602 | 3.0175 | 52.4 | 126.31 | 23.85 | 74.94 | 21.5 | 70.7
2026-08-09T15:12:16.905-07:00 | [11 empty] | 8.9618 | 2.9869 | 52.29 | 126.12 | 23.75 | 74.75 | 21.4 | 70.52
2026-08-09T15:12:18.926-07:00 | [11 empty] | 9.0635 | 3.0226 | 52.29 | 126.12 | 24.58 | 76.25 | 21.8 | 71.24
2026-08-09T15:12:20.947-07:00 | [11 empty] | 9.165 | 3.0022 | 52.5 | 126.5 | 24.37 | 75.87 | 21.2 | 70.16
2026-08-09T15:12:22.969-07:00 | [11 empty] | 9.2666 | 3.0073 | 52.4 | 126.31 | 24.37 | 75.87 | 21.3 | 70.34
2026-08-09T15:12:24.990-07:00 | [11 empty] | 9.3678 | 3.0226 | 52.29 | 126.12 | 24.9 | 76.81 | 21.4 | 70.52
2026-08-09T15:12:27.011-07:00 | [11 empty] | 9.4691 | 3.0226 | 52.19 | 125.94 | 25 | 77 | 22.1 | 71.78
2026-08-09T15:12:29.033-07:00 | [11 empty] | 9.5708 | 3.0175 | 51.87 | 125.37 | 25 | 77 | 22 | 71.6
2026-08-09T15:12:31.054-07:00 | [11 empty] | 9.673 | 3.0073 | 51.87 | 125.37 | 25 | 77 | 21.6 | 70.88
2026-08-09T15:12:33.076-07:00 | [11 empty] | 9.7747 | 3.0328 | 52.19 | 125.94 | 25.73 | 78.31 | 21.7 | 71.06
2026-08-09T15:12:35.099-07:00 | [11 empty] | 9.8765 | 3.0175 | 52.29 | 126.12 | 25.73 | 78.31 | 21.3 | 70.34
2026-08-09T15:12:37.120-07:00 | [11 empty] | 9.9788 | 3.0277 | 52.5 | 126.5 | 26.04 | 78.87 | 21.7 | 71.06
2026-08-09T15:12:39.142-07:00 | [11 empty] | 10.081 | 3.0277 | 52.29 | 126.12 | 26.25 | 79.25 | 21.8 | 71.24
2026-08-09T15:12:41.164-07:00 | [11 empty] | 10.1834 | 3.0583 | 52.19 | 125.94 | 26.25 | 79.25 | 21.9 | 71.42
2026-08-09T15:12:43.185-07:00 | [11 empty] | 10.2855 | 3.0277 | 52.08 | 125.75 | 26.87 | 80.37 | 21.4 | 70.52
2026-08-09T15:12:45.201-07:00 | [11 empty] | 10.3869 | 3.0226 | 52.6 | 126.69 | 27.08 | 80.75 | 22 | 71.6
2026-08-09T15:12:47.210-07:00 | [11 empty] | 10.4881 | 3.0073 | 52.29 | 126.12 | 27.4 | 81.31 | 21.8 | 71.24
2026-08-09T15:12:49.220-07:00 | [11 empty] | 10.5898 | 3.0532 | 52.08 | 125.75 | 28.12 | 82.62 | 21.6 | 70.88
2026-08-09T15:12:51.242-07:00 | [11 empty] | 10.6915 | 3.0022 | 52.4 | 126.31 | 28.33 | 83 | 22 | 71.6
2026-08-09T15:12:53.263-07:00 | [11 empty] | 10.7936 | 3.0379 | 52.5 | 126.5 | 28.12 | 82.62 | 21.8 | 71.24
2026-08-09T15:12:55.285-07:00 | [11 empty] | 10.8955 | 3.0328 | 52.4 | 126.31 | 28.54 | 83.38 | 21.6 | 70.88
2026-08-09T15:12:57.307-07:00 | [11 empty] | 10.997 | 3.0277 | 52.4 | 126.31 | 29.48 | 85.06 | 21.5 | 70.7
2026-08-09T15:12:59.328-07:00 | [11 empty] | 11.0986 | 3.0124 | 52.81 | 127.06 | 29.58 | 85.25 | 21.9 | 71.42
2026-08-09T15:13:00.257-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:13:01.350-07:00 | [11 empty] | 11.2009 | 3.0328 | 52.4 | 126.31 | 30.31 | 86.56 | 21.8 | 71.24
2026-08-09T15:13:03.372-07:00 | [11 empty] | 11.3031 | 3.0379 | 52.92 | 127.25 | 30.52 | 86.94 | 21.3 | 70.34
2026-08-09T15:13:05.394-07:00 | [11 empty] | 11.4047 | 3.0124 | 52.19 | 125.94 | 31.04 | 87.88 | 21.8 | 71.24
2026-08-09T15:13:07.416-07:00 | [11 empty] | 11.5062 | 2.9818 | 52.08 | 125.75 | 31.56 | 88.81 | 21.8 | 71.24
2026-08-09T15:13:09.437-07:00 | [11 empty] | 11.608 | 3.0277 | 52.4 | 126.31 | 31.98 | 89.56 | 21.8 | 71.24
2026-08-09T15:13:11.459-07:00 | [11 empty] | 11.7101 | 3.0175 | 52.71 | 126.87 | 31.88 | 89.38 | 21.7 | 71.06
2026-08-09T15:13:13.481-07:00 | [11 empty] | 11.8114 | 3.0175 | 52.81 | 127.06 | 32.08 | 89.75 | 21.4 | 70.52
2026-08-09T15:13:15.502-07:00 | [11 empty] | 11.9128 | 3.0124 | 52.4 | 126.31 | 33.12 | 91.62 | 22 | 71.6
2026-08-09T15:13:17.524-07:00 | [11 empty] | 12.0144 | 3.0226 | 52.19 | 125.94 | 33.02 | 91.44 | 21.3 | 70.34
2026-08-09T15:13:19.546-07:00 | [11 empty] | 12.1159 | 3.0328 | 52.4 | 126.31 | 33.33 | 92 | 21.9 | 71.42
2026-08-09T15:13:21.567-07:00 | [11 empty] | 12.2179 | 3.0328 | 52.4 | 126.31 | 33.12 | 91.62 | 21.5 | 70.7
2026-08-09T15:13:23.589-07:00 | [11 empty] | 12.32 | 3.0328 | 52.81 | 127.06 | 33.33 | 92 | 21.6 | 70.88
2026-08-09T15:13:25.610-07:00 | [11 empty] | 12.4222 | 3.0277 | 52.4 | 126.31 | 33.23 | 91.81 | 21.9 | 71.42
2026-08-09T15:13:27.635-07:00 | [11 empty] | 12.5241 | 3.0124 | 51.98 | 125.56 | 33.12 | 91.62 | 21.6 | 70.88
2026-08-09T15:13:29.659-07:00 | [11 empty] | 12.6269 | 3.0532 | 52.19 | 125.94 | 33.23 | 91.81 | 21.3 | 70.34
2026-08-09T15:13:31.683-07:00 | [11 empty] | 12.7293 | 3.0379 | 52.5 | 126.5 | 32.92 | 91.25 | 21.4 | 70.52
2026-08-09T15:13:33.706-07:00 | [11 empty] | 12.8321 | 3.0532 | 52.71 | 126.87 | 33.02 | 91.44 | 21.4 | 70.52
2026-08-09T15:13:35.729-07:00 | [11 empty] | 12.9345 | 3.043 | 52.5 | 126.5 | 32.71 | 90.88 | 21.9 | 71.42
2026-08-09T15:13:37.753-07:00 | [11 empty] | 13.0365 | 3.0022 | 52.5 | 126.5 | 32.5 | 90.5 | 21.6 | 70.88
2026-08-09T15:13:39.776-07:00 | [11 empty] | 13.1386 | 3.0277 | 52.71 | 126.87 | 32.19 | 89.94 | 21.7 | 71.06
2026-08-09T15:13:41.796-07:00 | [11 empty] | 13.2404 | 3.0073 | 52.6 | 126.69 | 31.77 | 89.19 | 21.7 | 71.06
2026-08-09T15:13:43.816-07:00 | [11 empty] | 13.3419 | 3.0226 | 52.5 | 126.5 | 31.25 | 88.25 | 22.1 | 71.78
2026-08-09T15:13:45.828-07:00 | [11 empty] | 13.4428 | 3.0073 | 52.92 | 127.25 | 30.73 | 87.31 | 21.8 | 71.24
2026-08-09T15:13:47.837-07:00 | [11 empty] | 13.5437 | 3.0175 | 52.6 | 126.69 | 30.42 | 86.75 | 21.3 | 70.34
2026-08-09T15:13:49.849-07:00 | [11 empty] | 13.6448 | 3.0175 | 52.5 | 126.5 | 30.52 | 86.94 | 21.4 | 70.52
2026-08-09T15:13:51.871-07:00 | [11 empty] | 13.7464 | 2.9971 | 52.6 | 126.69 | 29.9 | 85.81 | 21.6 | 70.88
2026-08-09T15:13:53.892-07:00 | [11 empty] | 13.8486 | 3.0328 | 52.5 | 126.5 | 29.48 | 85.06 | 22 | 71.6
2026-08-09T15:13:55.913-07:00 | [11 empty] | 13.9504 | 3.0328 | 53.02 | 127.44 | 29.38 | 84.88 | 21.6 | 70.88
2026-08-09T15:13:57.935-07:00 | [11 empty] | 14.0522 | 3.0124 | 52.71 | 126.87 | 28.75 | 83.75 | 21.6 | 70.88
2026-08-09T15:13:59.894-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:13:59.957-07:00 | [11 empty] | 14.1539 | 3.0277 | 52.5 | 126.5 | 28.44 | 83.19 | 21.8 | 71.24
2026-08-09T15:14:01.978-07:00 | [11 empty] | 14.2562 | 3.0328 | 52.19 | 125.94 | 27.6 | 81.69 | 21.5 | 70.7
2026-08-09T15:14:03.998-07:00 | [11 empty] | 14.3575 | 3.0124 | 52.6 | 126.69 | 26.98 | 80.56 | 21.5 | 70.7
2026-08-09T15:14:06.018-07:00 | [11 empty] | 14.4587 | 3.0226 | 52.92 | 127.25 | 27.08 | 80.75 | 21.9 | 71.42
2026-08-09T15:14:08.038-07:00 | [11 empty] | 14.5603 | 3.0022 | 52.6 | 126.69 | 26.25 | 79.25 | 21.6 | 70.88
2026-08-09T15:14:10.058-07:00 | [11 empty] | 14.6618 | 3.0124 | 52.71 | 126.87 | 26.46 | 79.62 | 21.6 | 70.88
2026-08-09T15:14:12.078-07:00 | [11 empty] | 14.7634 | 3.0328 | 52.81 | 127.06 | 26.25 | 79.25 | 22 | 71.6
2026-08-09T15:14:14.097-07:00 | [11 empty] | 14.8653 | 3.0073 | 52.5 | 126.5 | 25.94 | 78.69 | 21.4 | 70.52
2026-08-09T15:14:16.117-07:00 | [11 empty] | 14.9667 | 3.0277 | 52.71 | 126.87 | 25.31 | 77.56 | 22 | 71.6
2026-08-09T15:14:17.128-07:00 | [11 empty] | 15.0175 | 3.0124 | 52.71 | 126.87 | 25 | 77 | 21.8 | 71.24
2026-08-09T15:14:17.243-07:00 |  |  | water_draw_completed | water_draw_1 | ok
2026-08-09T15:14:59.516-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:16:00.161-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:16:59.799-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:17:59.420-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:19:00.049-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:19:59.687-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:20:59.324-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:21:59.969-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:22:59.607-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:23:59.691-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:23:59.973-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:24:00.556-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:25:00.178-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:25:59.799-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:26:59.437-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:28:00.050-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:28:59.687-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:29:59.309-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:30:59.938-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:31:59.560-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:33:00.173-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:33:59.794-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:34:59.432-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:36:00.061-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:36:59.699-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:37:29.760-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:37:29.990-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:37:59.528-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:39:00.158-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:39:14.132-07:00 |  |  | water_draw_started | water_draw_2 | started
2026-08-09T15:39:15.106-07:00 | [11 empty] | 0.013535 | 3.288 | 37.08 | 98.75 | 26.77 | 80.19 | 23.4 | 74.12
2026-08-09T15:39:17.114-07:00 | [11 empty] | 0.15276 | 3.3237 | 37.6 | 99.69 | 26.56 | 79.81 | 24 | 75.2
2026-08-09T15:39:19.122-07:00 | [11 empty] | 0.25968 | 3.1706 | 39.48 | 103.06 | 26.77 | 80.19 | 23.8 | 74.84
2026-08-09T15:39:21.142-07:00 | [11 empty] | 0.36498 | 3.1094 | 40.63 | 105.13 | 26.56 | 79.81 | 23.7 | 74.66
2026-08-09T15:39:23.160-07:00 | [11 empty] | 0.46862 | 3.0634 | 42.19 | 107.94 | 26.35 | 79.44 | 23.5 | 74.3
2026-08-09T15:39:25.181-07:00 | [11 empty] | 0.57184 | 3.0583 | 42.92 | 109.25 | 26.77 | 80.19 | 23.3 | 73.94
2026-08-09T15:39:27.201-07:00 | [11 empty] | 0.67423 | 3.0226 | 44.27 | 111.69 | 26.15 | 79.06 | 23.5 | 74.3
2026-08-09T15:39:29.222-07:00 | [11 empty] | 0.77638 | 3.043 | 45.21 | 113.38 | 25.83 | 78.5 | 23.3 | 73.94
2026-08-09T15:39:31.244-07:00 | [11 empty] | 0.87871 | 3.0379 | 46.25 | 115.25 | 26.04 | 78.87 | 23.9 | 75.02
2026-08-09T15:39:33.264-07:00 | [11 empty] | 0.98094 | 3.0379 | 46.35 | 115.44 | 26.46 | 79.62 | 23.4 | 74.12
2026-08-09T15:39:35.284-07:00 | [11 empty] | 1.083 | 3.0277 | 47.08 | 116.75 | 26.04 | 78.87 | 23.9 | 75.02
2026-08-09T15:39:37.304-07:00 | [11 empty] | 1.1851 | 3.0277 | 47.71 | 117.88 | 25.83 | 78.5 | 23.4 | 74.12
2026-08-09T15:39:39.324-07:00 | [11 empty] | 1.2871 | 3.0226 | 48.33 | 119 | 25.52 | 77.94 | 23.2 | 73.76
2026-08-09T15:39:41.350-07:00 | [11 empty] | 1.3889 | 3.0175 | 48.75 | 119.75 | 25.63 | 78.13 | 23.8 | 74.84
2026-08-09T15:39:43.370-07:00 | [11 empty] | 1.4913 | 3.0379 | 48.75 | 119.75 | 26.35 | 79.44 | 23.9 | 75.02
2026-08-09T15:39:45.385-07:00 | [11 empty] | 1.5931 | 3.0124 | 49.27 | 120.69 | 25.63 | 78.13 | 23.5 | 74.3
2026-08-09T15:39:47.393-07:00 | [11 empty] | 1.6944 | 3.0481 | 49.69 | 121.44 | 26.04 | 78.87 | 23.7 | 74.66
2026-08-09T15:39:49.402-07:00 | [11 empty] | 1.7955 | 3.043 | 50.1 | 122.19 | 26.04 | 78.87 | 23.6 | 74.48
2026-08-09T15:39:51.422-07:00 | [11 empty] | 1.8978 | 3.0583 | 50.21 | 122.38 | 25.63 | 78.13 | 23.5 | 74.3
2026-08-09T15:39:53.443-07:00 | [11 empty] | 2.0001 | 3.043 | 50.52 | 122.94 | 25.42 | 77.75 | 23.8 | 74.84
2026-08-09T15:39:53.444-07:00 | [11 empty] | 2.0001 | 3.043 | 50.52 | 122.94 | 25.42 | 77.75 | 23.8 | 74.84
2026-08-09T15:39:53.620-07:00 |  |  | water_draw_completed | water_draw_2 | ok
2026-08-09T15:39:59.779-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:40:59.401-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:42:00.014-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:42:59.635-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:44:00.248-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:44:59.886-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:45:59.523-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:47:00.169-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:47:59.806-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:48:59.444-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:50:00.073-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:50:59.149-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T15:50:59.415-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T15:50:59.998-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:51:59.636-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:53:00.265-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:53:59.903-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:54:59.540-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:56:00.170-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:56:59.791-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:57:59.429-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:59:00.042-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T15:59:59.680-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:00:59.317-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:01:59.947-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:02:59.584-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:04:00.214-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:04:29.274-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:04:29.513-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:05:00.043-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:05:59.648-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:07:00.278-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:07:59.915-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:08:59.537-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:10:00.150-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:10:59.788-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:11:59.425-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:13:00.070-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:13:59.692-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:14:59.313-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:15:59.943-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:16:59.580-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:17:59.657-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:17:59.930-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:18:00.514-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:19:00.151-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:19:59.789-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:20:59.426-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:22:00.055-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:22:59.677-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:23:59.298-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:24:59.928-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:25:59.533-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:27:00.162-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:27:59.768-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:28:59.405-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:30:00.034-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:30:59.672-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:31:29.732-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:31:29.963-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:31:59.501-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:33:00.131-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:33:59.768-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:34:59.405-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:36:00.035-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:36:59.672-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:37:59.293-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:38:59.907-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:39:59.544-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:41:00.174-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:41:59.811-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:42:59.432-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:44:00.062-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:44:59.137-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:44:59.404-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:44:59.987-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:45:59.625-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:47:00.254-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:47:59.892-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:48:59.513-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:49:14.184-07:00 |  |  | water_draw_started | water_draw_3 | started
2026-08-09T16:49:15.157-07:00 | [11 empty] | 0.014743 | 3.5636 | 29.17 | 84.5 | 24.69 | 76.44 | 24.3 | 75.74
2026-08-09T16:49:17.164-07:00 | [11 empty] | 0.162 | 3.4565 | 30.21 | 86.38 | 24.48 | 76.06 | 24.5 | 76.1
2026-08-09T16:49:19.172-07:00 | [11 empty] | 0.27387 | 3.3135 | 32.6 | 90.69 | 24.48 | 76.06 | 24 | 75.2
2026-08-09T16:49:21.192-07:00 | [11 empty] | 0.3832 | 3.237 | 34.79 | 94.62 | 24.06 | 75.31 | 24.3 | 75.74
2026-08-09T16:49:23.211-07:00 | [11 empty] | 0.49114 | 3.1757 | 37.08 | 98.75 | 24.37 | 75.87 | 24.4 | 75.92
2026-08-09T16:49:25.230-07:00 | [11 empty] | 0.59761 | 3.1604 | 38.44 | 101.19 | 23.75 | 74.75 | 24.3 | 75.74
2026-08-09T16:49:27.249-07:00 | [11 empty] | 0.70311 | 3.1553 | 39.9 | 103.81 | 23.96 | 75.12 | 24.3 | 75.74
2026-08-09T16:49:29.268-07:00 | [11 empty] | 0.80774 | 3.0992 | 40.94 | 105.69 | 23.54 | 74.38 | 24.3 | 75.74
2026-08-09T16:49:31.288-07:00 | [11 empty] | 0.91235 | 3.1298 | 42.19 | 107.94 | 23.33 | 74 | 23.8 | 74.84
2026-08-09T16:49:33.307-07:00 | [11 empty] | 1.0164 | 3.089 | 43.12 | 109.62 | 23.75 | 74.75 | 24.3 | 75.74
2026-08-09T16:49:35.328-07:00 | [11 empty] | 1.1202 | 3.0839 | 44.17 | 111.5 | 23.44 | 74.19 | 24.4 | 75.92
2026-08-09T16:49:37.349-07:00 | [11 empty] | 1.2244 | 3.0992 | 45.31 | 113.56 | 23.23 | 73.81 | 24.1 | 75.38
2026-08-09T16:49:39.370-07:00 | [11 empty] | 1.3286 | 3.0941 | 45.42 | 113.75 | 23.23 | 73.81 | 24.1 | 75.38
2026-08-09T16:49:41.395-07:00 | [11 empty] | 1.4334 | 3.0941 | 45.94 | 114.69 | 23.12 | 73.62 | 24.3 | 75.74
2026-08-09T16:49:43.415-07:00 | [11 empty] | 1.5379 | 3.0941 | 46.77 | 116.19 | 23.02 | 73.44 | 24.7 | 76.46
2026-08-09T16:49:45.430-07:00 | [11 empty] | 1.6425 | 3.1094 | 47.19 | 116.94 | 23.02 | 73.44 | 24.4 | 75.92
2026-08-09T16:49:47.439-07:00 | [11 empty] | 1.7469 | 3.14 | 47.71 | 117.88 | 22.5 | 72.5 | 24.4 | 75.92
2026-08-09T16:49:49.447-07:00 | [11 empty] | 1.8513 | 3.1145 | 48.23 | 118.81 | 23.02 | 73.44 | 24.5 | 76.1
2026-08-09T16:49:51.468-07:00 | [11 empty] | 1.9561 | 3.1145 | 48.44 | 119.19 | 22.4 | 72.31 | 23.9 | 75.02
2026-08-09T16:49:53.489-07:00 | [11 empty] | 2.0608 | 3.1094 | 48.65 | 119.56 | 22.71 | 72.88 | 23.9 | 75.02
2026-08-09T16:49:55.509-07:00 | [11 empty] | 2.1661 | 3.1298 | 48.96 | 120.12 | 22.71 | 72.88 | 23.9 | 75.02
2026-08-09T16:49:57.530-07:00 | [11 empty] | 2.2712 | 3.1094 | 49.17 | 120.5 | 22.08 | 71.75 | 24.4 | 75.92
2026-08-09T16:49:59.550-07:00 | [11 empty] | 2.3769 | 3.1298 | 49.58 | 121.25 | 22.6 | 72.69 | 23.8 | 74.84
2026-08-09T16:50:00.126-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:50:01.571-07:00 | [11 empty] | 2.4822 | 3.1145 | 49.58 | 121.25 | 22.4 | 72.31 | 24.2 | 75.56
2026-08-09T16:50:03.591-07:00 | [11 empty] | 2.5876 | 3.1349 | 50.1 | 122.19 | 22.29 | 72.12 | 24.5 | 76.1
2026-08-09T16:50:05.612-07:00 | [11 empty] | 2.6933 | 3.1349 | 50.1 | 122.19 | 22.5 | 72.5 | 24.4 | 75.92
2026-08-09T16:50:07.632-07:00 | [11 empty] | 2.7987 | 3.1451 | 50.42 | 122.75 | 21.88 | 71.38 | 24.4 | 75.92
2026-08-09T16:50:09.654-07:00 | [11 empty] | 2.9044 | 3.1349 | 50.31 | 122.56 | 22.08 | 71.75 | 24.6 | 76.28
2026-08-09T16:50:11.675-07:00 | [11 empty] | 3.0106 | 3.1553 | 50 | 122 | 22.19 | 71.94 | 24 | 75.2
2026-08-09T16:50:13.695-07:00 | [11 empty] | 3.1168 | 3.1553 | 50.42 | 122.75 | 22.4 | 72.31 | 23.9 | 75.02
2026-08-09T16:50:15.715-07:00 | [11 empty] | 3.2228 | 3.1808 | 50.52 | 122.94 | 22.29 | 72.12 | 24.4 | 75.92
2026-08-09T16:50:17.736-07:00 | [11 empty] | 3.329 | 3.1604 | 50.83 | 123.5 | 22.19 | 71.94 | 24.5 | 76.1
2026-08-09T16:50:19.756-07:00 | [11 empty] | 3.435 | 3.1655 | 50.73 | 123.31 | 22.19 | 71.94 | 23.9 | 75.02
2026-08-09T16:50:21.777-07:00 | [11 empty] | 3.5411 | 3.1553 | 50.83 | 123.5 | 21.67 | 71 | 24.6 | 76.28
2026-08-09T16:50:23.797-07:00 | [11 empty] | 3.6471 | 3.1451 | 51.15 | 124.06 | 22.19 | 71.94 | 24.5 | 76.1
2026-08-09T16:50:25.809-07:00 | [11 empty] | 3.7519 | 3.0328 | 51.56 | 124.81 | 22.4 | 72.31 | 24.2 | 75.56
2026-08-09T16:50:27.816-07:00 | [11 empty] | 3.855 | 3.0992 | 51.04 | 123.88 | 22.29 | 72.12 | 24.3 | 75.74
2026-08-09T16:50:29.829-07:00 | [11 empty] | 3.958 | 3.0839 | 51.25 | 124.25 | 22.08 | 71.75 | 24.6 | 76.28
2026-08-09T16:50:31.852-07:00 | [11 empty] | 4.0623 | 3.0992 | 51.46 | 124.62 | 22.19 | 71.94 | 24.3 | 75.74
2026-08-09T16:50:33.876-07:00 | [11 empty] | 4.1666 | 3.1043 | 51.35 | 124.44 | 22.19 | 71.94 | 23.9 | 75.02
2026-08-09T16:50:35.898-07:00 | [11 empty] | 4.2713 | 3.1145 | 51.25 | 124.25 | 21.98 | 71.56 | 24.5 | 76.1
2026-08-09T16:50:37.919-07:00 | [11 empty] | 4.3757 | 3.1094 | 51.35 | 124.44 | 21.98 | 71.56 | 24.3 | 75.74
2026-08-09T16:50:39.939-07:00 | [11 empty] | 4.4807 | 3.0941 | 51.25 | 124.25 | 22.29 | 72.12 | 24.3 | 75.74
2026-08-09T16:50:41.959-07:00 | [11 empty] | 4.5849 | 3.089 | 51.15 | 124.06 | 21.88 | 71.38 | 24.2 | 75.56
2026-08-09T16:50:43.979-07:00 | [11 empty] | 4.6897 | 3.1349 | 51.77 | 125.19 | 22.29 | 72.12 | 23.9 | 75.02
2026-08-09T16:50:45.990-07:00 | [11 empty] | 4.7942 | 3.1145 | 51.35 | 124.44 | 21.88 | 71.38 | 24.3 | 75.74
2026-08-09T16:50:47.999-07:00 | [11 empty] | 4.8983 | 3.1043 | 51.46 | 124.62 | 22.4 | 72.31 | 24.2 | 75.56
2026-08-09T16:50:50.013-07:00 | [11 empty] | 5.0026 | 3.1349 | 51.67 | 125 | 21.77 | 71.19 | 24.3 | 75.74
2026-08-09T16:50:52.034-07:00 | [11 empty] | 5.1075 | 3.089 | 51.04 | 123.88 | 21.88 | 71.38 | 24.5 | 76.1
2026-08-09T16:50:54.056-07:00 | [11 empty] | 5.2128 | 3.1196 | 51.35 | 124.44 | 22.29 | 72.12 | 23.8 | 74.84
2026-08-09T16:50:56.077-07:00 | [11 empty] | 5.317 | 3.0839 | 51.35 | 124.44 | 22.08 | 71.75 | 24 | 75.2
2026-08-09T16:50:58.161-07:00 | [11 empty] | 5.4256 | 3.1094 | 51.25 | 124.25 | 21.77 | 71.19 | 24.5 | 76.1
2026-08-09T16:50:59.748-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:51:00.165-07:00 | [11 empty] | 5.5295 | 3.1196 | 51.56 | 124.81 | 22.5 | 72.5 | 24.5 | 76.1
2026-08-09T16:51:02.169-07:00 | [11 empty] | 5.6332 | 3.1247 | 51.77 | 125.19 | 22.29 | 72.12 | 24.1 | 75.38
2026-08-09T16:51:04.176-07:00 | [11 empty] | 5.7374 | 3.1196 | 51.35 | 124.44 | 21.98 | 71.56 | 24.5 | 76.1
2026-08-09T16:51:06.189-07:00 | [11 empty] | 5.8418 | 3.1196 | 51.56 | 124.81 | 22.6 | 72.69 | 24.4 | 75.92
2026-08-09T16:51:08.211-07:00 | [11 empty] | 5.9467 | 3.1196 | 51.67 | 125 | 22.29 | 72.12 | 24.2 | 75.56
2026-08-09T16:51:10.231-07:00 | [11 empty] | 6.0516 | 3.1298 | 51.87 | 125.37 | 22.71 | 72.88 | 23.8 | 74.84
2026-08-09T16:51:12.251-07:00 | [11 empty] | 6.1565 | 3.1247 | 51.87 | 125.37 | 22.81 | 73.06 | 24.5 | 76.1
2026-08-09T16:51:14.271-07:00 | [11 empty] | 6.2614 | 3.1145 | 51.56 | 124.81 | 22.71 | 72.88 | 24.4 | 75.92
2026-08-09T16:51:16.291-07:00 | [11 empty] | 6.3662 | 3.0941 | 51.35 | 124.44 | 22.81 | 73.06 | 24.2 | 75.56
2026-08-09T16:51:18.311-07:00 | [11 empty] | 6.4711 | 3.1196 | 51.56 | 124.81 | 22.92 | 73.25 | 24.5 | 76.1
2026-08-09T16:51:20.331-07:00 | [11 empty] | 6.5758 | 3.1247 | 51.87 | 125.37 | 23.23 | 73.81 | 24.2 | 75.56
2026-08-09T16:51:22.351-07:00 | [11 empty] | 6.6806 | 3.0992 | 52.08 | 125.75 | 23.33 | 74 | 24.3 | 75.74
2026-08-09T16:51:24.371-07:00 | [11 empty] | 6.7855 | 3.1247 | 51.56 | 124.81 | 23.12 | 73.62 | 24 | 75.2
2026-08-09T16:51:26.391-07:00 | [11 empty] | 6.8908 | 3.1247 | 51.77 | 125.19 | 23.65 | 74.56 | 24.2 | 75.56
2026-08-09T16:51:28.411-07:00 | [11 empty] | 6.9961 | 3.1145 | 51.56 | 124.81 | 23.54 | 74.38 | 24 | 75.2
2026-08-09T16:51:30.432-07:00 | [11 empty] | 7.1012 | 3.1349 | 51.87 | 125.37 | 23.85 | 74.94 | 24 | 75.2
2026-08-09T16:51:32.452-07:00 | [11 empty] | 7.2066 | 3.1298 | 51.67 | 125 | 23.96 | 75.12 | 24.1 | 75.38
2026-08-09T16:51:34.471-07:00 | [11 empty] | 7.3117 | 3.1196 | 52.08 | 125.75 | 23.85 | 74.94 | 24.6 | 76.28
2026-08-09T16:51:36.492-07:00 | [11 empty] | 7.4172 | 3.1502 | 51.67 | 125 | 24.27 | 75.69 | 24.7 | 76.46
2026-08-09T16:51:38.512-07:00 | [11 empty] | 7.5229 | 3.1349 | 51.87 | 125.37 | 24.58 | 76.25 | 24.2 | 75.56
2026-08-09T16:51:40.532-07:00 | [11 empty] | 7.6284 | 3.14 | 52.08 | 125.75 | 25 | 77 | 24.3 | 75.74
2026-08-09T16:51:42.551-07:00 | [11 empty] | 7.734 | 3.1349 | 51.56 | 124.81 | 25.21 | 77.38 | 24.6 | 76.28
2026-08-09T16:51:44.571-07:00 | [11 empty] | 7.8397 | 3.1349 | 51.98 | 125.56 | 25.21 | 77.38 | 24.4 | 75.92
2026-08-09T16:51:46.579-07:00 | [11 empty] | 7.9452 | 3.1349 | 51.56 | 124.81 | 25.31 | 77.56 | 24.8 | 76.64
2026-08-09T16:51:48.588-07:00 | [11 empty] | 8.0493 | 3.1094 | 51.77 | 125.19 | 25.73 | 78.31 | 24.3 | 75.74
2026-08-09T16:51:50.607-07:00 | [11 empty] | 8.154 | 3.1043 | 51.77 | 125.19 | 26.25 | 79.25 | 24 | 75.2
2026-08-09T16:51:52.629-07:00 | [11 empty] | 8.2594 | 3.1298 | 51.56 | 124.81 | 26.35 | 79.44 | 24.5 | 76.1
2026-08-09T16:51:54.650-07:00 | [11 empty] | 8.3644 | 3.1247 | 51.87 | 125.37 | 26.77 | 80.19 | 24 | 75.2
2026-08-09T16:51:56.672-07:00 | [11 empty] | 8.4698 | 3.1298 | 51.87 | 125.37 | 27.08 | 80.75 | 24.2 | 75.56
2026-08-09T16:51:58.693-07:00 | [11 empty] | 8.5752 | 3.1247 | 51.87 | 125.37 | 27.6 | 81.69 | 24.5 | 76.1
2026-08-09T16:51:59.385-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:52:00.716-07:00 | [11 empty] | 8.6813 | 3.1553 | 51.77 | 125.19 | 27.6 | 81.69 | 24.5 | 76.1
2026-08-09T16:52:02.737-07:00 | [11 empty] | 8.787 | 3.1451 | 51.98 | 125.56 | 27.6 | 81.69 | 24.6 | 76.28
2026-08-09T16:52:04.759-07:00 | [11 empty] | 8.893 | 3.1553 | 51.87 | 125.37 | 28.12 | 82.62 | 24.1 | 75.38
2026-08-09T16:52:06.780-07:00 | [11 empty] | 8.999 | 3.1502 | 51.77 | 125.19 | 28.33 | 83 | 24.5 | 76.1
2026-08-09T16:52:07.288-07:00 | [11 empty] | 9.0255 | 3.14 | 51.77 | 125.19 | 28.33 | 83 | 23.9 | 75.02
2026-08-09T16:52:07.392-07:00 |  |  | water_draw_completed | water_draw_3 | ok
2026-08-09T16:53:00.014-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:53:59.652-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:55:00.281-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:55:59.919-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:56:59.556-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:58:00.185-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:58:29.244-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T16:58:29.485-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T16:58:59.999-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T16:59:59.636-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:01:00.282-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:01:59.903-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:02:59.541-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:04:00.155-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:04:59.776-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:05:59.382-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:07:00.011-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:07:59.633-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:09:00.246-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:09:59.884-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:10:59.505-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:11:59.579-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:11:59.855-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:12:00.422-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:13:00.060-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:13:59.681-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:14:59.319-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:15:59.948-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:16:59.586-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:18:00.215-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:18:59.853-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:19:59.490-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:21:00.136-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:21:59.773-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:22:59.411-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:24:00.024-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:24:59.661-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:25:29.718-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:25:29.953-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:25:59.491-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:27:00.104-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:27:59.742-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:28:59.363-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:29:59.977-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:30:59.614-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:32:00.243-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:32:59.881-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:33:59.503-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:35:00.132-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:35:59.754-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:36:59.391-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:38:00.021-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:38:59.092-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:38:59.363-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:38:59.930-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:39:59.568-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:41:00.197-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:41:59.835-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:42:59.456-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:44:00.086-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:44:59.723-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:45:59.361-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:47:00.006-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:47:59.644-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:48:59.714-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:48:59.994-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:49:00.577-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:49:14.625-07:00 |  |  | command_sent | load_up | pending
2026-08-09T17:49:14.839-07:00 |  |  | command_completed | load_up | ok
2026-08-09T17:49:21.251-07:00 | [5 empty] | 239.566 | 0.231 | 48.871 | 45.523 | 66.946 | 0.729
2026-08-09T17:49:59.399-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:50:24.619-07:00 | [5 empty] | 239.175 | 5.615 | 1049.048 | 856.577 | 1354.658 | 0.774
2026-08-09T17:50:25.625-07:00 | [5 empty] | 239.67 | 1.181 | 253.057 | 149.96 | 294.564 | 0.859
2026-08-09T17:50:26.632-07:00 | [5 empty] | 239.722 | 1.284 | 277.827 | 157.324 | 319.334 | 0.869
2026-08-09T17:50:34.682-07:00 | [5 empty] | 239.496 | 1.393 | 306.614 | 158.328 | 345.108 | 0.888
2026-08-09T17:50:38.706-07:00 | [5 empty] | 239.54 | 1.6 | 357.493 | 167.031 | 394.983 | 0.905
2026-08-09T17:50:39.713-07:00 | [5 empty] | 239.479 | 1.708 | 385.61 | 167.366 | 420.757 | 0.917
2026-08-09T17:50:42.731-07:00 | [5 empty] | 239.418 | 1.567 | 349.459 | 166.027 | 386.949 | 0.902
2026-08-09T17:50:49.756-07:00 | [5 empty] | 239.453 | 1.465 | 323.35 | 163.014 | 362.514 | 0.893
2026-08-09T17:51:00.028-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-09T17:51:05.849-07:00 | [5 empty] | 239.574 | 1.364 | 298.58 | 158.997 | 338.413 | 0.882
2026-08-09T17:51:17.920-07:00 | [5 empty] | 239.644 | 1.484 | 328.706 | 162.679 | 367.2 | 0.896
2026-08-09T17:51:41.054-07:00 | [5 empty] | 239.6 | 1.38 | 305.275 | 154.311 | 342.095 | 0.892
2026-08-09T17:51:54.113-07:00 | [5 empty] | 239.375 | 1.496 | 332.053 | 161.34 | 369.543 | 0.899
2026-08-09T17:51:59.650-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:52:29.705-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T17:52:29.941-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T17:52:59.479-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:54:00.109-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:54:59.730-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:55:59.368-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:56:59.997-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:57:59.602-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:59:00.232-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T17:59:59.869-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:00:59.491-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:02:00.104-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:02:59.742-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:03:59.379-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:05:00.009-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:05:59.073-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:05:59.351-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:05:59.934-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:06:59.571-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:08:00.201-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:08:59.838-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:09:59.476-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:11:00.121-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:11:59.743-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:12:59.380-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:14:00.010-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:14:59.647-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:16:00.277-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:16:59.914-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:17:59.536-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:19:00.149-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:19:29.202-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:19:29.449-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:19:59.963-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:20:59.600-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:22:00.230-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:22:59.851-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:23:59.457-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:25:00.070-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:25:59.692-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:26:59.329-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:27:59.958-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:28:59.580-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:30:00.209-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:30:59.831-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:31:59.452-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:32:59.517-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:32:59.802-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:33:00.386-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:34:00.023-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:34:59.661-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:36:00.290-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:36:59.912-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:37:59.549-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:39:00.179-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:39:59.800-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:40:59.438-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:42:00.067-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:42:59.705-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:43:59.342-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:44:59.971-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:45:59.609-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:46:29.661-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:46:29.900-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:46:59.438-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:48:00.067-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:48:59.130-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:48:59.410-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T18:48:59.993-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-09T18:49:14.038-07:00 |  |  | command_sent | run_normal | pending
2026-08-09T18:49:14.255-07:00 |  |  | command_completed | run_normal | ok
2026-08-09T18:49:59.807-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:50:59.444-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:52:00.057-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:52:59.695-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:53:59.332-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:54:59.961-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:55:59.583-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:57:00.212-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:57:59.850-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:58:59.487-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T18:59:59.546-07:00 |  |  | command_sent | outside_communication | pending
2026-08-09T18:59:59.837-07:00 |  |  | command_completed | outside_communication | ok
2026-08-09T19:00:00.421-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:01:00.058-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:01:59.680-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:02:59.221-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:03:59.834-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:04:59.472-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:06:00.101-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:06:59.739-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:07:59.360-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:08:59.990-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:09:31.751-07:00 |  |  | command_sent | run_normal | pending
2026-08-09T19:09:31.993-07:00 |  |  | command_completed | run_normal | ok
2026-08-09T19:09:34.144-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-09T19:09:34.184-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-09 13:08:58 | 1 | 129 | 0 | success | 48 | 3030 | 00 | false | 0x1234 | 0x0003 | Water Heater - Heat Pump | 0109 | 00000001 | 0203,0000,50gal | true |  | false

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes
TRUE | load_up_1 | 00:00:00 | pre_event | cta | load_up | unknown |  |  | 3¦6
TRUE | grid_emergency_1 | 01:30:00 | event | cta | grid_emergency | unknown |  |  | 2¦4
TRUE | water_draw_1 | 02:00:00 | recovery | water_draw | water_draw |  |  |  |  | 15 | 3
TRUE | water_draw_2 | 02:30:00 | event | water_draw | water_draw |  |  |  |  | 2 | 3
TRUE | water_draw_3 | 03:40:00 | event | water_draw | water_draw |  |  |  |  | 9 | 3
TRUE | load_up_2 | 04:40:00 | recovery | cta | load_up | unknown |  |  | 3¦6
TRUE | run_normal_1 | 05:40:00 | recovery | cta | run_normal | unknown |  |  | 0¦1
TRUE | test_end | 06:00:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 8340
cumulative_electricity_end_Wh | 10017
cumulative_electricity_change_Wh | 1677
total_energy_storage_Wh | 4026
present_energy_storage_start_Wh | 450
present_energy_storage_end_Wh | 300
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 1950
advanced_total_energy_storage_Wh
advanced_present_energy_storage_Wh