## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-30T16:36:39.964-07:00 | [5 empty] | 120.77 | 0 | 2.314 | 8.099 | 9.256 | 0.375
2026-08-30T16:36:40.059-07:00 |  |  | controller_started | controller | started
2026-08-30T16:36:40.063-07:00 |  |  | serial_open | serial_port | ok
2026-08-30T16:36:40.064-07:00 |  |  | communication_started | cta2045 | started
2026-08-30T16:36:40.984-07:00 | 11 | Idle, opted out | operational_state | query_operational_state | received
2026-08-30T16:36:42.024-07:00 |  |  | command_sent | outside_communication1 | pending
2026-08-30T16:36:42.272-07:00 |  |  | command_completed | outside_communication1 | ok
2026-08-30T16:36:56.280-07:00 |  |  | command_sent | load_up | pending
2026-08-30T16:36:56.494-07:00 |  |  | command_completed | load_up | ok
2026-08-30T16:37:10.675-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-30T16:37:21.189-07:00 | [5 empty] | 120.76 | 0.181 | 20.826 | 25.454 | 33.552 | 0.62
2026-08-30T16:37:25.213-07:00 | [5 empty] | 120.78 | 0.297 | 32.396 | 37.023 | 49.75 | 0.65
2026-08-30T16:37:41.262-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:37:58.372-07:00 | [5 empty] | 118.636 | 27.236 | 2839.236 | 2245.703 | 3620.199 | 0.784
2026-08-30T16:37:59.379-07:00 | [5 empty] | 120.624 | 2.129 | 282.304 | 85.617 | 296.188 | 0.957
2026-08-30T16:38:00.385-07:00 | [5 empty] | 120.585 | 2.462 | 330.897 | 83.303 | 341.31 | 0.969
2026-08-30T16:38:02.397-07:00 | [5 empty] | 120.546 | 2.855 | 386.432 | 84.46 | 396.845 | 0.977
2026-08-30T16:38:03.404-07:00 | [5 empty] | 120.565 | 2.732 | 365.607 | 87.931 | 377.176 | 0.972
2026-08-30T16:38:07.428-07:00 | [5 empty] | 120.565 | 2.848 | 381.804 | 84.46 | 391.06 | 0.973
2026-08-30T16:38:10.446-07:00 | [5 empty] | 120.555 | 3.054 | 407.258 | 97.187 | 419.985 | 0.972
2026-08-30T16:38:11.452-07:00 | [5 empty] | 120.507 | 3.187 | 428.084 | 94.873 | 438.496 | 0.976
2026-08-30T16:38:11.512-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:38:20.505-07:00 | [5 empty] | 120.653 | 3.08 | 411.886 | 102.971 | 424.613 | 0.97
2026-08-30T16:38:25.535-07:00 | [5 empty] | 120.555 | 2.967 | 398.002 | 85.617 | 408.415 | 0.977
2026-08-30T16:38:32.576-07:00 | [5 empty] | 120.478 | 3.071 | 411.886 | 92.559 | 422.299 | 0.975
2026-08-30T16:38:41.107-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:38:44.636-07:00 | [5 empty] | 120.526 | 3.183 | 425.77 | 99.501 | 437.339 | 0.973
2026-08-30T16:38:56.699-07:00 | [5 empty] | 120.487 | 3.29 | 439.653 | 100.657 | 452.38 | 0.974
2026-08-30T16:39:11.358-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:39:15.810-07:00 | [5 empty] | 120.39 | 3.391 | 453.537 | 97.187 | 465.107 | 0.978
2026-08-30T16:39:28.885-07:00 | [5 empty] | 120.478 | 3.538 | 472.049 | 104.128 | 484.776 | 0.976
2026-08-30T16:39:30.898-07:00 | [5 empty] | 120.526 | 3.437 | 460.479 | 102.971 | 472.049 | 0.975
2026-08-30T16:39:34.921-07:00 | [5 empty] | 120.429 | 3.547 | 474.363 | 105.285 | 478.991 | 0.978
2026-08-30T16:39:40.953-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:39:57.030-07:00 | [5 empty] | 120.487 | 3.65 | 485.933 | 111.07 | 499.817 | 0.974
2026-08-30T16:40:06.081-07:00 | [5 empty] | 120.458 | 3.774 | 504.444 | 108.756 | 517.171 | 0.978
2026-08-30T16:40:11.203-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:40:18.151-07:00 | [5 empty] | 120.331 | 3.909 | 520.642 | 120.326 | 534.526 | 0.974
2026-08-30T16:40:34.245-07:00 | [5 empty] | 120.439 | 4.016 | 534.526 | 122.64 | 546.096 | 0.972
2026-08-30T16:40:41.790-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:40:57.345-07:00 | [5 empty] | 120.468 | 4.192 | 553.038 | 129.582 | 568.079 | 0.973
2026-08-30T16:41:11.033-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:41:14.445-07:00 | [5 empty] | 120.419 | 4.33 | 576.177 | 127.268 | 591.218 | 0.976
2026-08-30T16:41:29.532-07:00 | [5 empty] | 120.302 | 4.467 | 594.689 | 134.21 | 609.73 | 0.975
2026-08-30T16:41:33.556-07:00 | [5 empty] | 120.156 | 4.578 | 608.573 | 130.739 | 623.614 | 0.978
2026-08-30T16:41:41.604-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:41:44.610-07:00 | [5 empty] | 120.4 | 4.774 | 634.027 | 149.251 | 651.381 | 0.973
2026-08-30T16:41:46.615-07:00 | [5 empty] | 120.37 | 4.643 | 617.829 | 130.739 | 632.87 | 0.978
2026-08-30T16:41:48.627-07:00 | [5 empty] | 120.4 | 4.524 | 599.317 | 144.623 | 617.829 | 0.972
2026-08-30T16:42:10.847-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:42:14.779-07:00 | [5 empty] | 120.341 | 4.629 | 613.201 | 146.937 | 631.713 | 0.972
2026-08-30T16:42:37.913-07:00 | [5 empty] | 120.4 | 4.734 | 631.713 | 133.053 | 645.596 | 0.978
2026-08-30T16:42:41.433-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-30T16:42:57.007-07:00 | [5 empty] | 120.302 | 4.629 | 613.201 | 141.152 | 630.556 | 0.974
2026-08-30T16:42:59.019-07:00 | [5 empty] | 120.439 | 4.739 | 631.713 | 133.053 | 646.753 | 0.979
2026-08-30T16:43:00.026-07:00 | [5 empty] | 120.283 | 4.625 | 615.515 | 130.739 | 630.556 | 0.978
2026-08-30T16:43:06.236-07:00 |  |  | command_sent | run_normal | pending
2026-08-30T16:43:06.509-07:00 |  |  | command_completed | run_normal | ok
2026-08-30T16:43:06.510-07:00 |  |  | command_sent | outside_communication | pending
2026-08-30T16:43:06.813-07:00 |  |  | command_completed | outside_communication | ok
2026-08-30T16:43:08.964-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-30T16:43:09.105-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-30 16:36:40 | 1 | 129 | 0 | success | 48 | 4200 | B | true | 0x0118 | 0x0003 | Water Heater - Heat Pump | 0506 | 000001C0 | HPTV-50 | true | 136865*** | true

## Master Schedule
enabled | event_id | time_after_start | phase | draw_type | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | temp_drop_f | max_draw_minutes | notes | advanced_efficiency
TRUE | load_up_1 | 00:00:00 | pre_event |  | cta | load_up | max |  |  | 3¦6
TRUE | run_normal_1 | 01:30:00 | pre_event |  | cta | run_normal | max |  |  | 0¦1
TRUE | water_draw_1 | 01:35:00 | event | Temp Drop | water_draw | water_draw | [6 empty] | 15 | 60
TRUE | test_end | TBD | recovery |  | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 382851
cumulative_electricity_end_Wh | 382881
cumulative_electricity_change_Wh | 30
total_energy_storage_Wh | 2202
present_energy_storage_start_Wh | 120
present_energy_storage_end_Wh | 240
present_energy_storage_minimum_Wh | 120
present_energy_storage_maximum_Wh | 240
advanced_total_energy_storage_Wh | 2412
advanced_present_energy_storage_start_Wh | 330
advanced_present_energy_storage_end_Wh | 450
advanced_present_energy_storage_minimum_Wh | 330
advanced_present_energy_storage_maximum_Wh | 450