## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-11T14:49:44.757-07:00 | [5 empty] | 120.643 | 0 | 2.314 | 9.256 | 10.413 | 0.222
2026-08-11T14:49:44.836-07:00 |  |  | controller_started | controller | started
2026-08-11T14:49:44.840-07:00 |  |  | serial_open | serial_port | ok
2026-08-11T14:49:44.841-07:00 |  |  | communication_started | cta2045 | started
2026-08-11T14:49:45.170-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:49:45.472-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:49:46.312-07:00 | 11 | Idle, opted out | operational_state | query_operational_state | received
2026-08-11T14:50:00.363-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:50:00.575-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-11T14:50:15.747-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-11T14:50:46.318-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-11T14:51:15.577-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-11T14:51:45.640-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:51:45.868-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:51:46.451-07:00 | 6 | Idle Heightened | operational_state | query_operational_state | received
2026-08-11T14:52:00.504-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:52:00.713-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:52:15.902-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:52:45.965-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:52:46.193-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:52:46.793-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:53:00.845-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:53:01.015-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-11T14:53:01.055-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-11T14:53:16.227-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:53:45.288-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:53:45.511-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:53:46.094-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:54:00.145-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:54:00.356-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:54:15.545-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:54:45.605-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:54:45.836-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:54:46.436-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:55:00.486-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:55:00.657-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-11T14:55:00.698-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-11T14:55:15.870-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:55:45.931-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:55:46.162-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:55:46.761-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:56:00.811-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:56:01.023-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:56:16.196-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:56:45.254-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:56:45.479-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:56:46.079-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:57:00.129-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:57:00.300-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-11T14:57:00.341-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-11T14:57:15.513-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:57:45.570-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:57:45.805-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:57:46.404-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:58:00.453-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T14:58:00.666-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T14:58:15.839-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:58:45.895-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:58:46.130-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:58:46.729-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:59:00.778-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T14:59:00.951-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-11T14:59:00.992-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-11T14:59:16.180-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T14:59:45.234-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T14:59:45.480-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T14:59:46.079-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:00:00.127-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:00:00.341-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:00:15.514-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:00:45.568-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:00:45.805-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:00:46.404-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:01:00.451-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:01:00.626-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-11T15:01:00.666-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-11T15:01:15.839-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:01:45.892-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:01:46.130-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:01:46.730-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:02:00.776-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:02:00.992-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:02:16.181-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:02:45.232-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:02:45.464-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:02:46.063-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:03:00.110-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-11T15:03:00.285-07:00 |  |  | intermediate_response | advanced_load_up | error
2026-08-11T15:03:00.326-07:00 |  |  | command_completed | advanced_load_up | bad_value
2026-08-11T15:03:15.332-07:00 |  |  | command_sent | outside_communication | pending
2026-08-11T15:03:15.555-07:00 |  |  | command_completed | outside_communication | ok
2026-08-11T15:03:15.802-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:03:46.373-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:04:00.143-07:00 |  |  | command_sent | run_normal | pending
2026-08-11T15:04:00.443-07:00 |  |  | command_completed | run_normal | ok
2026-08-11T15:04:02.594-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-11T15:04:02.735-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-11 14:49:45 | 1 | 129 | 0 | success | 48 | 4200 | B | true | 0x0118 | 0x0003 | Water Heater - Heat Pump | 0506 | 000001C0 | HPTV-50 | true | 136865*** | true

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | 60 | 10 | 1000_wh | 3¦6 |  |  |  | 1
TRUE | run_normal_1 | 00:02:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_2 | 00:03:00 | event | cta | advanced_load_up | unknown | 100 | 10_wh | 3¦6 |  |  |  | 2
TRUE | run_normal_2 | 00:04:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_3 | 00:05:00 | pre_event | cta | advanced_load_up | unknown | 1000 | 1_wh | 3¦6 |  |  |  | 4
TRUE | run_normal_3 | 00:06:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_4 | 00:07:00 | pre_event | cta | advanced_load_up | unknown | 500 | 10_wh | 3¦6 |  |  |  | 5
TRUE | run_normal_4 | 00:08:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_5 | 00:09:00 | event | cta | advanced_load_up | 100 | 70 | 100_wh | 3¦6 |  |  |  | 6
TRUE | run_normal_5 | 00:10:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_6 | 00:11:00 | event | cta | advanced_load_up | 60 | 10 | 1000_wh | 3¦6 |  |  |  | 7
TRUE | run_normal_6 | 00:12:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | advanced_load_up_7 | 00:13:00 | event | cta | advanced_load_up | 60 | 10 | 1000_wh | 3¦6 |  |  |  | 8
TRUE | test_end | 00:14:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 367845
cumulative_electricity_end_Wh | 367845
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 2202
present_energy_storage_start_Wh | 0
present_energy_storage_end_Wh | 0
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 0
advanced_total_energy_storage_Wh | 2412
advanced_present_energy_storage_start_Wh | 240
advanced_present_energy_storage_end_Wh | 240
advanced_present_energy_storage_minimum_Wh | 240
advanced_present_energy_storage_maximum_Wh | 240