## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-13T15:33:50.305-07:00 | [5 empty] | 241.306 | 0 | 0 | 32.843 | 33.87 | 0.03
2026-08-13T15:33:50.363-07:00 |  |  | controller_started | controller | started
2026-08-13T15:33:50.371-07:00 |  |  | serial_open | serial_port | ok
2026-08-13T15:33:50.372-07:00 |  |  | communication_started | cta2045 | started
2026-08-13T15:33:51.387-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-13T15:33:52.427-07:00 |  |  | command_sent | outside_communication1 | pending
2026-08-13T15:33:52.654-07:00 |  |  | command_completed | outside_communication1 | ok
2026-08-13T15:34:06.664-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-13T15:34:06.911-07:00 |  |  | command_completed | advanced_load_up | ok
2026-08-13T15:34:14.434-07:00 | [5 empty] | 240.886 | 0.225 | 41.054 | 53.371 | 67.74 | 0.605
2026-08-13T15:34:17.453-07:00 | [5 empty] | 240.825 | 0.413 | 71.845 | 86.214 | 112.899 | 0.636
2026-08-13T15:34:21.355-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-13T15:34:22.483-07:00 | [5 empty] | 241.28 | 0.549 | 92.372 | 112.899 | 146.769 | 0.636
2026-08-13T15:34:26.507-07:00 | [5 empty] | 241.044 | 0.424 | 71.845 | 89.293 | 115.978 | 0.628
2026-08-13T15:34:32.561-07:00 | [5 empty] | 241.219 | 0.553 | 86.214 | 118.031 | 97.504 | 0.589
2026-08-13T15:34:35.579-07:00 | [5 empty] | 241.779 | 0.431 | 78.003 | 102.636 | 130.348 | 0.605
2026-08-13T15:34:36.586-07:00 | [5 empty] | 241.114 | 0.544 | 82.109 | 118.031 | 144.717 | 0.574
2026-08-13T15:34:37.592-07:00 | [5 empty] | 241.394 | 0.381 | 65.687 | 81.082 | 105.715 | 0.631
2026-08-13T15:34:46.645-07:00 | [5 empty] | 241.271 | 0.227 | 43.107 | 53.371 | 68.766 | 0.626
2026-08-13T15:34:47.652-07:00 | [5 empty] | 241.324 | 0.386 | 59.529 | 81.082 | 101.609 | 0.596
2026-08-13T15:34:52.014-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-13T15:35:00.728-07:00 | [5 empty] | 241.499 | 0.268 | 45.16 | 62.608 | 78.003 | 0.578
2026-08-13T15:35:01.735-07:00 | [5 empty] | 241.613 | 0.39 | 63.634 | 86.214 | 107.768 | 0.6
2026-08-13T15:35:06.126-07:00 |  |  | water_draw_started | water_draw_1 | started
2026-08-13T15:35:08.018-07:00 | [11 empty] | 0.003857 | 0.1949 | 21.67 | 71 | 23.12 | 73.62 | 22.9 | 73.22
2026-08-13T15:35:10.027-07:00 | [11 empty] | 0.1054 | 2.3284 | 21.67 | 71 | 23.23 | 73.81 | 23.1 | 73.58
2026-08-13T15:35:12.041-07:00 | [11 empty] | 0.18613 | 2.354 | 21.67 | 71 | 23.23 | 73.81 | 22.9 | 73.22
2026-08-13T15:35:14.061-07:00 | [11 empty] | 0.26518 | 2.3233 | 21.98 | 71.56 | 23.54 | 74.38 | 22.8 | 73.04
2026-08-13T15:35:16.080-07:00 | [11 empty] | 0.34311 | 2.3131 | 22.5 | 72.5 | 23.23 | 73.81 | 23 | 73.4
2026-08-13T15:35:18.099-07:00 | [11 empty] | 0.42078 | 2.3386 | 24.06 | 75.31 | 23.12 | 73.62 | 22.9 | 73.22
2026-08-13T15:35:20.118-07:00 | [11 empty] | 0.49858 | 2.2978 | 25.83 | 78.5 | 23.33 | 74 | 23 | 73.4
2026-08-13T15:35:21.294-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-13T15:35:22.138-07:00 | [11 empty] | 0.57445 | 2.2212 | 28.12 | 82.62 | 23.54 | 74.38 | 22.9 | 73.22
2026-08-13T15:35:24.157-07:00 | [11 empty] | 0.64935 | 2.2315 | 29.9 | 85.81 | 23.65 | 74.56 | 23 | 73.4
2026-08-13T15:35:26.176-07:00 | [11 empty] | 0.72306 | 2.1906 | 31.46 | 88.63 | 23.23 | 73.81 | 23 | 73.4
2026-08-13T15:35:26.864-07:00 | [5 empty] | 241.219 | 0.277 | 49.265 | 81.082 | 95.451 | 0.526
2026-08-13T15:35:28.196-07:00 | [11 empty] | 0.79597 | 2.1447 | 33.02 | 91.44 | 23.33 | 74 | 22.9 | 73.22
2026-08-13T15:35:30.215-07:00 | [11 empty] | 0.86848 | 2.1447 | 34.58 | 94.25 | 23.12 | 73.62 | 23 | 73.4
2026-08-13T15:35:31.894-07:00 | [5 empty] | 241.552 | 0.395 | 59.529 | 90.32 | 108.794 | 0.556
2026-08-13T15:35:32.234-07:00 | [11 empty] | 0.94092 | 2.1447 | 35.73 | 96.31 | 23.65 | 74.56 | 22.9 | 73.22
2026-08-13T15:35:34.320-07:00 | [11 empty] | 1.0136 | 2.1294 | 36.56 | 97.81 | 23.44 | 74.19 | 22.8 | 73.04
2026-08-13T15:35:34.913-07:00 | [5 empty] | 241.447 | 0.292 | 36.949 | 74.924 | 100.583 | 0.52
2026-08-13T15:35:36.375-07:00 | [11 empty] | 1.0866 | 2.0936 | 37.4 | 99.31 | 23.12 | 73.62 | 23 | 73.4
2026-08-13T15:35:36.926-07:00 | [5 empty] | 241.271 | 0.401 | 57.476 | 93.399 | 110.847 | 0.527
2026-08-13T15:35:37.934-07:00 | [5 empty] | 241.613 | 0.268 | 32.843 | 69.792 | 78.003 | 0.421
2026-08-13T15:35:38.399-07:00 | [11 empty] | 1.1579 | 2.1498 | 38.02 | 100.44 | 23.33 | 74 | 22.9 | 73.22
2026-08-13T15:35:39.946-07:00 | [5 empty] | 241.525 | 0.37 | 53.371 | 86.214 | 73.898 | 0.444
2026-08-13T15:35:40.418-07:00 | [11 empty] | 1.2285 | 2.0987 | 38.75 | 101.75 | 23.65 | 74.56 | 22.8 | 73.04
2026-08-13T15:35:42.437-07:00 | [11 empty] | 1.2983 | 2.0834 | 39.58 | 103.25 | 23.54 | 74.38 | 22.8 | 73.04
2026-08-13T15:35:44.456-07:00 | [11 empty] | 1.3679 | 2.0273 | 40.1 | 104.19 | 23.54 | 74.38 | 22.8 | 73.04
2026-08-13T15:35:45.982-07:00 | [5 empty] | 241.228 | 3.326 | 658.922 | 261.721 | 710.24 | 0.929
2026-08-13T15:35:46.475-07:00 | [11 empty] | 1.4379 | 2.0732 | 40.31 | 104.56 | 23.65 | 74.56 | 22.9 | 73.22
2026-08-13T15:35:46.988-07:00 | [5 empty] | 241.236 | 3.04 | 712.293 | 231.957 | 749.242 | 0.95
2026-08-13T15:35:47.995-07:00 | [5 empty] | 241.482 | 3.439 | 816.981 | 218.614 | 846.746 | 0.966
2026-08-13T15:35:48.494-07:00 | [11 empty] | 1.5068 | 2.063 | 41.15 | 106.06 | 23.65 | 74.56 | 22.9 | 73.22
2026-08-13T15:35:49.003-07:00 | [5 empty] | 241.49 | 3.718 | 894.984 | 187.824 | 914.485 | 0.979
2026-08-13T15:35:50.013-07:00 | [5 empty] | 241.166 | 3.938 | 950.408 | 176.534 | 966.83 | 0.982
2026-08-13T15:35:50.515-07:00 | [11 empty] | 1.5767 | 2.0783 | 41.67 | 107 | 23.33 | 74 | 22.9 | 73.22
2026-08-13T15:35:51.023-07:00 | [5 empty] | 241.184 | 4.185 | 1016.095 | 144.717 | 1026.358 | 0.989
2026-08-13T15:35:51.955-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-13T15:35:52.032-07:00 | [5 empty] | 241.368 | 4.637 | 1126.941 | 143.69 | 1361.978 | 0.993
2026-08-13T15:35:52.536-07:00 | [11 empty] | 1.6454 | 1.9252 | 41.88 | 107.38 | 23.44 | 74.19 | 22.9 | 73.22
2026-08-13T15:35:54.557-07:00 | [11 empty] | 1.7156 | 2.1039 | 42.29 | 108.13 | 23.65 | 74.56 | 22.9 | 73.22
2026-08-13T15:35:55.051-07:00 | [5 empty] | 241.114 | 4.367 | 1061.255 | 131.374 | 1100.256 | 0.991
2026-08-13T15:35:56.057-07:00 | [5 empty] | 241.324 | 4.53 | 1102.309 | 134.453 | 1110.52 | 0.992
2026-08-13T15:35:56.576-07:00 | [11 empty] | 1.7843 | 2.0732 | 42.5 | 108.5 | 23.65 | 74.56 | 22.9 | 73.22
2026-08-13T15:35:58.595-07:00 | [11 empty] | 1.8536 | 2.0579 | 42.71 | 108.88 | 23.75 | 74.75 | 22.8 | 73.04
2026-08-13T15:36:00.614-07:00 | [11 empty] | 1.923 | 2.0579 | 42.92 | 109.25 | 23.65 | 74.56 | 22.8 | 73.04
2026-08-13T15:36:02.632-07:00 | [11 empty] | 1.9924 | 2.0732 | 43.33 | 110 | 23.75 | 74.75 | 22.9 | 73.22
2026-08-13T15:36:04.649-07:00 | [11 empty] | 2.0616 | 2.1141 | 43.33 | 110 | 23.75 | 74.75 | 22.8 | 73.04
2026-08-13T15:36:05.111-07:00 | [5 empty] | 241.385 | 4.646 | 1131.047 | 136.506 | 1139.258 | 0.992
2026-08-13T15:36:06.668-07:00 | [11 empty] | 2.1305 | 2.0783 | 43.75 | 110.75 | 23.85 | 74.94 | 22.8 | 73.04
2026-08-13T15:36:08.687-07:00 | [11 empty] | 2.2005 | 2.0987 | 43.75 | 110.75 | 23.44 | 74.19 | 22.9 | 73.22
2026-08-13T15:36:10.706-07:00 | [11 empty] | 2.2699 | 2.0681 | 43.85 | 110.94 | 23.96 | 75.12 | 22.9 | 73.22
2026-08-13T15:36:12.152-07:00 | [5 empty] | 241.254 | 4.795 | 1165.943 | 138.558 | 1177.233 | 0.992
2026-08-13T15:36:12.725-07:00 | [11 empty] | 2.3395 | 2.0579 | 44.06 | 111.31 | 23.96 | 75.12 | 22.7 | 72.86
2026-08-13T15:36:14.743-07:00 | [11 empty] | 2.4092 | 2.0681 | 44.58 | 112.25 | 23.75 | 74.75 | 22.9 | 73.22
2026-08-13T15:36:16.762-07:00 | [11 empty] | 2.4773 | 2.0324 | 44.48 | 112.06 | 23.44 | 74.19 | 22.8 | 73.04
2026-08-13T15:36:17.183-07:00 | [5 empty] | 241.657 | 5.033 | 1225.472 | 149.848 | 1234.709 | 0.992
2026-08-13T15:36:18.189-07:00 | [5 empty] | 241.455 | 4.929 | 1204.945 | 121.11 | 1212.129 | 0.994
2026-08-13T15:36:18.781-07:00 | [11 empty] | 2.5472 | 2.0681 | 44.58 | 112.25 | 24.06 | 75.31 | 22.8 | 73.04
2026-08-13T15:36:20.800-07:00 | [11 empty] | 2.6168 | 2.0987 | 44.79 | 112.62 | 23.85 | 74.94 | 22.8 | 73.04
2026-08-13T15:36:21.242-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-13T15:36:22.819-07:00 | [11 empty] | 2.6864 | 2.0477 | 44.9 | 112.81 | 23.96 | 75.12 | 22.9 | 73.22
2026-08-13T15:36:24.838-07:00 | [11 empty] | 2.7557 | 2.0222 | 45 | 113 | 24.17 | 75.5 | 22.9 | 73.22
2026-08-13T15:36:26.857-07:00 | [11 empty] | 2.825 | 2.0018 | 44.9 | 112.81 | 24.06 | 75.31 | 22.9 | 73.22
2026-08-13T15:36:28.876-07:00 | [11 empty] | 2.8942 | 2.0477 | 45.31 | 113.56 | 24.06 | 75.31 | 22.8 | 73.04
2026-08-13T15:36:30.260-07:00 | [5 empty] | 241.158 | 4.804 | 1167.996 | 129.321 | 1176.207 | 0.993
2026-08-13T15:36:30.895-07:00 | [11 empty] | 2.9646 | 2.0732 | 45.52 | 113.94 | 24.06 | 75.31 | 22.9 | 73.22
2026-08-13T15:36:32.914-07:00 | [11 empty] | 3.0341 | 2.0477 | 45.52 | 113.94 | 24.17 | 75.5 | 22.9 | 73.22
2026-08-13T15:36:34.284-07:00 | [5 empty] | 241.438 | 4.668 | 1137.205 | 127.268 | 1144.39 | 0.993
2026-08-13T15:36:34.932-07:00 | [11 empty] | 3.1028 | 2.0477 | 45.62 | 114.12 | 24.27 | 75.69 | 22.8 | 73.04
2026-08-13T15:36:36.951-07:00 | [11 empty] | 3.1719 | 2.063 | 45.52 | 113.94 | 23.85 | 74.94 | 22.9 | 73.22
2026-08-13T15:36:38.970-07:00 | [11 empty] | 3.2412 | 2.0681 | 45.73 | 114.31 | 24.06 | 75.31 | 22.9 | 73.22
2026-08-13T15:36:40.989-07:00 | [11 empty] | 3.3108 | 2.109 | 45.83 | 114.5 | 23.96 | 75.12 | 23 | 73.4
2026-08-13T15:36:43.007-07:00 | [11 empty] | 3.3789 | 2.0681 | 45.94 | 114.69 | 23.96 | 75.12 | 23 | 73.4
2026-08-13T15:36:45.026-07:00 | [11 empty] | 3.4491 | 2.0783 | 45.83 | 114.5 | 24.27 | 75.69 | 22.8 | 73.04
2026-08-13T15:36:47.045-07:00 | [11 empty] | 3.5184 | 2.0477 | 46.04 | 114.88 | 23.85 | 74.94 | 22.8 | 73.04
2026-08-13T15:36:49.063-07:00 | [11 empty] | 3.5873 | 2.0732 | 46.04 | 114.88 | 24.06 | 75.31 | 22.9 | 73.22
2026-08-13T15:36:51.082-07:00 | [11 empty] | 3.6573 | 2.0834 | 46.04 | 114.88 | 23.96 | 75.12 | 23 | 73.4
2026-08-13T15:36:51.304-07:00 |  |  | command_sent | outside_communication1 | pending
2026-08-13T15:36:51.570-07:00 |  |  | command_completed | outside_communication1 | ok
2026-08-13T15:36:52.233-07:00 | 3 | Running Heightened | operational_state | query_operational_state | received
2026-08-13T15:36:53.102-07:00 | [11 empty] | 3.7275 | 2.0528 | 46.15 | 115.06 | 23.85 | 74.94 | 22.9 | 73.22
2026-08-13T15:36:55.120-07:00 | [11 empty] | 3.7973 | 2.0885 | 46.04 | 114.88 | 24.06 | 75.31 | 22.9 | 73.22
2026-08-13T15:36:57.139-07:00 | [11 empty] | 3.8663 | 2.0171 | 46.15 | 115.06 | 24.37 | 75.87 | 22.8 | 73.04
2026-08-13T15:36:59.158-07:00 | [11 empty] | 3.9355 | 2.0426 | 46.35 | 115.44 | 24.17 | 75.5 | 22.7 | 72.86
2026-08-13T15:37:01.176-07:00 | [11 empty] | 4.0048 | 2.063 | 46.25 | 115.25 | 24.06 | 75.31 | 22.8 | 73.04
2026-08-13T15:37:01.181-07:00 | [11 empty] | 4.0048 | 2.063 | 46.25 | 115.25 | 24.06 | 75.31 | 22.8 | 73.04
2026-08-13T15:37:01.395-07:00 |  |  | water_draw_completed | water_draw_1 | ok
2026-08-13T15:37:01.440-07:00 | [5 empty] | 241.788 | 4.768 | 1161.838 | 146.769 | 1171.075 | 0.991
2026-08-13T15:37:06.283-07:00 |  |  | command_sent | run_normal | pending
2026-08-13T15:37:06.528-07:00 |  |  | command_completed | run_normal | ok
2026-08-13T15:37:21.741-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-13T15:37:24.574-07:00 | [5 empty] | 241.508 | 4.881 | 1188.523 | 139.585 | 1196.734 | 0.992
2026-08-13T15:37:25.581-07:00 | [5 empty] | 241.683 | 4.768 | 1161.838 | 129.321 | 1170.049 | 0.993
2026-08-13T15:37:26.587-07:00 | [5 empty] | 241.674 | 4.911 | 1196.734 | 139.585 | 1204.945 | 0.993
2026-08-13T15:37:51.399-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-13T15:37:59.780-07:00 | [5 empty] | 241.438 | 5.011 | 1219.314 | 132.4 | 1227.525 | 0.994
2026-08-13T15:38:12.704-07:00 |  |  | command_sent | run_normal | pending
2026-08-13T15:38:13.008-07:00 |  |  | command_completed | run_normal | ok
2026-08-13T15:38:15.198-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-13T15:38:15.339-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-13 15:33:50 | 1 | 129 | 0 | success | 53 | 4200 | B | true | 0x0150 | 0x0003 | Water Heater - Heat Pump | 0000 | 000001C0 |  | false |  | false | 21 | 11 | 18 | 2021-12-18 | 5 | 14

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | 60 | 100 | 100_wh | 3¦6 |  |  |  | 9
TRUE | run_normal_1 | 00:03:00 | event | cta | run_normal | unknown |  |  | 0¦1
TRUE | water_draw_1 | 00:01:00 | event | water_draw | water_draw |  |  |  |  | 4 | 3
TRUE | test_end | 04:00:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 129000
cumulative_electricity_end_Wh | 129000
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 9190
present_energy_storage_start_Wh | 0
present_energy_storage_end_Wh | 88
present_energy_storage_minimum_Wh | 0
present_energy_storage_maximum_Wh | 88
advanced_total_energy_storage_Wh | 12371
advanced_present_energy_storage_start_Wh | 3181
advanced_present_energy_storage_end_Wh | 3269
advanced_present_energy_storage_minimum_Wh | 3181
advanced_present_energy_storage_maximum_Wh | 3269