## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-09-01T13:09:25.161-07:00 | [5 empty] | 241.773 | 0 | 0 | 10.65 | 11.715 | 0.091
2026-09-01T13:09:25.272-07:00 |  |  | controller_started | controller | started
2026-09-01T13:09:25.277-07:00 |  |  | serial_open | serial_port | ok
2026-09-01T13:09:25.277-07:00 |  |  | communication_started | cta2045 | started
2026-09-01T13:09:26.150-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-09-01T13:09:27.190-07:00 |  |  | command_sent | outside_communication1 | pending
2026-09-01T13:09:27.378-07:00 |  |  | command_completed | outside_communication1 | ok
2026-09-01T13:09:41.384-07:00 |  |  | command_sent | load_up | pending
2026-09-01T13:09:41.588-07:00 |  |  | command_completed | load_up | ok
2026-09-01T13:09:46.123-07:00 |  |  | water_draw_started | water_draw_1 | started
2026-09-01T13:09:48.049-07:00 | [11 empty] | 0 | 0.22042 | 23.12 | 73.62 | 23.33 | 74 | 22.8 | 73.04
2026-09-01T13:09:50.057-07:00 | [11 empty] | 0.1473 | 3.4718 | 24.17 | 75.5 | 23.23 | 73.81 | 22.8 | 73.04
2026-09-01T13:09:52.071-07:00 | [11 empty] | 0.25865 | 3.2676 | 26.15 | 79.06 | 23.23 | 73.81 | 22.8 | 73.04
2026-09-01T13:09:54.090-07:00 | [11 empty] | 0.36699 | 3.1757 | 28.54 | 83.38 | 23.44 | 74.19 | 22.8 | 73.04
2026-09-01T13:09:55.764-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-09-01T13:09:56.113-07:00 | [11 empty] | 0.47331 | 3.1502 | 30.62 | 87.12 | 23.23 | 73.81 | 22.9 | 73.22
2026-09-01T13:09:58.132-07:00 | [11 empty] | 0.57776 | 3.0992 | 32.5 | 90.5 | 23.23 | 73.81 | 22.8 | 73.04
2026-09-01T13:09:58.324-07:00 | [5 empty] | 242.045 | 0.234 | 51.12 | 45.795 | 69.225 | 0.738
2026-09-01T13:10:00.264-07:00 | [11 empty] | 0.68737 | 3.0685 | 34.38 | 93.88 | 23.44 | 74.19 | 22.7 | 72.86
2026-09-01T13:10:02.287-07:00 | [11 empty] | 0.7909 | 3.0736 | 35.73 | 96.31 | 23.54 | 74.38 | 22.9 | 73.22
2026-09-01T13:10:04.306-07:00 | [11 empty] | 0.89407 | 3.0583 | 37.08 | 98.75 | 23.23 | 73.81 | 22.8 | 73.04
2026-09-01T13:10:06.325-07:00 | [11 empty] | 0.99715 | 3.0583 | 38.13 | 100.63 | 23.44 | 74.19 | 22.7 | 72.86
2026-09-01T13:10:08.347-07:00 | [11 empty] | 1.0994 | 3.0379 | 38.85 | 101.94 | 23.12 | 73.62 | 22.7 | 72.86
2026-09-01T13:10:10.366-07:00 | [11 empty] | 1.2022 | 3.0532 | 39.9 | 103.81 | 22.81 | 73.06 | 22.6 | 72.68
2026-09-01T13:10:12.385-07:00 | [11 empty] | 1.305 | 3.0787 | 40.63 | 105.13 | 22.92 | 73.25 | 22.8 | 73.04
2026-09-01T13:10:14.404-07:00 | [11 empty] | 1.4079 | 3.0532 | 41.25 | 106.25 | 22.92 | 73.25 | 22.8 | 73.04
2026-09-01T13:10:16.423-07:00 | [11 empty] | 1.5091 | 2.8491 | 41.98 | 107.56 | 22.81 | 73.06 | 22.7 | 72.86
2026-09-01T13:10:18.443-07:00 | [11 empty] | 1.6079 | 2.9511 | 42.19 | 107.94 | 22.92 | 73.25 | 22.6 | 72.68
2026-09-01T13:10:20.465-07:00 | [11 empty] | 1.7065 | 3.0277 | 42.71 | 108.88 | 22.71 | 72.88 | 22.6 | 72.68
2026-09-01T13:10:22.484-07:00 | [11 empty] | 1.808 | 3.0277 | 43.33 | 110 | 22.71 | 72.88 | 22.6 | 72.68
2026-09-01T13:10:24.503-07:00 | [11 empty] | 1.9125 | 3.0839 | 43.65 | 110.56 | 22.29 | 72.12 | 22.7 | 72.86
2026-09-01T13:10:26.324-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-09-01T13:10:26.517-07:00 | [11 empty] | 2.0172 | 3.1247 | 44.06 | 111.31 | 22.5 | 72.5 | 22.7 | 72.86
2026-09-01T13:10:28.525-07:00 | [11 empty] | 2.1216 | 3.1145 | 44.17 | 111.5 | 22.29 | 72.12 | 22.8 | 73.04
2026-09-01T13:10:30.533-07:00 | [11 empty] | 2.226 | 3.1298 | 44.38 | 111.88 | 22.08 | 71.75 | 22.8 | 73.04
2026-09-01T13:10:32.552-07:00 | [11 empty] | 2.3313 | 3.14 | 44.9 | 112.81 | 22.6 | 72.69 | 22.6 | 72.68
2026-09-01T13:10:34.570-07:00 | [11 empty] | 2.4372 | 3.14 | 45 | 113 | 22.19 | 71.94 | 22.7 | 72.86
2026-09-01T13:10:36.589-07:00 | [11 empty] | 2.5431 | 3.1451 | 45.42 | 113.75 | 22.19 | 71.94 | 22.7 | 72.86
2026-09-01T13:10:38.608-07:00 | [11 empty] | 2.6491 | 3.1451 | 45.42 | 113.75 | 22.29 | 72.12 | 22.8 | 73.04
2026-09-01T13:10:40.627-07:00 | [11 empty] | 2.7546 | 3.1502 | 45.73 | 114.31 | 22.5 | 72.5 | 22.7 | 72.86
2026-09-01T13:10:42.646-07:00 | [11 empty] | 2.8599 | 3.1298 | 46.04 | 114.88 | 22.5 | 72.5 | 22.8 | 73.04
2026-09-01T13:10:44.665-07:00 | [11 empty] | 2.9655 | 3.14 | 45.94 | 114.69 | 22.29 | 72.12 | 22.6 | 72.68
2026-09-01T13:10:46.684-07:00 | [11 empty] | 3.0712 | 3.1451 | 45.94 | 114.69 | 22.5 | 72.5 | 22.7 | 72.86
2026-09-01T13:10:48.703-07:00 | [11 empty] | 3.1769 | 3.1604 | 46.25 | 115.25 | 22.6 | 72.69 | 22.6 | 72.68
2026-09-01T13:10:50.722-07:00 | [11 empty] | 3.2827 | 3.1502 | 46.35 | 115.44 | 22.19 | 71.94 | 22.6 | 72.68
2026-09-01T13:10:52.741-07:00 | [11 empty] | 3.3886 | 3.1604 | 46.35 | 115.44 | 22.29 | 72.12 | 22.7 | 72.86
2026-09-01T13:10:54.760-07:00 | [11 empty] | 3.4947 | 3.1451 | 46.46 | 115.63 | 22.08 | 71.75 | 22.6 | 72.68
2026-09-01T13:10:56.569-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-09-01T13:10:56.779-07:00 | [11 empty] | 3.601 | 3.1502 | 46.46 | 115.63 | 22.4 | 72.31 | 22.6 | 72.68
2026-09-01T13:10:58.798-07:00 | [11 empty] | 3.7074 | 3.1502 | 46.56 | 115.81 | 22.6 | 72.69 | 22.5 | 72.5
2026-09-01T13:11:00.817-07:00 | [11 empty] | 3.8138 | 3.1757 | 46.77 | 116.19 | 22.6 | 72.69 | 22.6 | 72.68
2026-09-01T13:11:01.685-07:00 | [5 empty] | 241.721 | 1.122 | 227.911 | 169.336 | 285.421 | 0.802
2026-09-01T13:11:02.836-07:00 | [11 empty] | 3.9202 | 3.1655 | 46.88 | 116.38 | 22.29 | 72.12 | 22.6 | 72.68
2026-09-01T13:11:03.697-07:00 | [5 empty] | 241.616 | 1.261 | 272.641 | 161.881 | 318.436 | 0.859
2026-09-01T13:11:04.354-07:00 | [11 empty] | 4.0006 | 3.1757 | 46.77 | 116.19 | 22.71 | 72.88 | 22.6 | 72.68
2026-09-01T13:11:04.525-07:00 |  |  | water_draw_completed | water_draw_1 | ok
2026-09-01T13:11:07.707-07:00 | [5 empty] | 241.598 | 1.376 | 302.461 | 168.271 | 346.126 | 0.873
2026-09-01T13:11:13.739-07:00 | [5 empty] | 241.756 | 1.497 | 332.281 | 173.596 | 375.946 | 0.886
2026-09-01T13:11:16.758-07:00 | [5 empty] | 241.957 | 1.607 | 362.101 | 173.596 | 402.571 | 0.901
2026-09-01T13:11:17.764-07:00 | [5 empty] | 241.887 | 1.716 | 387.661 | 181.051 | 429.196 | 0.905
2026-09-01T13:11:26.123-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-09-01T13:11:27.813-07:00 | [5 empty] | 242.106 | 1.609 | 366.361 | 169.336 | 403.636 | 0.907
2026-09-01T13:11:56.370-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-09-01T13:12:02.005-07:00 | [5 empty] | 241.966 | 1.497 | 336.541 | 167.206 | 375.946 | 0.895
2026-09-01T13:12:26.421-07:00 |  |  | command_sent | outside_communication1 | pending
2026-09-01T13:12:26.658-07:00 |  |  | command_completed | outside_communication1 | ok
2026-09-01T13:12:27.216-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-09-01T13:12:41.261-07:00 |  |  | command_sent | run_normal | pending
2026-09-01T13:12:41.468-07:00 |  |  | command_completed | run_normal | ok
2026-09-01T13:12:56.647-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-09-01T13:13:01.201-07:00 |  |  | command_sent | run_normal | pending
2026-09-01T13:13:01.483-07:00 |  |  | command_completed | run_normal | ok
2026-09-01T13:13:01.484-07:00 |  |  | command_sent | outside_communication | pending
2026-09-01T13:13:01.773-07:00 |  |  | command_completed | outside_communication | ok
2026-09-01T13:13:03.923-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-09-01T13:13:04.064-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-09-01 13:09:25 | 1 | 129 | 0 | success | 48 | 3030 | 00 | false | 0x1234 | 0x0003 | Water Heater - Heat Pump | 0109 | 00000001 | 0206,0000,50gal | true |  | false

## Master Schedule
enabled | event_id | time_after_start | phase | draw_type | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | temp_drop_f | max_draw_minutes | notes | advanced_efficiency
TRUE | load_up_1 | 00:00:00 | pre_event |  | cta | load_up | max |  |  | 3¦6
TRUE | run_normal_1 | 0:03:00 | recovery |  | cta | run_normal | max |  |  | 0¦1
TRUE | water_draw_1 | 0:00:05 | event | Volume | water_draw | water_draw |  |  |  |  | 4 | 3
TRUE | test_end | 0:03:20 | recovery |  | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 44472
cumulative_electricity_end_Wh | 44472
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 4026
present_energy_storage_start_Wh | 450
present_energy_storage_end_Wh | 450
present_energy_storage_minimum_Wh | 450
present_energy_storage_maximum_Wh | 450
advanced_total_energy_storage_Wh
advanced_present_energy_storage_Wh