## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-19T10:21:31.446-07:00 | [5 empty] | 478.663 | 0 | 6.695 | 5.356 | 8.703 | -0.769
2026-08-19T10:21:31.552-07:00 |  |  | controller_started | controller | started
2026-08-19T10:21:31.556-07:00 |  |  | serial_open | serial_port | ok
2026-08-19T10:21:31.557-07:00 |  |  | communication_started | cta2045 | started
2026-08-19T10:21:32.443-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-19T10:21:33.483-07:00 |  |  | command_sent | outside_communication1 | pending
2026-08-19T10:21:33.683-07:00 |  |  | command_completed | outside_communication1 | ok
2026-08-19T10:21:47.689-07:00 |  |  | command_sent | load_up | pending
2026-08-19T10:21:47.905-07:00 |  |  | command_completed | load_up | ok
2026-08-19T10:21:52.198-07:00 |  |  | water_draw_started | water_draw_1 | started
2026-08-19T10:21:53.176-07:00 | [11 empty] | 0.014211 | 3.4769 | 25 | 77 | 26.25 | 79.25 | 22.4 | 72.32
2026-08-19T10:21:55.184-07:00 | [11 empty] | 0.16065 | 3.436 | 26.25 | 79.25 | 26.46 | 79.62 | 22.1 | 71.78
2026-08-19T10:21:57.193-07:00 | [11 empty] | 0.27166 | 3.2523 | 28.75 | 83.75 | 26.35 | 79.44 | 22.2 | 71.96
2026-08-19T10:21:59.214-07:00 | [11 empty] | 0.38006 | 3.1757 | 30.73 | 87.31 | 26.98 | 80.56 | 22.1 | 71.78
2026-08-19T10:22:01.234-07:00 | [11 empty] | 0.48643 | 3.1604 | 32.92 | 91.25 | 26.87 | 80.37 | 22.2 | 71.96
2026-08-19T10:22:02.086-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-19T10:22:03.255-07:00 | [11 empty] | 0.5924 | 3.1247 | 34.58 | 94.25 | 26.98 | 80.56 | 21.6 | 70.88
2026-08-19T10:22:05.276-07:00 | [11 empty] | 0.69737 | 3.1196 | 36.35 | 97.44 | 27.4 | 81.31 | 22 | 71.6
2026-08-19T10:22:07.296-07:00 | [11 empty] | 0.80114 | 3.0787 | 37.29 | 99.13 | 27.5 | 81.5 | 21.9 | 71.42
2026-08-19T10:22:09.317-07:00 | [11 empty] | 0.90452 | 3.0685 | 38.65 | 101.56 | 27.6 | 81.69 | 21.8 | 71.24
2026-08-19T10:22:11.338-07:00 | [11 empty] | 1.0072 | 3.0481 | 40 | 104 | 27.81 | 82.06 | 22 | 71.6
2026-08-19T10:22:13.358-07:00 | [11 empty] | 1.1097 | 3.0379 | 40.63 | 105.13 | 27.6 | 81.69 | 22 | 71.6
2026-08-19T10:22:15.379-07:00 | [11 empty] | 1.2123 | 3.0379 | 41.46 | 106.63 | 27.81 | 82.06 | 22.2 | 71.96
2026-08-19T10:22:17.400-07:00 | [11 empty] | 1.3156 | 3.0583 | 41.98 | 107.56 | 28.02 | 82.44 | 21.9 | 71.42
2026-08-19T10:22:19.424-07:00 | [11 empty] | 1.4192 | 3.0736 | 42.71 | 108.88 | 28.54 | 83.38 | 22.2 | 71.96
2026-08-19T10:22:21.444-07:00 | [11 empty] | 1.5223 | 3.0685 | 43.02 | 109.44 | 28.23 | 82.81 | 21.9 | 71.42
2026-08-19T10:22:23.460-07:00 | [11 empty] | 1.6021 | 0.23573 | 43.75 | 110.75 | 28.02 | 82.44 | 22.2 | 71.96
2026-08-19T10:22:25.468-07:00 | [11 empty] | 1.6091 | 0.2051 | 44.58 | 112.25 | 28.44 | 83.19 | 22.3 | 72.14
2026-08-19T10:22:27.478-07:00 | [11 empty] | 1.6164 | 0.2 | 44.58 | 112.25 | 28.75 | 83.75 | 22 | 71.6
2026-08-19T10:22:29.498-07:00 | [11 empty] | 1.6237 | 0.23573 | 45.21 | 113.38 | 28.65 | 83.56 | 22 | 71.6
2026-08-19T10:22:31.519-07:00 | [11 empty] | 1.6307 | 0.22042 | 45.62 | 114.12 | 28.54 | 83.38 | 22.3 | 72.14
2026-08-19T10:22:32.672-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-19T10:22:33.539-07:00 | [11 empty] | 1.6376 | 0.1949 | 45.83 | 114.5 | 28.75 | 83.75 | 21.6 | 70.88
2026-08-19T10:22:35.560-07:00 | [11 empty] | 1.6447 | 0.18979 | 45.83 | 114.5 | 28.75 | 83.75 | 21.9 | 71.42
2026-08-19T10:22:37.580-07:00 | [11 empty] | 1.6523 | 0.22042 | 46.25 | 115.25 | 28.44 | 83.19 | 21.9 | 71.42
2026-08-19T10:22:39.600-07:00 | [11 empty] | 1.6597 | 0.22042 | 46.46 | 115.63 | 28.85 | 83.94 | 21.9 | 71.42
2026-08-19T10:22:41.621-07:00 | [11 empty] | 1.667 | 0.21021 | 46.67 | 116 | 28.75 | 83.75 | 21.5 | 70.7
2026-08-19T10:22:43.641-07:00 | [11 empty] | 1.6739 | 0.2 | 46.77 | 116.19 | 28.85 | 83.94 | 22.2 | 71.96
2026-08-19T10:22:45.656-07:00 | [11 empty] | 1.6813 | 0.21531 | 46.67 | 116 | 28.85 | 83.94 | 22.1 | 71.78
2026-08-19T10:22:47.664-07:00 | [11 empty] | 1.6885 | 0.21531 | 47.19 | 116.94 | 28.85 | 83.94 | 22.2 | 71.96
2026-08-19T10:22:49.673-07:00 | [11 empty] | 1.6954 | 0.2051 | 46.98 | 116.56 | 28.65 | 83.56 | 21.8 | 71.24
2026-08-19T10:22:51.693-07:00 | [11 empty] | 1.7028 | 0.21021 | 47.19 | 116.94 | 29.06 | 84.31 | 22.1 | 71.78
2026-08-19T10:22:53.714-07:00 | [11 empty] | 1.7103 | 0.24083 | 46.98 | 116.56 | 28.75 | 83.75 | 22.2 | 71.96
2026-08-19T10:22:55.734-07:00 | [11 empty] | 1.7179 | 0.21021 | 47.19 | 116.94 | 28.96 | 84.12 | 21.8 | 71.24
2026-08-19T10:22:57.755-07:00 | [11 empty] | 1.7256 | 0.22042 | 47.29 | 117.12 | 28.85 | 83.94 | 21.7 | 71.06
2026-08-19T10:22:59.775-07:00 | [11 empty] | 1.7327 | 0.21531 | 47.4 | 117.31 | 28.85 | 83.94 | 21.5 | 70.7
2026-08-19T10:23:01.796-07:00 | [11 empty] | 1.7398 | 0.2051 | 47.5 | 117.5 | 28.85 | 83.94 | 22.1 | 71.78
2026-08-19T10:23:02.923-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-19T10:23:03.817-07:00 | [11 empty] | 1.7472 | 0.23573 | 47.4 | 117.31 | 28.85 | 83.94 | 22.1 | 71.78
2026-08-19T10:23:05.837-07:00 | [11 empty] | 1.7544 | 0.21531 | 47.6 | 117.69 | 28.85 | 83.94 | 22.3 | 72.14
2026-08-19T10:23:05.931-07:00 | [5 empty] | 480.373 | 0.318 | 66.946 | 162.679 | 176.069 | 0.38
2026-08-19T10:23:07.858-07:00 | [11 empty] | 1.7611 | 0.21021 | 47.6 | 117.69 | 29.06 | 84.31 | 22 | 71.6
2026-08-19T10:23:09.879-07:00 | [11 empty] | 1.7681 | 0.21021 | 47.4 | 117.31 | 28.65 | 83.56 | 21.6 | 70.88
2026-08-19T10:23:11.899-07:00 | [11 empty] | 1.7752 | 0.21021 | 47.5 | 117.5 | 28.96 | 84.12 | 22.3 | 72.14
2026-08-19T10:23:13.919-07:00 | [11 empty] | 1.7827 | 0.22552 | 47.4 | 117.31 | 28.75 | 83.75 | 22.1 | 71.78
2026-08-19T10:23:14.984-07:00 | [5 empty] | 479.991 | 0.421 | 54.896 | 218.245 | 225.274 | 0.245
2026-08-19T10:23:15.940-07:00 | [11 empty] | 1.7899 | 0.22552 | 47.4 | 117.31 | 28.96 | 84.12 | 22 | 71.6
2026-08-19T10:23:17.960-07:00 | [11 empty] | 1.7972 | 0.23062 | 46.98 | 116.56 | 28.65 | 83.56 | 21.9 | 71.42
2026-08-19T10:23:19.981-07:00 | [11 empty] | 1.8043 | 0.2051 | 47.29 | 117.12 | 28.85 | 83.94 | 22.3 | 72.14
2026-08-19T10:23:22.001-07:00 | [11 empty] | 1.8115 | 0.21531 | 47.5 | 117.5 | 28.75 | 83.75 | 21.6 | 70.88
2026-08-19T10:23:24.022-07:00 | [11 empty] | 1.8189 | 0.22042 | 47.5 | 117.5 | 28.54 | 83.38 | 22 | 71.6
2026-08-19T10:23:26.042-07:00 | [11 empty] | 1.826 | 0.22042 | 47.4 | 117.31 | 28.54 | 83.38 | 21.6 | 70.88
2026-08-19T10:23:28.061-07:00 | [11 empty] | 1.8337 | 0.23062 | 47.08 | 116.75 | 28.65 | 83.56 | 21.8 | 71.24
2026-08-19T10:23:30.083-07:00 | [11 empty] | 1.841 | 0.22552 | 47.4 | 117.31 | 28.85 | 83.94 | 22.4 | 72.32
2026-08-19T10:23:32.103-07:00 | [11 empty] | 1.8482 | 0.21021 | 47.08 | 116.75 | 28.44 | 83.19 | 22.1 | 71.78
2026-08-19T10:23:32.502-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-19T10:23:34.122-07:00 | [11 empty] | 1.8553 | 0.21021 | 46.56 | 115.81 | 28.96 | 84.12 | 22.2 | 71.96
2026-08-19T10:23:36.142-07:00 | [11 empty] | 1.8628 | 0.22042 | 46.77 | 116.19 | 28.75 | 83.75 | 22.2 | 71.96
2026-08-19T10:23:38.161-07:00 | [11 empty] | 1.8702 | 0.2051 | 46.88 | 116.38 | 28.54 | 83.38 | 22.2 | 71.96
2026-08-19T10:23:40.181-07:00 | [11 empty] | 1.8775 | 0.21531 | 46.88 | 116.38 | 28.96 | 84.12 | 21.7 | 71.06
2026-08-19T10:23:42.202-07:00 | [11 empty] | 1.8848 | 0.21531 | 46.67 | 116 | 28.75 | 83.75 | 21.8 | 71.24
2026-08-19T10:23:44.222-07:00 | [11 empty] | 1.892 | 0.21531 | 46.88 | 116.38 | 28.96 | 84.12 | 21.9 | 71.42
2026-08-19T10:23:46.243-07:00 | [11 empty] | 1.8992 | 0.21531 | 46.56 | 115.81 | 28.96 | 84.12 | 22 | 71.6
2026-08-19T10:23:48.263-07:00 | [11 empty] | 1.9065 | 0.21531 | 46.56 | 115.81 | 28.96 | 84.12 | 22.1 | 71.78
2026-08-19T10:23:50.284-07:00 | [11 empty] | 1.914 | 0.21021 | 46.46 | 115.63 | 28.75 | 83.75 | 21.7 | 71.06
2026-08-19T10:23:52.305-07:00 | [11 empty] | 1.9213 | 0.21531 | 46.56 | 115.81 | 28.75 | 83.75 | 22 | 71.6
2026-08-19T10:23:54.325-07:00 | [11 empty] | 1.9289 | 0.21021 | 46.04 | 114.88 | 28.75 | 83.75 | 21.9 | 71.42
2026-08-19T10:23:56.346-07:00 | [11 empty] | 1.9362 | 0.21021 | 46.15 | 115.06 | 28.54 | 83.38 | 22.3 | 72.14
2026-08-19T10:23:58.366-07:00 | [11 empty] | 1.9436 | 0.21531 | 46.35 | 115.44 | 28.65 | 83.56 | 21.9 | 71.42
2026-08-19T10:24:00.387-07:00 | [11 empty] | 1.9507 | 0.22042 | 46.25 | 115.25 | 28.54 | 83.38 | 22 | 71.6
2026-08-19T10:24:02.408-07:00 | [11 empty] | 1.9579 | 0.2051 | 46.04 | 114.88 | 28.44 | 83.19 | 22 | 71.6
2026-08-19T10:24:02.753-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-19T10:24:04.429-07:00 | [11 empty] | 1.9652 | 0.2051 | 45.94 | 114.69 | 28.54 | 83.38 | 22 | 71.6
2026-08-19T10:24:06.450-07:00 | [11 empty] | 1.9722 | 0.2 | 45.94 | 114.69 | 28.75 | 83.75 | 21.7 | 71.06
2026-08-19T10:24:08.471-07:00 | [11 empty] | 1.9796 | 0.24083 | 46.04 | 114.88 | 28.75 | 83.75 | 21.5 | 70.7
2026-08-19T10:24:10.491-07:00 | [11 empty] | 1.987 | 0.21021 | 45.83 | 114.5 | 28.44 | 83.19 | 21.8 | 71.24
2026-08-19T10:24:12.512-07:00 | [11 empty] | 1.9946 | 0.23573 | 45.83 | 114.5 | 28.75 | 83.75 | 22 | 71.6
2026-08-19T10:24:14.532-07:00 | [11 empty] | 2.0019 | 0.2051 | 46.15 | 115.06 | 28.54 | 83.38 | 21.7 | 71.06
2026-08-19T10:24:16.553-07:00 | [11 empty] | 2.0091 | 0.2051 | 45.83 | 114.5 | 28.85 | 83.94 | 22 | 71.6
2026-08-19T10:24:18.574-07:00 | [11 empty] | 2.0166 | 0.21531 | 45.62 | 114.12 | 28.65 | 83.56 | 22.1 | 71.78
2026-08-19T10:24:20.594-07:00 | [11 empty] | 2.0237 | 0.21021 | 45.52 | 113.94 | 28.85 | 83.94 | 21.8 | 71.24
2026-08-19T10:24:22.615-07:00 | [11 empty] | 2.0309 | 0.21531 | 45.42 | 113.75 | 28.65 | 83.56 | 22 | 71.6
2026-08-19T10:24:24.635-07:00 | [11 empty] | 2.0381 | 0.22042 | 45.42 | 113.75 | 28.33 | 83 | 21.6 | 70.88
2026-08-19T10:24:26.656-07:00 | [11 empty] | 2.0453 | 0.21021 | 45.52 | 113.94 | 28.33 | 83 | 22.1 | 71.78
2026-08-19T10:24:28.676-07:00 | [11 empty] | 2.0526 | 0.2051 | 45.52 | 113.94 | 28.44 | 83.19 | 22.1 | 71.78
2026-08-19T10:24:30.697-07:00 | [11 empty] | 2.0599 | 0.23062 | 45.31 | 113.56 | 28.44 | 83.19 | 21.8 | 71.24
2026-08-19T10:24:32.717-07:00 | [11 empty] | 2.0673 | 0.23573 | 45.31 | 113.56 | 28.65 | 83.56 | 22.1 | 71.78
2026-08-19T10:24:32.804-07:00 |  |  | command_sent | outside_communication1 | pending
2026-08-19T10:24:33.044-07:00 |  |  | command_completed | outside_communication1 | ok
2026-08-19T10:24:33.627-07:00 | 4 | Idle Curtailed | operational_state | query_operational_state | received
2026-08-19T10:24:34.738-07:00 | [11 empty] | 2.075 | 0.23062 | 45.21 | 113.38 | 28.85 | 83.94 | 22 | 71.6
2026-08-19T10:24:36.759-07:00 | [11 empty] | 2.0823 | 0.2051 | 45.1 | 113.19 | 28.44 | 83.19 | 22 | 71.6
2026-08-19T10:24:38.779-07:00 | [11 empty] | 2.0895 | 0.2051 | 45 | 113 | 28.75 | 83.75 | 21.7 | 71.06
2026-08-19T10:24:40.800-07:00 | [11 empty] | 2.0966 | 0.2051 | 45 | 113 | 28.33 | 83 | 21.9 | 71.42
2026-08-19T10:24:42.820-07:00 | [11 empty] | 2.1039 | 0.21531 | 45 | 113 | 28.75 | 83.75 | 22 | 71.6
2026-08-19T10:24:44.837-07:00 | [11 empty] | 2.1113 | 0.23062 | 44.69 | 112.44 | 28.54 | 83.38 | 22 | 71.6
2026-08-19T10:24:46.856-07:00 | [11 empty] | 2.1187 | 0.21021 | 44.69 | 112.44 | 28.75 | 83.75 | 21.8 | 71.24
2026-08-19T10:24:47.673-07:00 |  |  | command_sent | run_normal | pending
2026-08-19T10:24:47.889-07:00 |  |  | command_completed | run_normal | ok
2026-08-19T10:24:48.875-07:00 | [11 empty] | 2.1259 | 0.21531 | 44.48 | 112.06 | 28.65 | 83.56 | 21.9 | 71.42
2026-08-19T10:24:50.894-07:00 | [11 empty] | 2.1335 | 0.22552 | 44.69 | 112.44 | 28.44 | 83.19 | 21.6 | 70.88
2026-08-19T10:24:52.914-07:00 | [11 empty] | 2.1408 | 0.22042 | 44.38 | 111.88 | 28.54 | 83.38 | 21.9 | 71.42
2026-08-19T10:24:54.934-07:00 | [11 empty] | 2.1478 | 0.2 | 44.48 | 112.06 | 28.75 | 83.75 | 22.1 | 71.78
2026-08-19T10:24:56.954-07:00 | [11 empty] | 2.1547 | 0.1949 | 44.38 | 111.88 | 28.12 | 82.62 | 22 | 71.6
2026-08-19T10:24:58.975-07:00 | [11 empty] | 2.1621 | 0.23062 | 44.48 | 112.06 | 28.54 | 83.38 | 21.6 | 70.88
2026-08-19T10:25:00.996-07:00 | [11 empty] | 2.1694 | 0.22042 | 44.48 | 112.06 | 28.65 | 83.56 | 21.7 | 71.06
2026-08-19T10:25:02.070-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-19T10:25:03.016-07:00 | [11 empty] | 2.1764 | 0.2051 | 44.27 | 111.69 | 28.75 | 83.75 | 21.7 | 71.06
2026-08-19T10:25:05.037-07:00 | [11 empty] | 2.1837 | 0.22552 | 44.06 | 111.31 | 28.23 | 82.81 | 21.9 | 71.42
2026-08-19T10:25:07.058-07:00 | [11 empty] | 2.1912 | 0.22042 | 44.27 | 111.69 | 28.54 | 83.38 | 22 | 71.6
2026-08-19T10:25:09.078-07:00 | [11 empty] | 2.1983 | 0.21531 | 44.27 | 111.69 | 28.75 | 83.75 | 21.7 | 71.06
2026-08-19T10:25:11.098-07:00 | [11 empty] | 2.2055 | 0.22042 | 43.96 | 111.13 | 28.54 | 83.38 | 21.8 | 71.24
2026-08-19T10:25:13.119-07:00 | [11 empty] | 2.2131 | 0.24083 | 44.27 | 111.69 | 28.54 | 83.38 | 21.9 | 71.42
2026-08-19T10:25:15.140-07:00 | [11 empty] | 2.22 | 0.21021 | 44.06 | 111.31 | 28.44 | 83.19 | 22.1 | 71.78
2026-08-19T10:25:17.160-07:00 | [11 empty] | 2.2276 | 0.23062 | 43.85 | 110.94 | 28.44 | 83.19 | 21.6 | 70.88
2026-08-19T10:25:19.181-07:00 | [11 empty] | 2.2347 | 0.1949 | 43.85 | 110.94 | 28.44 | 83.19 | 21.6 | 70.88
2026-08-19T10:25:21.201-07:00 | [11 empty] | 2.2419 | 0.2051 | 44.17 | 111.5 | 28.65 | 83.56 | 21.6 | 70.88
2026-08-19T10:25:23.221-07:00 | [11 empty] | 2.2488 | 0.2 | 43.44 | 110.19 | 28.75 | 83.75 | 21.8 | 71.24
2026-08-19T10:25:25.242-07:00 | [11 empty] | 2.2559 | 0.21021 | 43.44 | 110.19 | 28.33 | 83 | 21.6 | 70.88
2026-08-19T10:25:27.262-07:00 | [11 empty] | 2.2634 | 0.23573 | 43.75 | 110.75 | 28.44 | 83.19 | 21.9 | 71.42
2026-08-19T10:25:29.285-07:00 | [11 empty] | 2.2706 | 0.22552 | 43.75 | 110.75 | 28.54 | 83.38 | 21.7 | 71.06
2026-08-19T10:25:31.305-07:00 | [11 empty] | 2.278 | 0.21021 | 43.65 | 110.56 | 28.44 | 83.19 | 22.2 | 71.96
2026-08-19T10:25:32.657-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-19T10:25:33.326-07:00 | [11 empty] | 2.2854 | 0.21531 | 43.33 | 110 | 28.33 | 83 | 21.9 | 71.42
2026-08-19T10:25:35.346-07:00 | [11 empty] | 2.2927 | 0.23573 | 43.54 | 110.38 | 28.12 | 82.62 | 22.1 | 71.78
2026-08-19T10:25:37.367-07:00 | [11 empty] | 2.2999 | 0.21531 | 43.44 | 110.19 | 28.33 | 83 | 21.9 | 71.42
2026-08-19T10:25:39.387-07:00 | [11 empty] | 2.3067 | 0.2051 | 43.12 | 109.62 | 28.33 | 83 | 22.1 | 71.78
2026-08-19T10:25:41.407-07:00 | [11 empty] | 2.3141 | 0.21531 | 43.12 | 109.62 | 28.33 | 83 | 21.6 | 70.88
2026-08-19T10:25:43.428-07:00 | [11 empty] | 2.3216 | 0.22552 | 43.12 | 109.62 | 28.44 | 83.19 | 21.7 | 71.06
2026-08-19T10:25:45.449-07:00 | [11 empty] | 2.3288 | 0.22042 | 43.12 | 109.62 | 28.33 | 83 | 21.6 | 70.88
2026-08-19T10:25:47.469-07:00 | [11 empty] | 2.3364 | 0.23062 | 43.23 | 109.81 | 28.23 | 82.81 | 21.5 | 70.7
2026-08-19T10:25:49.490-07:00 | [11 empty] | 2.3435 | 0.21531 | 43.12 | 109.62 | 28.75 | 83.75 | 21.4 | 70.52
2026-08-19T10:25:51.510-07:00 | [11 empty] | 2.351 | 0.23062 | 43.23 | 109.81 | 27.92 | 82.25 | 21.8 | 71.24
2026-08-19T10:25:53.530-07:00 | [11 empty] | 2.3586 | 0.23062 | 43.12 | 109.62 | 28.12 | 82.62 | 21.6 | 70.88
2026-08-19T10:25:55.551-07:00 | [11 empty] | 2.3656 | 0.2051 | 42.92 | 109.25 | 28.33 | 83 | 21.7 | 71.06
2026-08-19T10:25:57.571-07:00 | [11 empty] | 2.3729 | 0.21531 | 42.92 | 109.25 | 28.44 | 83.19 | 22 | 71.6
2026-08-19T10:25:59.591-07:00 | [11 empty] | 2.3801 | 0.21021 | 42.81 | 109.06 | 28.54 | 83.38 | 22 | 71.6
2026-08-19T10:26:01.611-07:00 | [11 empty] | 2.3873 | 0.22042 | 42.6 | 108.69 | 28.54 | 83.38 | 22 | 71.6
2026-08-19T10:26:02.907-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-19T10:26:03.631-07:00 | [11 empty] | 2.3946 | 0.2051 | 42.81 | 109.06 | 28.23 | 82.81 | 21.9 | 71.42
2026-08-19T10:26:05.650-07:00 | [11 empty] | 2.4017 | 0.22042 | 42.71 | 108.88 | 28.54 | 83.38 | 21.8 | 71.24
2026-08-19T10:26:07.669-07:00 | [11 empty] | 2.4088 | 0.2051 | 42.71 | 108.88 | 28.33 | 83 | 22.1 | 71.78
2026-08-19T10:26:09.687-07:00 | [11 empty] | 2.4161 | 0.2051 | 42.4 | 108.31 | 28.44 | 83.19 | 22 | 71.6
2026-08-19T10:26:11.707-07:00 | [11 empty] | 2.4236 | 0.22552 | 42.4 | 108.31 | 28.54 | 83.38 | 21.8 | 71.24
2026-08-19T10:26:13.727-07:00 | [11 empty] | 2.4313 | 0.23062 | 42.29 | 108.13 | 28.23 | 82.81 | 21.9 | 71.42
2026-08-19T10:26:15.746-07:00 | [11 empty] | 2.4385 | 0.22042 | 42.71 | 108.88 | 28.54 | 83.38 | 21.5 | 70.7
2026-08-19T10:26:17.764-07:00 | [11 empty] | 2.4457 | 0.21021 | 42.71 | 108.88 | 28.44 | 83.19 | 21.5 | 70.7
2026-08-19T10:26:19.784-07:00 | [11 empty] | 2.4532 | 0.22042 | 42.29 | 108.13 | 28.33 | 83 | 22 | 71.6
2026-08-19T10:26:21.802-07:00 | [11 empty] | 2.4603 | 0.2051 | 42.5 | 108.5 | 28.54 | 83.38 | 21.6 | 70.88
2026-08-19T10:26:23.822-07:00 | [11 empty] | 2.4674 | 0.2051 | 41.98 | 107.56 | 28.65 | 83.56 | 21.9 | 71.42
2026-08-19T10:26:25.843-07:00 | [11 empty] | 2.4749 | 0.22552 | 42.29 | 108.13 | 28.54 | 83.38 | 21.6 | 70.88
2026-08-19T10:26:27.863-07:00 | [11 empty] | 2.4822 | 0.23062 | 42.08 | 107.75 | 28.12 | 82.62 | 21.9 | 71.42
2026-08-19T10:26:29.883-07:00 | [11 empty] | 2.4895 | 0.21531 | 42.19 | 107.94 | 28.23 | 82.81 | 21.9 | 71.42
2026-08-19T10:26:31.904-07:00 | [11 empty] | 2.4966 | 0.23062 | 42.19 | 107.94 | 28.12 | 82.62 | 22.1 | 71.78
2026-08-19T10:26:32.486-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-19T10:26:33.925-07:00 | [11 empty] | 2.5042 | 0.22552 | 42.19 | 107.94 | 28.23 | 82.81 | 21.5 | 70.7
2026-08-19T10:26:35.945-07:00 | [11 empty] | 2.5118 | 0.21531 | 42.08 | 107.75 | 28.23 | 82.81 | 22.1 | 71.78
2026-08-19T10:26:37.965-07:00 | [11 empty] | 2.5188 | 0.21021 | 41.88 | 107.38 | 28.44 | 83.19 | 21.6 | 70.88
2026-08-19T10:26:39.986-07:00 | [11 empty] | 2.5263 | 0.23062 | 41.77 | 107.19 | 28.02 | 82.44 | 21.7 | 71.06
2026-08-19T10:26:42.006-07:00 | [11 empty] | 2.5336 | 0.22042 | 42.08 | 107.75 | 28.33 | 83 | 21.5 | 70.7
2026-08-19T10:26:44.027-07:00 | [11 empty] | 2.5407 | 0.22552 | 41.88 | 107.38 | 28.33 | 83 | 21.6 | 70.88
2026-08-19T10:26:46.038-07:00 | [11 empty] | 2.5478 | 0.21531 | 41.67 | 107 | 28.33 | 83 | 22.3 | 72.14
2026-08-19T10:26:48.046-07:00 | [11 empty] | 2.555 | 0.22042 | 42.08 | 107.75 | 28.23 | 82.81 | 22.1 | 71.78
2026-08-19T10:26:50.058-07:00 | [11 empty] | 2.5618 | 0.21531 | 41.88 | 107.38 | 28.12 | 82.62 | 22.1 | 71.78
2026-08-19T10:26:52.000-07:00 | [11 empty] | 2.5671 | 0.22042 | 41.77 | 107.19 | 28.23 | 82.81 | 21.7 | 71.06
2026-08-19T10:26:52.066-07:00 |  |  | command_sent | run_normal | pending
2026-08-19T10:26:52.363-07:00 |  |  | command_completed | run_normal | ok
2026-08-19T10:26:54.514-07:00 | 1 | Running Normal | operational_state | query_operational_state | received
2026-08-19T10:26:54.655-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-19 10:21:31 | 1 | 129 | 0 | success | 48 | 3030 | 00 | false | 0x1234 | 0x0003 | Water Heater - Heat Pump | 0109 | 00000001 | 0203,0000,50gal | true |  | false

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes
TRUE | load_up_1 | 00:00:00 | pre_event | cta | load_up | max |  |  | 3¦6
TRUE | run_normal_1 | 0:03:00 | recovery | cta | run_normal | max |  |  | 0¦1
TRUE | water_draw_1 | 0:00:05 | event | water_draw | water_draw |  |  |  |  | 6 | 3
TRUE | test_end | 0:03:20 |  | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 3783
cumulative_electricity_end_Wh | 3809
cumulative_electricity_change_Wh | 26
total_energy_storage_Wh | 4026
present_energy_storage_start_Wh | 450
present_energy_storage_end_Wh | 525
present_energy_storage_minimum_Wh | 450
present_energy_storage_maximum_Wh | 525
advanced_total_energy_storage_Wh
advanced_present_energy_storage_Wh