## Event Timeline
timestamp_pacific | operational_state | operational_state_name | event | command | result | voltage_rms | current_rms | real_power | reactive_power | apparent_power | power_factor | accumulated_volume_gal | flow_gpm | hot_temp_c | hot_temp_f | cold_temp_c | cold_temp_f | ambient_temp_c | ambient_temp_f
2026-08-10T18:22:21.684-07:00 | [5 empty] | 241.59 | 0 | 2.13 | 12.78 | 13.845 | 0.23
2026-08-10T18:22:21.787-07:00 |  |  | controller_started | controller | started
2026-08-10T18:22:21.791-07:00 |  |  | serial_open | serial_port | ok
2026-08-10T18:22:21.792-07:00 |  |  | communication_started | cta2045 | started
2026-08-10T18:22:22.104-07:00 |  |  | command_sent | outside_communication | pending
2026-08-10T18:22:22.393-07:00 |  |  | command_completed | outside_communication | ok
2026-08-10T18:22:22.951-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:22:37.996-07:00 |  |  | command_sent | advanced_load_up | pending
2026-08-10T18:22:38.069-07:00 |  |  | link_nak | advanced_load_up | nak
2026-08-10T18:22:38.070-07:00 |  |  | command_completed | advanced_load_up | nak
2026-08-10T18:22:53.247-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:23:22.798-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:23:53.045-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:24:23.595-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:24:37.075-07:00 |  |  | command_sent | run_normal | pending
2026-08-10T18:24:37.348-07:00 |  |  | command_completed | run_normal | ok
2026-08-10T18:24:39.498-07:00 | 0 | Idle Normal | operational_state | query_operational_state | received
2026-08-10T18:24:39.639-07:00 |  |  | controller_stopped | controller | stopped

## Device Information
timestamp_pacific | opcode1 | opcode2 | response_code | response_name | payload_length | cta2045_version_raw_hex | cta2045_version | cta2045_b_version_valid | vendor_id_hex | device_type_hex | device_type_name | device_revision_hex | capability_bitmap_hex | model_number | model_number_supported | serial_number_redacted | serial_number_supported | firmware_year_raw | firmware_month_raw | firmware_day_raw | firmware_date | firmware_major | firmware_minor
2026-08-10 18:22:22 | 1 | 129 | 0 | success | 48 | 3030 | 00 | false | 0x1234 | 0x0003 | Water Heater - Heat Pump | 0109 | 00000001 | 0206,0000,50gal | true |  | false

## Master Schedule
enabled | event_id | time_after_start | phase | event_type | action | event_duration_minutes | advanced_value | advanced_units | expected_operational_states | target_volume_gal | expected_flow_gpm | notes | advanced_efficiency
TRUE | advanced_load_up_1 | 00:00:00 | pre_event | cta | advanced_load_up | unknown | 500 | 1_wh | 3¦6 |  |  |  | 7
TRUE | test_end | 0:02:00 | recovery | test | end

## Commodity Summary
metric | value
cumulative_electricity_start_Wh | 9068
cumulative_electricity_end_Wh | 9068
cumulative_electricity_change_Wh | 0
total_energy_storage_Wh | 4026
present_energy_storage_start_Wh | 600
present_energy_storage_end_Wh | 525
present_energy_storage_minimum_Wh | 525
present_energy_storage_maximum_Wh | 600
advanced_total_energy_storage_Wh
advanced_present_energy_storage_Wh